## 2016-05-11-SteveKibler-cast226
* | Sea-Bird | SBE19plus | Data | File:
* | FileName | = | C:\Users\Kris.Holderied\Documents\kasitsna\Research-KBL\Oceanography-AK\CTD-Data-ALL-to-2016-02\2016-CTD-KachemakBay-CookInlet\2016-04-CookInlet-quarterly\2016-05-11-SteveKibler\2016-05-11-SteveKibler-cast226.hex
* | Software | Version | 1.59
* | Temperature | SN | = | 5028
* | Conductivity | SN | = | 5028
* | System | UpLoad | Time | = | May | 12 | 2016 | 11:50
** | Steve | Kibler | CTD | profiles
** | Date | (YYYY-MM-DD): | 2016-05-11
** | Station | (ie. | 9-01): | to | add
** | Start | time | (AKST): | to | add
** | Depth | (m): | to | add
** | Comment: | 6 | total | casts
** | Comment:
* | ds
* | SeacatPlus | V | 1.6a | SERIAL | NO. | 5028 | 12 | May | 2016 | 11:46
* | vbatt | = | 12.1, | vlith | = | 8.1, | ioper | = | 63.4 | ma, | ipump | = | 64.1 | ma,
* | iext01 | = | 39.2 | ma
* | iext23 | = | 5 | ma
*
* | status | = | not | logging
* | number | of | scans | to | average | = | 1
* | samples | = | 233904, | free | = | 207601, | casts | = | 226
* | mode | = | profile, | minimum | cond | freq | = | 3041, | pump | delay | = | 60 | sec
* | autorun | = | no, | ignore | magnetic | switch | = | no
* | battery | type | = | alkaline, | battery | cutoff | = | 7.3 | volts
* | pressure | sensor | = | strain | gauge, | range | = | 508
* | SBE | 38 | = | no, | Gas | Tension | Device | = | no
* | Ext | Volt | 0 | = | yes, | Ext | Volt | 1 | = | yes, | Ext | Volt | 2 | = | yes, | Ext | Volt | 3 | = | yes
* | echo | commands | = | yes
* | output | format | = | raw | HEX
* | S>
*
* | SeacatPlus | V | 1.6a | SERIAL | NO. | 5028 | 12 | May | 2016 | 11:46
* | temperature: | 2014-09-05
* | TA0 | = | 0.0012655
* | TA1 | = | 0.00026623
* | TA2 | = | -2.0957e-07
* | TA3 | = | 1.6115e-07
* | TOFFSET | = | 0
* | conductivity: | 2014-09-05
* | G | = | -0.99806
* | H | = | 0.15554
* | I | = | -0.00054576
* | J | = | 6.7531e-05
* | CF0 | = | 2540.93
* | CPCOR | = | -9.57e-08
* | CTCOR | = | 3.25e-06
* | CSLOPE | = | 1
* | pressure | S/N | = | 10145, | range | = | 508 | psia: | 2014-09-03
* | PA0 | = | 0.037883
* | PA1 | = | 0.0015477
* | PA2 | = | 1.2287e-11
* | PTCA0 | = | 523849
* | PTCA1 | = | 3.3329
* | PTCA2 | = | -0.095331
* | PTCB0 | = | 24.9318
* | PTCB1 | = | 0.00055
* | PTCB2 | = | 0
* | PTEMPA0 | = | -67.6147
* | PTEMPA1 | = | 50.9453
* | PTEMPA2 | = | -0.25727
* | POFFSET | = | 0
* | volt | 0:00 | offset | = | -4.654947e-02, | slope | = | 1.249
* | volt | 1:00 | offset | = | -4.700947e-02, | slope | = | 1.2486
* | volt | 2:00 | offset | = | -4.668421e-02, | slope | = | 1.2486
* | volt | 3:00 | offset | = | 0.000000e+00, | slope | = | 1
* | EXTFREQSF | = | 0.99999
* | dh
* | cast | 226 | 11 | May | 2016 | 18:03 | samples | 233517 | to | 233904, | avg | = | 1, | stop | = | mag | switch
* | S>
# | nquan | = | 10
# | nvalues | = | 388
# | units | = | specified
# | name | 0 | = | depSM: | Depth | [salt | water, | m], | lat | = | 59.5
# | name | 1 | = | tv290C: | Temperature | [ITS-90, | deg | C]
# | name | 2 | = | sal00: | Salinity, | Practical | [PSU]
# | name | 3 | = | density00: | Density | [density, | kg/m^3]
# | name | 4 | = | sigma-t00: | Density | [sigma-t, | kg/m^3 | ]
# | name | 5 | = | flECO-AFL: | Fluorescence, | WET | Labs | ECO-AFL/FL | [mg/m^3]
# | name | 6 | = | sbeox0Mg/L: | Oxygen, | SBE | 43 | [mg/l]
# | name | 7 | = | sbeox0PS: | Oxygen, | SBE | 43 | [% | saturation]
# | name | 8 | = | par: | PAR/Irradiance, | Biospherical/Licor
# | name | 9 | = | flag: | 0
# | span | 0 | = | 0.034, | 5.296
# | span | 1 | = | 7.5830, | 8.58
# | span | 2 | = | 0.3944, | 30.9698
# | span | 3 | = | 1000.1257, | 1024.1921
# | span | 4 | = | 0.1255, | 24.1679
# | span | 5 | = | -0.3213, | 0.592
# | span | 6 | = | 7.8705, | 11.8636
# | span | 7 | = | 81.346, | 116.453
# | span | 8 | = | 2.7301e+01, | 332.34
# | span | 9 | = | 0.0000e+00, | 0
# | interval | = | seconds: | 0.25
# | start_time | = | May | 11 | 2016 | 18:03 | [Instrument's | time | stamp, | header]
# | bad_flag | = | -9.99e-29
# | <Sensors | count="7" | >
# | <sensor | Channel="1" | >
# | <!-- | Count, | Temperature | -->
# | <TemperatureSensor | SensorID="58" | >
# | <SerialNumber>5028</SerialNumber>
# | <CalibrationDate>11-Jun-09</CalibrationDate>
# | <A0>1.26756900e-003</A0>
# | <A1>2.65572900e-004</A1>
# | <A2>-1.41229000e-007</A2>
# | <A3>1.58786100e-007</A3>
# | <Slope>1.00000000</Slope>
# | <Offset>0.0000</Offset>
# | </TemperatureSensor>
# | </sensor>
# | <sensor | Channel="2" | >
# | <!-- | Frequency | 0, | Conductivity | -->
# | <ConductivitySensor | SensorID="3" | >
# | <SerialNumber>5028</SerialNumber>
# | <CalibrationDate>11-Jun-09</CalibrationDate>
# | <UseG_J>1</UseG_J>
# | <!-- | Cell | const | and | series | R | are | applicable | only | for | wide | range | sensors. | -->
# | <SeriesR>0.0000</SeriesR>
# | <CellConst>2000.0000</CellConst>
# | <ConductivityType>0</ConductivityType>
# | <Coefficients | equation="0" | >
# | <A>0.00000000e+000</A>
# | <B>0.00000000e+000</B>
# | <C>0.00000000e+000</C>
# | <D>0.00000000e+000</D>
# | <M>0.0</M>
# | <CPcor>-9.57000000e-008</CPcor>
# | </Coefficients>
# | <Coefficients | equation="1" | >
# | <G>-9.97583000e-001</G>
# | <H>1.55403700e-001</H>
# | <I>-5.06812300e-004</I>
# | <J>6.39295300e-005</J>
# | <CPcor>-9.57000000e-008</CPcor>
# | <CTcor>3.2500e-006</CTcor>
# | <!-- | WBOTC | not | applicable | unless | ConductivityType | = | 1 | -->
# | <WBOTC>0.00000000e+000</WBOTC>
# | </Coefficients>
# | <Slope>1.00000000</Slope>
# | <Offset>0.00000</Offset>
# | </ConductivitySensor>
# | </sensor>
# | <sensor | Channel="3" | >
# | <!-- | Count, | Pressure, | Strain | Gauge | -->
# | <PressureSensor | SensorID="46" | >
# | <SerialNumber>5028</SerialNumber>
# | <CalibrationDate>11-Jun-09 | </CalibrationDate>
# | <PA0>3.67055996e-002</PA0>
# | <PA1>1.54609355e-003</PA1>
# | <PA2>1.38021007e-011</PA2>
# | <PTEMPA0>-6.65872038e+001</PTEMPA0>
# | <PTEMPA1>4.99531566e+001</PTEMPA1>
# | <PTEMPA2>2.78112158e-002</PTEMPA2>
# | <PTCA0>5.23897707e+005</PTCA0>
# | <PTCA1>3.86339633e+000</PTCA1>
# | <PTCA2>-1.25160234e-001</PTCA2>
# | <PTCB0>2.49317500e+001</PTCB0>
# | <PTCB1>5.50000000e-004</PTCB1>
# | <PTCB2>0.00000000e+000</PTCB2>
# | <Offset>0.000000</Offset>
# | </PressureSensor>
# | </sensor>
# | <sensor | Channel="4" | >
# | <!-- | A/D | voltage | 0, | Fluorometer, | WET | Labs | ECO-AFL/FL | -->
# | <FluoroWetlabECO_AFL_FL_Sensor | SensorID="20" | >
# | <SerialNumber>0566</SerialNumber>
# | <CalibrationDate>08/25/06</CalibrationDate>
# | <ScaleFactor>1.00000000e+001</ScaleFactor>
# | <!-- | Dark | output | -->
# | <Vblank>0.0850</Vblank>
# | </FluoroWetlabECO_AFL_FL_Sensor>
# | </sensor>
# | <sensor | Channel="5" | >
# | <!-- | A/D | voltage | 1, | User | Polynomial | -->
# | <UserPolynomialSensor | SensorID="61" | >
# | <SerialNumber>0566</SerialNumber>
# | <CalibrationDate>09/21/06</CalibrationDate>
# | <SensorName>ECO-FLNTUS</SensorName>
# | <A0>-0.21000000</A0>
# | <A1>5.00000000</A1>
# | <A2>0.00000000</A2>
# | <A3>0.00000000</A3>
# | </UserPolynomialSensor>
# | </sensor>
# | <sensor | Channel="6" | >
# | <!-- | A/D | voltage | 2, | Oxygen, | SBE | 43 | -->
# | <OxygenSensor | SensorID="38" | >
# | <SerialNumber>1082</SerialNumber>
# | <CalibrationDate>29-Jun-09</CalibrationDate>
# | <Use2007Equation>1</Use2007Equation>
# | <CalibrationCoefficients | equation="0" | >
# | <!-- | Coefficients | for | Owens-Millard | equation. | -->
# | <Boc>0.0000</Boc>
# | <Soc>3.8040e-001</Soc>
# | <offset>-0.5076</offset>
# | <Pcor>1.35e-004</Pcor>
# | <Tcor>0.0011</Tcor>
# | <Tau>0.0</Tau>
# | </CalibrationCoefficients>
# | <CalibrationCoefficients | equation="1" | >
# | <!-- | Coefficients | for | Sea-Bird | equation | - | SBE | calibration | in | 2007 | and | later. | -->
# | <Soc>5.2200e-001</Soc>
# | <offset>-0.5073</offset>
# | <A>-3.4402e-003</A>
# | <B> | 1.8240e-004</B>
# | <C>-3.2078e-006</C>
# | <D0> | 2.5826e+000</D0>
# | <D1> | 1.92630e-004</D1>
# | <D2>-4.64800e-002</D2>
# | <E> | 3.6000e-002</E>
# | <Tau20> | 2.2200</Tau20>
# | <H1>-3.3000e-002</H1>
# | <H2> | 5.0000e+003</H2>
# | <H3> | 1.4500e+003</H3>
# | </CalibrationCoefficients>
# | </OxygenSensor>
# | </sensor>
# | <sensor | Channel="7" | >
# | <!-- | A/D | voltage | 3, | PAR/Irradiance, | Biospherical/Licor | -->
# | <PAR_BiosphericalLicorChelseaSensor | SensorID="42" | >
# | <SerialNumber>7067</SerialNumber>
# | <CalibrationDate>02/17/06</CalibrationDate>
# | <M>-0.75880140</M>
# | <B>-3.39444905</B>
# | <CalibrationConstant>3.59000000</CalibrationConstant>
# | <Multiplier>1.00000000</Multiplier>
# | <Offset>0.00000000</Offset>
# | </PAR_BiosphericalLicorChelseaSensor>
# | </sensor>
# | </Sensors>
# | datcnv_date | = | Jun | 2 | 2016 | 08:01:47, | 7.25.0.319 | [datcnv_vars | = | 9]
# | datcnv_in | = | R:\HABs\Manuscripts | in | Preparation\Alexandrium | in | Alaska\Alaska | 2016\YSI | CTD | Data\Jakolof | Bay | 11May16\2016-05-11-SteveKibler-cast226.hex | C:\Users\Steve.Kibler\Desktop\workspace-archive | (70)\5028-config-from-Seabird-Apr2012.CON
# | datcnv_skipover | = | 0
# | datcnv_ox_hysteresis_correction | = | yes
# | datcnv_ox_tau_correction | = | yes
# | file_type | = | ascii
*END* | D (m) | T | S | Dens (Kg/m3) | Sigma-t | Fluor | DO mg/L | DO % | PAR | n/a
| 0.036 | 8.5616 | 0.6346 | 1000.3167 | 0.3165 | -0.248 | 11.8491 | 101.842 | 303.3 | 0
| 0.039 | 8.5621 | 0.638 | 1000.3194 | 0.3192 | -0.2488 | 11.8405 | 101.771 | 299.53 | 0
| 0.036 | 8.5626 | 0.6313 | 1000.314 | 0.3139 | -0.2435 | 11.8405 | 101.768 | 295.53 | 0
| 0.037 | 8.5633 | 0.6179 | 1000.3034 | 0.3032 | -0.293 | 11.8448 | 101.798 | 298.21 | 0
| 0.041 | 8.5637 | 0.6173 | 1000.3029 | 0.3027 | -0.2953 | 11.8489 | 101.834 | 296.49 | 0
| 0.04 | 8.5644 | 0.6181 | 1000.3034 | 0.3033 | -0.2938 | 11.8402 | 101.761 | 298.91 | 0
| 0.036 | 8.5648 | 0.6258 | 1000.3095 | 0.3093 | -0.2953 | 11.8458 | 101.816 | 298.84 | 0
| 0.036 | 8.5656 | 0.6333 | 1000.3154 | 0.3152 | -0.3068 | 11.8465 | 101.829 | 294.71 | 0
| 0.038 | 8.5661 | 0.6418 | 1000.322 | 0.3218 | -0.3053 | 11.8516 | 101.879 | 294.1 | 0
| 0.039 | 8.5667 | 0.6645 | 1000.3399 | 0.3397 | -0.3075 | 11.8452 | 101.84 | 294.24 | 0
| 0.035 | 8.5672 | 0.6791 | 1000.3514 | 0.3512 | -0.3075 | 11.8465 | 101.863 | 295.6 | 0
| 0.039 | 8.5679 | 0.6795 | 1000.3516 | 0.3514 | -0.3068 | 11.8458 | 101.859 | 297.87 | 0
| 0.038 | 8.5686 | 0.6717 | 1000.3455 | 0.3453 | -0.306 | 11.8506 | 101.896 | 299.53 | 0
| 0.038 | 8.569 | 0.6468 | 1000.3258 | 0.3256 | -0.3083 | 11.851 | 101.884 | 298.84 | 0
| 0.035 | 8.5696 | 0.6191 | 1000.3039 | 0.3037 | -0.3053 | 11.8479 | 101.841 | 299.67 | 0
| 0.038 | 8.5703 | 0.6013 | 1000.2898 | 0.2896 | -0.3205 | 11.8546 | 101.889 | 298.63 | 0
| 0.037 | 8.5708 | 0.5856 | 1000.2773 | 0.2772 | -0.3197 | 11.8495 | 101.836 | 294.65 | 0
| 0.039 | 8.5713 | 0.5752 | 1000.2691 | 0.2689 | -0.3213 | 11.8501 | 101.835 | 295.81 | 0
| 0.037 | 8.572 | 0.5683 | 1000.2636 | 0.2634 | -0.3197 | 11.8466 | 101.802 | 298.42 | 0
| 0.037 | 8.5727 | 0.5631 | 1000.2595 | 0.2593 | -0.219 | 11.8429 | 101.769 | 297.25 | 0
| 0.038 | 8.5731 | 0.5625 | 1000.259 | 0.2588 | -0.2236 | 11.8443 | 101.782 | 308.47 | 0
| 0.035 | 8.5739 | 0.5802 | 1000.2728 | 0.2727 | -0.2198 | 11.845 | 101.801 | 305.84 | 0
| 0.037 | 8.5744 | 0.5867 | 1000.278 | 0.2778 | -0.2236 | 11.8468 | 101.822 | 314.01 | 0
| 0.04 | 8.5749 | 0.5525 | 1000.2509 | 0.2507 | -0.2671 | 11.8537 | 101.86 | 316.86 | 0
| 0.039 | 8.5758 | 0.6142 | 1000.2996 | 0.2994 | -0.2969 | 11.8528 | 101.895 | 319.74 | 0
| 0.035 | 8.5762 | 0.6285 | 1000.3108 | 0.3107 | -0.2946 | 11.8488 | 101.871 | 332.34 | 0
| 0.034 | 8.5766 | 0.5516 | 1000.2501 | 0.25 | -0.2953 | 11.8543 | 101.869 | 330.35 | 0
| 0.035 | 8.5774 | 0.4932 | 1000.2039 | 0.2037 | -0.2946 | 11.86 | 101.881 | 321.15 | 0
| 0.037 | 8.5782 | 0.4407 | 1000.1624 | 0.1622 | -0.2938 | 11.8636 | 101.879 | 305.91 | 0
| 0.04 | 8.5788 | 0.4105 | 1000.1385 | 0.1384 | -0.2946 | 11.8579 | 101.813 | 310.54 | 0
| 0.038 | 8.5794 | 0.3971 | 1000.1279 | 0.1277 | -0.2953 | 11.8585 | 101.81 | 317.6 | 0
| 0.039 | 8.58 | 0.3944 | 1000.1257 | 0.1255 | -0.2953 | 11.8562 | 101.79 | 300.08 | 0
| 0.06 | 8.5703 | 2.5596 | 1001.8308 | 1.8305 | -0.2953 | 11.6992 | 101.832 | 308.75 | 0
| 0.138 | 8.4686 | 17.8071 | 1013.7549 | 13.7543 | -0.2923 | 10.6282 | 101.855 | 305.98 | 0
| 0.26 | 8.3553 | 30.2272 | 1023.479 | 23.4778 | -0.2938 | 9.8242 | 101.787 | 303.16 | 0
| 0.371 | 8.2698 | 30.2653 | 1023.5216 | 23.5199 | -0.2946 | 9.8497 | 101.879 | 293.62 | 0
| 0.47 | 8.2114 | 30.2961 | 1023.5545 | 23.5524 | 0.2151 | 9.8637 | 101.91 | 270.39 | 0
| 0.531 | 8.1746 | 30.3356 | 1023.591 | 23.5885 | 0.212 | 9.8717 | 101.934 | 290.92 | 0
| 0.561 | 8.1538 | 30.3494 | 1023.6048 | 23.6022 | 0.2136 | 9.8793 | 101.973 | 279.69 | 0
| 0.596 | 8.143 | 30.3578 | 1023.6131 | 23.6104 | 0.2174 | 9.9019 | 102.187 | 192.35 | 0
| 0.638 | 8.139 | 30.3678 | 1023.6217 | 23.6188 | 0.431 | 9.918 | 102.35 | 175.7 | 0
| 0.674 | 8.139 | 30.3729 | 1023.6259 | 23.6228 | 0.431 | 9.9553 | 102.739 | 189.48 | 0
| 0.692 | 8.1396 | 30.3952 | 1023.6433 | 23.6401 | 0.4333 | 10.0046 | 103.264 | 162.78 | 0
| 0.691 | 8.1414 | 30.4 | 1023.6469 | 23.6437 | 0.4318 | 10.0225 | 103.456 | 186.95 | 0
| 0.683 | 8.1428 | 30.4054 | 1023.6509 | 23.6477 | 0.4073 | 10.0788 | 104.044 | 157.41 | 0
| 0.681 | 8.142 | 30.3827 | 1023.6331 | 23.63 | 0.4104 | 10.094 | 104.184 | 145.05 | 0
| 0.69 | 8.141 | 30.3729 | 1023.6257 | 23.6225 | 0.4081 | 10.1101 | 104.342 | 161.99 | 0
| 0.706 | 8.1407 | 30.3738 | 1023.6265 | 23.6232 | 0.4104 | 10.1231 | 104.475 | 184.63 | 0
| 0.716 | 8.1412 | 30.3798 | 1023.6312 | 23.6279 | 0.4112 | 10.1137 | 104.384 | 174.57 | 0
| 0.712 | 8.1415 | 30.386 | 1023.636 | 23.6326 | 0.4096 | 10.0751 | 103.99 | 195.49 | 0
| 0.702 | 8.1413 | 30.3741 | 1023.6267 | 23.6234 | 0.4081 | 10.0159 | 103.37 | 202.31 | 0
| 0.686 | 8.1411 | 30.366 | 1023.6202 | 23.6171 | 0.4081 | 9.8912 | 102.078 | 179.32 | 0
| 0.677 | 8.1417 | 30.3625 | 1023.6174 | 23.6142 | 0.3585 | 9.7829 | 100.959 | 204.81 | 0
| 0.676 | 8.1425 | 30.3663 | 1023.6202 | 23.6171 | 0.36 | 9.6556 | 99.65 | 183.82 | 0
| 0.681 | 8.1437 | 30.3815 | 1023.6319 | 23.6288 | 0.3585 | 9.5296 | 98.362 | 200.91 | 0
| 0.685 | 8.1441 | 30.3874 | 1023.6365 | 23.6334 | 0.3616 | 9.4353 | 97.393 | 188.25 | 0
| 0.696 | 8.1451 | 30.3917 | 1023.6399 | 23.6367 | 0.3967 | 9.3882 | 96.912 | 191.42 | 0
| 0.703 | 8.1455 | 30.3931 | 1023.6409 | 23.6376 | 0.3974 | 9.4098 | 97.136 | 183.39 | 0
| 0.706 | 8.145 | 30.3893 | 1023.638 | 23.6347 | 0.3944 | 9.4714 | 97.769 | 182 | 0
| 0.704 | 8.1442 | 30.3818 | 1023.6322 | 23.6289 | 0.3959 | 9.5632 | 98.709 | 182.16 | 0
| 0.694 | 8.1433 | 30.3759 | 1023.6277 | 23.6245 | 0.4318 | 9.6348 | 99.443 | 176.76 | 0
| 0.682 | 8.1423 | 30.37 | 1023.6232 | 23.62 | 0.4302 | 9.7006 | 100.116 | 200.77 | 0
| 0.676 | 8.1417 | 30.3625 | 1023.6174 | 23.6142 | 0.4333 | 9.7348 | 100.462 | 195.86 | 0
| 0.69 | 8.142 | 30.3586 | 1023.6143 | 23.6111 | 0.4348 | 9.719 | 100.298 | 188.34 | 0
| 0.724 | 8.144 | 30.3569 | 1023.6128 | 23.6095 | 0.4577 | 9.6819 | 99.918 | 185.96 | 0
| 0.79 | 8.1462 | 30.3511 | 1023.6083 | 23.6046 | 0.46 | 9.6118 | 99.196 | 183.52 | 0
| 0.859 | 8.1471 | 30.3984 | 1023.6456 | 23.6416 | 0.4562 | 9.5347 | 98.433 | 169.47 | 0
| 0.889 | 8.1478 | 30.4545 | 1023.6896 | 23.6855 | 0.4569 | 9.4592 | 97.691 | 173.8 | 0
| 0.875 | 8.1577 | 30.4529 | 1023.6869 | 23.6828 | 0.4943 | 9.3998 | 97.097 | 173.72 | 0
| 0.841 | 8.1863 | 30.4009 | 1023.6419 | 23.638 | 0.4936 | 9.3802 | 96.925 | 177.01 | 0
| 0.81 | 8.2071 | 30.3547 | 1023.6026 | 23.5989 | 0.4951 | 9.3961 | 97.106 | 183.26 | 0
| 0.798 | 8.2112 | 30.3282 | 1023.5812 | 23.5775 | 0.4958 | 9.4394 | 97.546 | 179.78 | 0
| 0.808 | 8.1983 | 30.3154 | 1023.5731 | 23.5693 | 0.4089 | 9.528 | 98.425 | 169.55 | 0
| 0.831 | 8.1822 | 30.3274 | 1023.5848 | 23.581 | 0.4096 | 9.625 | 99.397 | 175.26 | 0
| 0.85 | 8.1701 | 30.3426 | 1023.5986 | 23.5946 | 0.4051 | 9.7071 | 100.228 | 163.04 | 0
| 0.862 | 8.1633 | 30.3795 | 1023.6285 | 23.6245 | 0.4089 | 9.7628 | 100.812 | 173.08 | 0
| 0.857 | 8.1613 | 30.4083 | 1023.6513 | 23.6474 | 0.4455 | 9.769 | 100.891 | 176.03 | 0
| 0.841 | 8.1595 | 30.3964 | 1023.6422 | 23.6383 | 0.4463 | 9.7367 | 100.545 | 165.9 | 0
| 0.827 | 8.157 | 30.3664 | 1023.619 | 23.6151 | 0.447 | 9.677 | 99.903 | 180.78 | 0
| 0.818 | 8.1539 | 30.3478 | 1023.6048 | 23.601 | 0.4455 | 9.5986 | 99.075 | 172.8 | 0
| 0.814 | 8.1493 | 30.3461 | 1023.604 | 23.6003 | 0.4463 | 9.4915 | 97.958 | 166.63 | 0
| 0.825 | 8.1463 | 30.351 | 1023.6083 | 23.6045 | 0.4463 | 9.4129 | 97.144 | 157.7 | 0
| 0.837 | 8.1445 | 30.3766 | 1023.6287 | 23.6249 | 0.4424 | 9.356 | 96.568 | 167.48 | 0
| 0.843 | 8.1449 | 30.4088 | 1023.654 | 23.6501 | 0.4447 | 9.3101 | 96.116 | 151.89 | 0
| 0.846 | 8.1455 | 30.4242 | 1023.666 | 23.6621 | 0.5058 | 9.2835 | 95.852 | 148.35 | 0
| 0.838 | 8.1446 | 30.4027 | 1023.6492 | 23.6453 | 0.5058 | 9.2715 | 95.712 | 132.65 | 0
| 0.823 | 8.1433 | 30.3685 | 1023.6225 | 23.6187 | 0.5073 | 9.2522 | 95.489 | 149.8 | 0
| 0.805 | 8.141 | 30.3535 | 1023.611 | 23.6073 | 0.5058 | 9.2426 | 95.376 | 153.95 | 0
| 0.788 | 8.1383 | 30.352 | 1023.6101 | 23.6064 | 0.4699 | 9.2326 | 95.266 | 143.75 | 0
| 0.779 | 8.1363 | 30.3518 | 1023.6102 | 23.6066 | 0.4661 | 9.2284 | 95.218 | 149.21 | 0
| 0.785 | 8.135 | 30.3503 | 1023.6093 | 23.6056 | 0.4699 | 9.231 | 95.242 | 150.49 | 0
| 0.807 | 8.134 | 30.3619 | 1023.6186 | 23.6148 | 0.4661 | 9.2432 | 95.372 | 147.7 | 0
| 0.825 | 8.1344 | 30.4107 | 1023.6568 | 23.653 | 0.4417 | 9.2557 | 95.533 | 130.22 | 0
| 0.825 | 8.1357 | 30.4345 | 1023.6753 | 23.6715 | 0.444 | 9.2817 | 95.819 | 149.59 | 0
| 0.807 | 8.1375 | 30.4482 | 1023.6857 | 23.682 | 0.4447 | 9.3054 | 96.076 | 142.23 | 0
| 0.782 | 8.144 | 30.4249 | 1023.6664 | 23.6628 | 0.4478 | 9.3257 | 96.285 | 138.36 | 0
| 0.767 | 8.1478 | 30.3893 | 1023.6379 | 23.6343 | 0.4249 | 9.3427 | 96.446 | 148.48 | 0
| 0.767 | 8.1506 | 30.3674 | 1023.6203 | 23.6168 | 0.4188 | 9.3525 | 96.54 | 134.35 | 0
| 0.78 | 8.1505 | 30.3696 | 1023.6221 | 23.6185 | 0.4211 | 9.3617 | 96.636 | 128.9 | 0
| 0.803 | 8.1494 | 30.403 | 1023.6486 | 23.6448 | 0.4203 | 9.3631 | 96.669 | 131.7 | 0
| 0.822 | 8.1501 | 30.4329 | 1023.6721 | 23.6682 | 0.4203 | 9.3768 | 96.831 | 138.71 | 0
| 0.832 | 8.1501 | 30.4515 | 1023.6867 | 23.6828 | 0.4356 | 9.3727 | 96.801 | 125.13 | 0
| 0.82 | 8.1603 | 30.446 | 1023.6809 | 23.6771 | 0.431 | 9.3661 | 96.751 | 141.63 | 0
| 0.788 | 8.188 | 30.4071 | 1023.6463 | 23.6426 | 0.4325 | 9.3436 | 96.554 | 141.01 | 0
| 0.76 | 8.2086 | 30.3585 | 1023.6052 | 23.6016 | 0.431 | 9.3104 | 96.226 | 137.15 | 0
| 0.746 | 8.2126 | 30.3369 | 1023.5876 | 23.5841 | 0.4447 | 9.265 | 95.752 | 138.81 | 0
| 0.753 | 8.2056 | 30.3383 | 1023.5897 | 23.5862 | 0.4417 | 9.2237 | 95.311 | 138.11 | 0
| 0.784 | 8.1913 | 30.3676 | 1023.6149 | 23.6112 | 0.4455 | 9.1811 | 94.858 | 146.44 | 0
| 0.823 | 8.18 | 30.4094 | 1023.6494 | 23.6456 | 0.4409 | 9.1558 | 94.598 | 127 | 0
| 0.861 | 8.1729 | 30.4304 | 1023.667 | 23.663 | 0.3974 | 9.1496 | 94.532 | 131.58 | 0
| 0.874 | 8.1755 | 30.4396 | 1023.674 | 23.6699 | 0.3967 | 9.148 | 94.527 | 148.24 | 0
| 0.862 | 8.1937 | 30.4281 | 1023.6623 | 23.6583 | 0.399 | 9.1537 | 94.617 | 139.55 | 0
| 0.825 | 8.2167 | 30.3913 | 1023.63 | 23.6262 | 0.3967 | 9.1628 | 94.738 | 152.28 | 0
| 0.779 | 8.2343 | 30.3523 | 1023.5967 | 23.5931 | 0.37 | 9.1553 | 94.674 | 157.59 | 0
| 0.744 | 8.2406 | 30.3309 | 1023.5789 | 23.5755 | 0.3715 | 9.1461 | 94.579 | 133.98 | 0
| 0.741 | 8.2305 | 30.3338 | 1023.5826 | 23.5791 | 0.3745 | 9.1267 | 94.359 | 139.94 | 0
| 0.758 | 8.2061 | 30.36 | 1023.6067 | 23.6032 | 0.37 | 9.0983 | 94.029 | 151.75 | 0
| 0.787 | 8.1848 | 30.3905 | 1023.6337 | 23.6301 | 0.3974 | 9.0866 | 93.882 | 143.38 | 0
| 0.817 | 8.1731 | 30.4235 | 1023.6614 | 23.6576 | 0.3982 | 9.0826 | 93.836 | 115.53 | 0
| 0.836 | 8.1653 | 30.4397 | 1023.6752 | 23.6713 | 0.3951 | 9.0774 | 93.776 | 129.65 | 0
| 0.836 | 8.1632 | 30.4518 | 1023.6851 | 23.6812 | 0.3967 | 9.07 | 93.702 | 151.02 | 0
| 0.816 | 8.1736 | 30.4404 | 1023.6746 | 23.6708 | 0.4196 | 9.0519 | 93.53 | 143.78 | 0
| 0.789 | 8.1846 | 30.4187 | 1023.6559 | 23.6522 | 0.418 | 9.0246 | 93.258 | 130.52 | 0
| 0.764 | 8.1928 | 30.3991 | 1023.6392 | 23.6357 | 0.4234 | 8.9976 | 92.984 | 144.55 | 0
| 0.745 | 8.1946 | 30.3831 | 1023.6263 | 23.6229 | 0.4218 | 8.9441 | 92.426 | 159.16 | 0
| 0.744 | 8.1916 | 30.3803 | 1023.6246 | 23.6211 | 0.4806 | 8.8864 | 91.821 | 144.02 | 0
| 0.762 | 8.1833 | 30.3896 | 1023.6331 | 23.6296 | 0.4821 | 8.8363 | 91.292 | 133.7 | 0
| 0.79 | 8.1716 | 30.4118 | 1023.6523 | 23.6486 | 0.4836 | 8.8007 | 90.913 | 148.9 | 0
| 0.823 | 8.1653 | 30.438 | 1023.6739 | 23.6701 | 0.4813 | 8.787 | 90.775 | 133.42 | 0
| 0.839 | 8.1653 | 30.4499 | 1023.6832 | 23.6794 | 0.4577 | 8.773 | 90.637 | 136.01 | 0
| 0.84 | 8.1699 | 30.4572 | 1023.6884 | 23.6845 | 0.4562 | 8.7726 | 90.646 | 151.02 | 0
| 0.811 | 8.187 | 30.4466 | 1023.6775 | 23.6738 | 0.4569 | 8.7733 | 90.682 | 146.33 | 0
| 0.774 | 8.2104 | 30.4186 | 1023.6521 | 23.6485 | 0.4562 | 8.7766 | 90.748 | 145.12 | 0
| 0.747 | 8.2288 | 30.38 | 1023.619 | 23.6156 | 0.4943 | 8.7696 | 90.691 | 152.88 | 0
| 0.744 | 8.2378 | 30.3535 | 1023.597 | 23.5935 | 0.489 | 8.7571 | 90.565 | 146.4 | 0
| 0.77 | 8.2339 | 30.352 | 1023.5965 | 23.5929 | 0.4936 | 8.742 | 90.399 | 133.48 | 0
| 0.814 | 8.2157 | 30.3712 | 1023.6144 | 23.6106 | 0.4936 | 8.7383 | 90.335 | 136.14 | 0
| 0.852 | 8.1945 | 30.4157 | 1023.6524 | 23.6484 | 0.505 | 8.7567 | 90.508 | 143.12 | 0
| 0.863 | 8.187 | 30.4417 | 1023.6739 | 23.6699 | 0.5027 | 8.7846 | 90.797 | 141.73 | 0
| 0.844 | 8.193 | 30.4448 | 1023.6754 | 23.6715 | 0.505 | 8.8187 | 91.163 | 139.55 | 0
| 0.803 | 8.2235 | 30.4203 | 1023.6517 | 23.6479 | 0.5042 | 8.8562 | 91.599 | 146.95 | 0
| 0.755 | 8.2518 | 30.3798 | 1023.6156 | 23.6121 | 0.4806 | 8.8929 | 92.014 | 160.76 | 0
| 0.731 | 8.2682 | 30.3432 | 1023.5846 | 23.5812 | 0.4806 | 8.9283 | 92.392 | 148.83 | 0
| 0.738 | 8.2748 | 30.3314 | 1023.5744 | 23.571 | 0.4813 | 8.9575 | 92.701 | 137.31 | 0
| 0.769 | 8.2607 | 30.3446 | 1023.5869 | 23.5834 | 0.4813 | 8.9744 | 92.854 | 149.73 | 0
| 0.807 | 8.2328 | 30.3822 | 1023.6205 | 23.6167 | 0.4806 | 8.9921 | 93.002 | 141.34 | 0
| 0.835 | 8.219 | 30.4103 | 1023.6446 | 23.6408 | 0.4791 | 9.0069 | 93.143 | 139.78 | 0
| 0.841 | 8.216 | 30.4254 | 1023.6569 | 23.653 | 0.4806 | 9.0222 | 93.304 | 140.39 | 0
| 0.823 | 8.2247 | 30.4228 | 1023.6536 | 23.6498 | 0.4806 | 9.0272 | 93.373 | 144.72 | 0
| 0.798 | 8.2436 | 30.4078 | 1023.639 | 23.6353 | 0.518 | 9.0211 | 93.34 | 153.98 | 0
| 0.771 | 8.2614 | 30.3888 | 1023.6214 | 23.6178 | 0.5187 | 8.995 | 93.096 | 145.05 | 0
| 0.757 | 8.2717 | 30.3708 | 1023.6058 | 23.6023 | 0.5187 | 8.9587 | 92.731 | 140.2 | 0
| 0.756 | 8.2734 | 30.3611 | 1023.598 | 23.5945 | 0.5164 | 8.91 | 92.224 | 148.14 | 0
| 0.768 | 8.2679 | 30.361 | 1023.5987 | 23.5951 | 0.505 | 8.8632 | 91.729 | 144.12 | 0
| 0.8 | 8.2642 | 30.3669 | 1023.604 | 23.6003 | 0.505 | 8.8116 | 91.191 | 135.48 | 0
| 0.826 | 8.2639 | 30.3814 | 1023.6155 | 23.6117 | 0.5042 | 8.7655 | 90.721 | 139.13 | 0
| 0.843 | 8.2656 | 30.3894 | 1023.6217 | 23.6177 | 0.5065 | 8.7345 | 90.409 | 150.35 | 0
| 0.835 | 8.2671 | 30.3934 | 1023.6245 | 23.6206 | 0.4806 | 8.7067 | 90.127 | 145.56 | 0
| 0.808 | 8.2771 | 30.3856 | 1023.6169 | 23.6132 | 0.4821 | 8.6873 | 89.941 | 144.85 | 0
| 0.778 | 8.2932 | 30.365 | 1023.5983 | 23.5947 | 0.4813 | 8.6635 | 89.715 | 142.65 | 0
| 0.759 | 8.3043 | 30.3423 | 1023.5788 | 23.5753 | 0.4806 | 8.6433 | 89.516 | 152.42 | 0
| 0.76 | 8.3099 | 30.3303 | 1023.5687 | 23.5651 | 0.5027 | 8.6216 | 89.295 | 142.69 | 0
| 0.77 | 8.3101 | 30.3285 | 1023.5673 | 23.5637 | 0.5073 | 8.6007 | 89.078 | 137.95 | 0
| 0.792 | 8.3076 | 30.3336 | 1023.5717 | 23.568 | 0.505 | 8.5925 | 88.991 | 139.84 | 0
| 0.816 | 8.3058 | 30.3466 | 1023.5822 | 23.5784 | 0.5065 | 8.5984 | 89.056 | 140.88 | 0
| 0.829 | 8.3055 | 30.3528 | 1023.5872 | 23.5833 | 0.5309 | 8.6224 | 89.308 | 133.82 | 0
| 0.824 | 8.3063 | 30.3568 | 1023.5902 | 23.5864 | 0.5287 | 8.6527 | 89.625 | 133.05 | 0
| 0.808 | 8.3074 | 30.3564 | 1023.5897 | 23.5859 | 0.5279 | 8.6832 | 89.944 | 131.64 | 0
| 0.786 | 8.3081 | 30.3488 | 1023.5835 | 23.5799 | 0.5287 | 8.7103 | 90.221 | 138.78 | 0
| 0.767 | 8.3075 | 30.3396 | 1023.5763 | 23.5727 | 0.5233 | 8.7202 | 90.317 | 133.27 | 0
| 0.759 | 8.3068 | 30.3326 | 1023.5709 | 23.5674 | 0.505 | 8.7178 | 90.286 | 130.82 | 0
| 0.762 | 8.306 | 30.3298 | 1023.5688 | 23.5653 | 0.505 | 8.6965 | 90.063 | 131.43 | 0
| 0.775 | 8.3028 | 30.3326 | 1023.5716 | 23.568 | 0.5058 | 8.664 | 89.722 | 121.62 | 0
| 0.787 | 8.2917 | 30.3483 | 1023.5854 | 23.5818 | 0.5073 | 8.6295 | 89.35 | 130.22 | 0
| 0.796 | 8.2811 | 30.3668 | 1023.6015 | 23.5979 | 0.5195 | 8.5991 | 89.026 | 127.27 | 0
| 0.792 | 8.278 | 30.3741 | 1023.6077 | 23.604 | 0.518 | 8.5738 | 88.761 | 122.5 | 0
| 0.784 | 8.2775 | 30.3765 | 1023.6096 | 23.606 | 0.5187 | 8.5491 | 88.506 | 132.07 | 0
| 0.766 | 8.2775 | 30.3732 | 1023.6069 | 23.6034 | 0.5195 | 8.5311 | 88.318 | 130.4 | 0
| 0.754 | 8.2785 | 30.366 | 1023.601 | 23.5975 | 0.5401 | 8.5132 | 88.13 | 121.73 | 0
| 0.748 | 8.2793 | 30.3594 | 1023.5957 | 23.5923 | 0.5416 | 8.4981 | 87.972 | 133.61 | 0
| 0.754 | 8.2791 | 30.3565 | 1023.5935 | 23.59 | 0.5424 | 8.4702 | 87.681 | 128.01 | 0
| 0.771 | 8.2743 | 30.3676 | 1023.603 | 23.5994 | 0.5416 | 8.4509 | 87.478 | 121.96 | 0
| 0.786 | 8.27 | 30.381 | 1023.6142 | 23.6106 | 0.5546 | 8.4283 | 87.243 | 126.77 | 0
| 0.792 | 8.2696 | 30.3872 | 1023.6191 | 23.6154 | 0.5531 | 8.3982 | 86.934 | 128.57 | 0
| 0.789 | 8.2711 | 30.3892 | 1023.6204 | 23.6168 | 0.5554 | 8.3756 | 86.705 | 125.13 | 0
| 0.78 | 8.2755 | 30.3859 | 1023.6172 | 23.6136 | 0.5538 | 8.3506 | 86.453 | 123.95 | 0
| 0.768 | 8.2799 | 30.379 | 1023.6111 | 23.6075 | 0.5279 | 8.3285 | 86.228 | 131.76 | 0
| 0.75 | 8.2825 | 30.3696 | 1023.6033 | 23.5998 | 0.5294 | 8.3099 | 86.036 | 127.41 | 0
| 0.742 | 8.2838 | 30.358 | 1023.594 | 23.5905 | 0.5302 | 8.293 | 85.856 | 130.52 | 0
| 0.744 | 8.2844 | 30.3478 | 1023.5859 | 23.5825 | 0.5294 | 8.2669 | 85.582 | 129.23 | 0
| 0.763 | 8.2797 | 30.3463 | 1023.5855 | 23.5819 | 0.5042 | 8.2547 | 85.445 | 125.37 | 0
| 0.782 | 8.2589 | 30.3703 | 1023.6073 | 23.6037 | 0.5042 | 8.2479 | 85.348 | 131.4 | 0
| 0.791 | 8.2377 | 30.4051 | 1023.6377 | 23.634 | 0.5065 | 8.2393 | 85.238 | 126.88 | 0
| 0.78 | 8.2306 | 30.4226 | 1023.6523 | 23.6487 | 0.5058 | 8.2472 | 85.315 | 120.14 | 0
| 0.754 | 8.2319 | 30.4235 | 1023.6527 | 23.6492 | 0.5157 | 8.2649 | 85.502 | 136.39 | 0
| 0.728 | 8.243 | 30.3985 | 1023.6315 | 23.6281 | 0.5187 | 8.2845 | 85.712 | 137.91 | 0
| 0.711 | 8.2539 | 30.3776 | 1023.6135 | 23.6102 | 0.5195 | 8.3098 | 85.983 | 116.58 | 0
| 0.705 | 8.2572 | 30.3654 | 1023.6034 | 23.6001 | 0.5187 | 8.333 | 86.223 | 129.08 | 0
| 0.717 | 8.2509 | 30.3666 | 1023.6053 | 23.602 | 0.4821 | 8.3587 | 86.478 | 127.56 | 0
| 0.736 | 8.2346 | 30.3838 | 1023.6212 | 23.6178 | 0.4813 | 8.3857 | 86.734 | 112.65 | 0
| 0.76 | 8.2192 | 30.4109 | 1023.6447 | 23.6412 | 0.4791 | 8.4154 | 87.027 | 117.12 | 0
| 0.768 | 8.2145 | 30.426 | 1023.6572 | 23.6537 | 0.4813 | 8.442 | 87.301 | 119.69 | 0
| 0.77 | 8.2107 | 30.4339 | 1023.664 | 23.6604 | 0.5203 | 8.4759 | 87.648 | 116.09 | 0
| 0.765 | 8.213 | 30.4326 | 1023.6626 | 23.6591 | 0.5157 | 8.5058 | 87.961 | 125.05 | 0
| 0.755 | 8.2205 | 30.4207 | 1023.6522 | 23.6487 | 0.5172 | 8.5316 | 88.236 | 116.44 | 0
| 0.752 | 8.2258 | 30.4075 | 1023.6411 | 23.6376 | 0.5164 | 8.5468 | 88.397 | 128.07 | 0
| 0.751 | 8.2296 | 30.3983 | 1023.6333 | 23.6299 | 0.5035 | 8.5538 | 88.471 | 122.27 | 0
| 0.759 | 8.2321 | 30.3956 | 1023.6309 | 23.6273 | 0.5081 | 8.5621 | 88.561 | 128.18 | 0
| 0.77 | 8.2323 | 30.4003 | 1023.6345 | 23.631 | 0.5073 | 8.5566 | 88.507 | 124.96 | 0
| 0.783 | 8.2324 | 30.4086 | 1023.6411 | 23.6375 | 0.5065 | 8.5416 | 88.356 | 129.29 | 0
| 0.794 | 8.2339 | 30.4126 | 1023.6441 | 23.6404 | 0.5042 | 8.5362 | 88.306 | 130.97 | 0
| 0.796 | 8.2356 | 30.4127 | 1023.6439 | 23.6402 | 0.5027 | 8.5256 | 88.2 | 131.76 | 0
| 0.79 | 8.2378 | 30.4082 | 1023.6401 | 23.6364 | 0.5042 | 8.5193 | 88.137 | 130.19 | 0
| 0.779 | 8.2395 | 30.3996 | 1023.633 | 23.6294 | 0.5058 | 8.5062 | 87.999 | 136.11 | 0
| 0.769 | 8.2392 | 30.3888 | 1023.6246 | 23.621 | 0.518 | 8.4869 | 87.793 | 124.82 | 0
| 0.76 | 8.237 | 30.3816 | 1023.6192 | 23.6157 | 0.5187 | 8.4585 | 87.491 | 134.13 | 0
| 0.755 | 8.2313 | 30.3813 | 1023.6197 | 23.6162 | 0.5157 | 8.4378 | 87.266 | 127.27 | 0
| 0.758 | 8.2174 | 30.3935 | 1023.6313 | 23.6278 | 0.5195 | 8.4201 | 87.062 | 120.95 | 0
| 0.761 | 8.2016 | 30.4128 | 1023.6487 | 23.6452 | 0.505 | 8.4 | 86.834 | 129.5 | 0
| 0.77 | 8.1943 | 30.4271 | 1023.661 | 23.6574 | 0.505 | 8.3814 | 86.636 | 129.86 | 0
| 0.778 | 8.194 | 30.4351 | 1023.6673 | 23.6637 | 0.5065 | 8.3701 | 86.522 | 118.04 | 0
| 0.779 | 8.1938 | 30.4404 | 1023.6715 | 23.6679 | 0.5058 | 8.3574 | 86.393 | 119.17 | 0
| 0.773 | 8.193 | 30.4433 | 1023.6739 | 23.6703 | 0.4791 | 8.346 | 86.276 | 126.59 | 0
| 0.764 | 8.1986 | 30.4308 | 1023.6633 | 23.6597 | 0.4836 | 8.3366 | 86.182 | 126.04 | 0
| 0.751 | 8.2047 | 30.4161 | 1023.6508 | 23.6473 | 0.4806 | 8.3214 | 86.029 | 130.1 | 0
| 0.749 | 8.2036 | 30.4085 | 1023.645 | 23.6416 | 0.4798 | 8.3045 | 85.848 | 126.59 | 0
| 0.752 | 8.1984 | 30.412 | 1023.6485 | 23.645 | 0.4813 | 8.2859 | 85.648 | 124.76 | 0
| 0.761 | 8.1944 | 30.4258 | 1023.6599 | 23.6564 | 0.4775 | 8.2689 | 85.471 | 121.42 | 0
| 0.769 | 8.195 | 30.4348 | 1023.6669 | 23.6634 | 0.4806 | 8.2427 | 85.207 | 125.83 | 0
| 0.764 | 8.1945 | 30.4373 | 1023.6689 | 23.6653 | 0.4813 | 8.2157 | 84.928 | 128.63 | 0
| 0.759 | 8.1926 | 30.4319 | 1023.6649 | 23.6614 | 0.5287 | 8.1959 | 84.717 | 126.09 | 0
| 0.754 | 8.193 | 30.4216 | 1023.6568 | 23.6533 | 0.5279 | 8.1643 | 84.386 | 125.42 | 0
| 0.753 | 8.1911 | 30.418 | 1023.6542 | 23.6507 | 0.5309 | 8.149 | 84.221 | 133.58 | 0
| 0.758 | 8.1883 | 30.424 | 1023.6593 | 23.6558 | 0.5264 | 8.1182 | 83.902 | 128.54 | 0
| 0.762 | 8.1882 | 30.4293 | 1023.6635 | 23.66 | 0.505 | 8.0862 | 83.573 | 128.09 | 0
| 0.771 | 8.1908 | 30.427 | 1023.6614 | 23.6579 | 0.5073 | 8.0629 | 83.336 | 119.89 | 0
| 0.773 | 8.1917 | 30.4295 | 1023.6633 | 23.6597 | 0.5081 | 8.0304 | 83.003 | 132.78 | 0
| 0.771 | 8.1916 | 30.4384 | 1023.6702 | 23.6667 | 0.5042 | 8.0077 | 82.774 | 128.01 | 0
| 0.76 | 8.192 | 30.4427 | 1023.6735 | 23.67 | 0.5187 | 7.9769 | 82.458 | 121.14 | 0
| 0.749 | 8.1966 | 30.4325 | 1023.6648 | 23.6613 | 0.518 | 7.9568 | 82.253 | 126.21 | 0
| 0.747 | 8.2034 | 30.4108 | 1023.6468 | 23.6434 | 0.5195 | 7.9312 | 81.99 | 129.65 | 0
| 0.759 | 8.2028 | 30.3975 | 1023.6365 | 23.633 | 0.518 | 7.9189 | 81.854 | 120.64 | 0
| 0.779 | 8.1958 | 30.4028 | 1023.6418 | 23.6382 | 0.5149 | 7.9045 | 81.695 | 115.77 | 0
| 0.79 | 8.1861 | 30.427 | 1023.6622 | 23.6585 | 0.5042 | 7.8913 | 81.554 | 116.98 | 0
| 0.791 | 8.1802 | 30.4474 | 1023.679 | 23.6753 | 0.505 | 7.8773 | 81.409 | 124.9 | 0
| 0.782 | 8.1749 | 30.4627 | 1023.6917 | 23.6881 | 0.5058 | 7.8713 | 81.346 | 110.2 | 0
| 0.768 | 8.1842 | 30.4537 | 1023.6833 | 23.6797 | 0.5042 | 7.8705 | 81.35 | 124.59 | 0
| 0.753 | 8.1971 | 30.4262 | 1023.6598 | 23.6563 | 0.5027 | 7.8715 | 81.369 | 128.45 | 0
| 0.748 | 8.2056 | 30.4068 | 1023.6433 | 23.6399 | 0.505 | 7.8941 | 81.608 | 111.17 | 0
| 0.751 | 8.2095 | 30.3956 | 1023.634 | 23.6306 | 0.5065 | 7.9246 | 81.925 | 116.71 | 0
| 0.763 | 8.2079 | 30.3943 | 1023.6333 | 23.6298 | 0.5027 | 7.9657 | 82.346 | 120.39 | 0
| 0.781 | 8.2064 | 30.407 | 1023.6436 | 23.64 | 0.4943 | 8.0061 | 82.768 | 117.58 | 0
| 0.789 | 8.2066 | 30.4222 | 1023.6555 | 23.6518 | 0.4913 | 8.0524 | 83.255 | 109.39 | 0
| 0.785 | 8.2059 | 30.431 | 1023.6625 | 23.6588 | 0.4928 | 8.0942 | 83.691 | 122.58 | 0
| 0.774 | 8.2103 | 30.4256 | 1023.6575 | 23.6539 | 0.4905 | 8.133 | 84.097 | 120.95 | 0
| 0.764 | 8.2164 | 30.4092 | 1023.6438 | 23.6402 | 0.5302 | 8.1574 | 84.352 | 118.54 | 0
| 0.753 | 8.2179 | 30.397 | 1023.634 | 23.6305 | 0.5287 | 8.1764 | 84.545 | 116.15 | 0
| 0.75 | 8.2185 | 30.3903 | 1023.6286 | 23.6252 | 0.5302 | 8.183 | 84.611 | 112.44 | 0
| 0.754 | 8.2173 | 30.3878 | 1023.6269 | 23.6234 | 0.5294 | 8.1885 | 84.663 | 116.5 | 0
| 0.769 | 8.2128 | 30.3947 | 1023.633 | 23.6294 | 0.4936 | 8.1893 | 84.667 | 114.78 | 0
| 0.781 | 8.2094 | 30.4106 | 1023.646 | 23.6423 | 0.4936 | 8.1994 | 84.774 | 107.6 | 0
| 0.787 | 8.2094 | 30.4201 | 1023.6534 | 23.6498 | 0.4936 | 8.213 | 84.92 | 117.25 | 0
| 0.783 | 8.2098 | 30.4263 | 1023.6582 | 23.6546 | 0.4958 | 8.226 | 85.059 | 121.62 | 0
| 0.77 | 8.2133 | 30.42 | 1023.6527 | 23.6491 | 0.5195 | 8.2478 | 85.287 | 111.4 | 0
| 0.76 | 8.2177 | 30.4015 | 1023.6376 | 23.634 | 0.5157 | 8.2601 | 85.412 | 115.1 | 0
| 0.75 | 8.2194 | 30.387 | 1023.6259 | 23.6224 | 0.5195 | 8.2719 | 85.53 | 118.95 | 0
| 0.755 | 8.2201 | 30.3795 | 1023.62 | 23.6165 | 0.5172 | 8.28 | 85.611 | 118.07 | 0
| 0.762 | 8.2175 | 30.3903 | 1023.6288 | 23.6253 | 0.4897 | 8.2786 | 85.597 | 115.21 | 0
| 0.768 | 8.2156 | 30.4033 | 1023.6393 | 23.6358 | 0.4943 | 8.2799 | 85.614 | 108 | 0
| 0.77 | 8.214 | 30.41 | 1023.6448 | 23.6412 | 0.4913 | 8.2736 | 85.549 | 124.3 | 0
| 0.774 | 8.2115 | 30.4095 | 1023.6448 | 23.6412 | 0.4928 | 8.2797 | 85.608 | 112.73 | 0
| 0.778 | 8.2092 | 30.4095 | 1023.6451 | 23.6415 | 0.5287 | 8.2754 | 85.559 | 113.75 | 0
| 0.774 | 8.2072 | 30.4174 | 1023.6516 | 23.648 | 0.5294 | 8.2721 | 85.526 | 124.3 | 0
| 0.762 | 8.2077 | 30.416 | 1023.6503 | 23.6468 | 0.5309 | 8.2646 | 85.448 | 119.61 | 0
| 0.755 | 8.2095 | 30.3171 | 1023.5726 | 23.5691 | 0.5302 | 8.2504 | 85.249 | 120.08 | 0
| 0.755 | 8.1946 | 30.2539 | 1023.5251 | 23.5216 | 0.4699 | 8.2237 | 84.91 | 118.65 | 0
| 0.763 | 8.1641 | 30.2787 | 1023.5489 | 23.5453 | 0.4676 | 8.1767 | 84.38 | 122.78 | 0
| 0.774 | 8.1428 | 30.2958 | 1023.5654 | 23.5618 | 0.4691 | 8.1596 | 84.172 | 120.92 | 0
| 0.777 | 8.1313 | 30.3055 | 1023.5746 | 23.571 | 0.4661 | 8.2404 | 84.988 | 116.74 | 0
| 0.782 | 8.1259 | 30.3081 | 1023.5774 | 23.5738 | 0.5058 | 8.4692 | 87.34 | 124.5 | 0
| 0.789 | 8.1239 | 30.3095 | 1023.5788 | 23.5752 | 0.5065 | 8.8191 | 90.945 | 124.3 | 0
| 0.79 | 8.1237 | 30.3093 | 1023.5787 | 23.5751 | 0.505 | 9.2697 | 95.59 | 116.63 | 0
| 0.793 | 8.1235 | 30.3121 | 1023.581 | 23.5773 | 0.505 | 9.7704 | 100.756 | 121.59 | 0
| 0.794 | 8.1239 | 30.3147 | 1023.5829 | 23.5793 | 0.4913 | 10.2689 | 105.899 | 120.84 | 0
| 0.792 | 8.1245 | 30.3154 | 1023.5834 | 23.5797 | 0.4913 | 10.7085 | 110.434 | 127.74 | 0
| 0.783 | 8.1245 | 30.3164 | 1023.5842 | 23.5805 | 0.4913 | 11.0293 | 113.744 | 133.58 | 0
| 0.747 | 8.1246 | 30.3154 | 1023.5832 | 23.5797 | 0.4913 | 11.2173 | 115.682 | 130.79 | 0
| 0.721 | 8.125 | 30.3134 | 1023.5815 | 23.5781 | 0.4966 | 11.2901 | 116.432 | 133.05 | 0
| 0.721 | 8.1253 | 30.3152 | 1023.5828 | 23.5794 | 0.4958 | 11.2919 | 116.453 | 129.56 | 0
| 0.733 | 8.1254 | 30.3152 | 1023.5829 | 23.5795 | 0.4913 | 11.2408 | 115.926 | 132.62 | 0
| 0.753 | 8.1252 | 30.3152 | 1023.583 | 23.5795 | 0.4928 | 11.1708 | 115.204 | 122.47 | 0
| 0.768 | 8.1251 | 30.314 | 1023.5821 | 23.5786 | 0.5073 | 11.087 | 114.338 | 125.19 | 0
| 0.769 | 8.1249 | 30.3147 | 1023.5827 | 23.5791 | 0.5027 | 11.0093 | 113.536 | 127.77 | 0
| 0.753 | 8.1249 | 30.3155 | 1023.5832 | 23.5797 | 0.5081 | 10.937 | 112.791 | 124.24 | 0
| 0.73 | 8.1252 | 30.3175 | 1023.5847 | 23.5813 | 0.505 | 10.8701 | 112.104 | 132.65 | 0
| 0.716 | 8.1254 | 30.3183 | 1023.5852 | 23.5819 | 0.4821 | 10.8074 | 111.458 | 114.07 | 0
| 0.722 | 8.1255 | 30.3185 | 1023.5854 | 23.582 | 0.4783 | 10.7552 | 110.921 | 124.33 | 0
| 0.749 | 8.1251 | 30.3185 | 1023.5856 | 23.5821 | 0.4806 | 10.6989 | 110.339 | 115.47 | 0
| 0.767 | 8.1248 | 30.3185 | 1023.5856 | 23.5821 | 0.4806 | 10.6604 | 109.941 | 120.42 | 0
| 0.778 | 8.1246 | 30.3193 | 1023.5864 | 23.5828 | 0.5065 | 10.6431 | 109.763 | 109.31 | 0
| 0.778 | 8.1242 | 30.32 | 1023.5869 | 23.5833 | 0.5065 | 10.6158 | 109.481 | 111.22 | 0
| 0.771 | 8.1236 | 30.3204 | 1023.5874 | 23.5838 | 0.5073 | 10.5988 | 109.305 | 117.31 | 0
| 0.754 | 8.1235 | 30.3209 | 1023.5877 | 23.5842 | 0.5058 | 10.5867 | 109.18 | 111.12 | 0
| 0.741 | 8.1229 | 30.3211 | 1023.5878 | 23.5844 | 0.4577 | 10.5724 | 109.031 | 113.62 | 0
| 0.74 | 8.1225 | 30.3211 | 1023.5879 | 23.5845 | 0.4546 | 10.5675 | 108.979 | 110.56 | 0
| 0.762 | 8.1218 | 30.3207 | 1023.5878 | 23.5843 | 0.4546 | 10.5605 | 108.905 | 106.12 | 0
| 0.792 | 8.1202 | 30.3198 | 1023.5874 | 23.5838 | 0.4569 | 10.5456 | 108.747 | 103.81 | 0
| 0.818 | 8.1176 | 30.3229 | 1023.5904 | 23.5866 | 0.4806 | 10.5371 | 108.655 | 102.88 | 0
| 0.854 | 8.116 | 30.3251 | 1023.5925 | 23.5885 | 0.4806 | 10.5371 | 108.652 | 96.933 | 0
| 0.952 | 8.1152 | 30.3267 | 1023.5943 | 23.5899 | 0.4798 | 10.5254 | 108.53 | 85.443 | 0
| 1.118 | 8.1149 | 30.3254 | 1023.5941 | 23.5889 | 0.4806 | 10.517 | 108.442 | 77.687 | 0
| 1.347 | 8.1159 | 30.3214 | 1023.5919 | 23.5856 | 0.4806 | 10.5168 | 108.44 | 69.791 | 0
| 1.61 | 8.1189 | 30.3268 | 1023.5969 | 23.5894 | 0.5081 | 10.5107 | 108.389 | 63.559 | 0
| 1.894 | 8.1191 | 30.355 | 1023.6203 | 23.6115 | 0.5088 | 10.5067 | 108.367 | 54.768 | 0
| 2.201 | 8.0942 | 30.4417 | 1023.6932 | 23.683 | 0.505 | 10.5044 | 108.344 | 47.731 | 0
| 2.551 | 7.9974 | 30.5746 | 1023.8126 | 23.8008 | 0.5042 | 10.5068 | 108.225 | 42.969 | 0
| 2.903 | 7.8573 | 30.7285 | 1023.9545 | 23.941 | 0.5081 | 10.4856 | 107.771 | 39.891 | 0
| 3.265 | 7.7332 | 30.8403 | 1024.061 | 24.0459 | 0.5042 | 10.4378 | 107.055 | 37.761 | 0
| 3.635 | 7.6597 | 30.9045 | 1024.1232 | 24.1064 | 0.505 | 10.379 | 106.318 | 35.936 | 0
| 3.987 | 7.6204 | 30.9364 | 1024.1554 | 24.1368 | 0.5027 | 10.3272 | 105.714 | 34.128 | 0
| 4.328 | 7.5996 | 30.9538 | 1024.1734 | 24.1533 | 0.5279 | 10.2866 | 105.26 | 32.112 | 0
| 4.682 | 7.5895 | 30.9624 | 1024.1832 | 24.1614 | 0.5271 | 10.2649 | 105.019 | 29.964 | 0
| 5.041 | 7.5848 | 30.9663 | 1024.1885 | 24.1651 | 0.5294 | 10.2731 | 105.095 | 27.908 | 0
| 5.253 | 7.583 | 30.9681 | 1024.1912 | 24.1668 | 0.5287 | 10.3005 | 105.372 | 27.523 | 0
| 5.296 | 7.583 | 30.9685 | 1024.1917 | 24.1671 | 0.5882 | 10.3534 | 105.914 | 27.301 | 0
| 5.289 | 7.5838 | 30.9691 | 1024.192 | 24.1674 | 0.5905 | 10.4002 | 106.395 | 27.979 | 0
| 5.229 | 7.5851 | 30.9698 | 1024.1921 | 24.1679 | 0.592 | 10.4373 | 106.778 | 29.888 | 0
| 5.045 | 7.5873 | 30.9674 | 1024.1891 | 24.1656 | 0.5882 | 10.4498 | 106.909 | 31.406 | 0
| 4.813 | 7.5893 | 30.9654 | 1024.1861 | 24.1638 | 0.5882 | 10.4627 | 107.045 | 32.599 | 0
| 4.632 | 7.5921 | 30.9629 | 1024.183 | 24.1615 | 0.5882 | 10.4751 | 107.178 | 33.782 | 0
| 4.459 | 7.5949 | 30.9595 | 1024.1792 | 24.1584 | 0.5905 | 10.4684 | 107.113 | 35.44 | 0
| 4.269 | 7.5966 | 30.9565 | 1024.1756 | 24.1558 | 0.5882 | 10.4749 | 107.182 | 36.991 | 0
| 4.104 | 7.5964 | 30.9554 | 1024.174 | 24.155 | 0.5554 | 10.4818 | 107.251 | 37.831 | 0
| 3.976 | 7.5953 | 30.9422 | 1024.1632 | 24.1447 | 0.5523 | 10.4899 | 107.321 | 39.15 | 0
| 3.824 | 7.5942 | 30.9579 | 1024.175 | 24.1573 | 0.5538 | 10.4916 | 107.348 | 41.291 | 0
| 3.629 | 7.5935 | 30.9565 | 1024.1731 | 24.1563 | 0.5538 | 10.4972 | 107.403 | 43.248 | 0
| 3.454 | 7.5939 | 30.9549 | 1024.171 | 24.155 | 0.5531 | 10.5018 | 107.449 | 44.87 | 0
| 3.328 | 7.5945 | 30.9554 | 1024.1707 | 24.1552 | 0.5546 | 10.5085 | 107.52 | 45.963 | 0
| 3.248 | 7.5935 | 30.9564 | 1024.1713 | 24.1562 | 0.5531 | 10.5043 | 107.475 | 46.219 | 0
| 3.193 | 7.5919 | 30.9571 | 1024.1718 | 24.157 | 0.5515 | 10.4971 | 107.398 | 46.402 | 0
| 3.151 | 7.5895 | 30.9593 | 1024.1736 | 24.159 | 0.5393 | 10.5017 | 107.441 | 46.252 | 0
| 3.138 | 7.5881 | 30.9599 | 1024.1742 | 24.1597 | 0.5424 | 10.5067 | 107.489 | 45.889 | 0
| 3.135 | 7.5872 | 30.962 | 1024.176 | 24.1614 | 0.5393 | 10.5041 | 107.462 | 46.348 | 0
| 3.121 | 7.5868 | 30.963 | 1024.1768 | 24.1623 | 0.5416 | 10.5113 | 107.535 | 46.953 | 0
| 3.09 | 7.5873 | 30.9651 | 1024.1782 | 24.1638 | 0.518 | 10.5025 | 107.448 | 46.942 | 0
| 3.03 | 7.5887 | 30.9644 | 1024.1772 | 24.1631 | 0.5172 | 10.5019 | 107.445 | 47.908 | 0
| 2.9 | 7.59 | 30.9626 | 1024.175 | 24.1615 | 0.5172 | 10.5044 | 107.472 | 50.213 | 0
| 2.735 | 7.5913 | 30.961 | 1024.1728 | 24.1601 | 0.5157 | 10.5138 | 107.57 | 52.678 | 0
| 2.613 | 7.5927 | 30.959 | 1024.1705 | 24.1583 | 0.5195 | 10.5152 | 107.586 | 54.137 | 0
| 2.532 | 7.5933 | 30.9582 | 1024.1694 | 24.1576 | 0.5187 | 10.5275 | 107.713 | 56.756 | 0
| 2.407 | 7.5932 | 30.9573 | 1024.1681 | 24.1569 | 0.5157 | 10.5444 | 107.885 | 62.9 | 0
| 2.222 | 7.5933 | 30.956 | 1024.1662 | 24.1559 | 0.5195 | 10.5536 | 107.978 | 68.13 | 0
| 2.056 | 7.5958 | 30.9485 | 1024.1592 | 24.1497 | 0.5546 | 10.5688 | 108.135 | 71.89 | 0
| 1.901 | 7.6018 | 30.9409 | 1024.1517 | 24.1429 | 0.5561 | 10.5822 | 108.282 | 80.265 | 0
| 1.711 | 7.6106 | 30.9136 | 1024.1282 | 24.1202 | 0.5561 | 10.5848 | 108.31 | 91.992 | 0
| 1.52 | 7.6344 | 30.8742 | 1024.0931 | 24.086 | 0.5561 | 10.5864 | 108.357 | 99.503 | 0
| 1.394 | 7.6762 | 30.8139 | 1024.0394 | 24.033 | 0.5775 | 10.5959 | 108.516 | 100.59 | 0
| 1.321 | 7.732 | 30.7454 | 1023.9777 | 23.9716 | 0.5782 | 10.6088 | 108.738 | 110.4 | 0
| 1.188 | 7.7941 | 30.6879 | 1023.9234 | 23.9178 | 0.5775 | 10.6253 | 109.021 | 123.87 | 0
| 0.984 | 7.8365 | 30.6284 | 1023.8699 | 23.8653 | 0.5775 | 10.652 | 109.358 | 138.75 | 0
| 0.808 | 7.8846 | 30.5684 | 1023.8154 | 23.8116 | 0.5431 | 10.6743 | 109.664 | 156.39 | 0
| 0.652 | 7.9439 | 30.5056 | 1023.7571 | 23.7541 | 0.5431 | 10.7013 | 110.044 | 189.52 | 0
| 0.472 | 7.9957 | 30.4442 | 1023.701 | 23.6988 | 0.5424 | 10.7355 | 110.482 | 195 | 0
| 0.333 | 8.0386 | 30.4008 | 1023.6603 | 23.6587 | 0.5393 | 10.7623 | 110.835 | 182.04 | 0
| 0.352 | 8.071 | 30.3569 | 1023.6214 | 23.6197 | 0.5195 | 10.7869 | 111.138 | 170.81 | 0
| 0.374 | 8.0952 | 30.3329 | 1023.5993 | 23.5975 | 0.518 | 10.8022 | 111.339 | 207.77 | 0
| 0.292 | 8.1097 | 30.3222 | 1023.5885 | 23.5871 | 0.5187 | 10.8135 | 111.485 | 204.9 | 0
| 0.175 | 8.1147 | 30.321 | 1023.5863 | 23.5855 | 0.5149 | 10.8116 | 111.477 | 219.94 | 0
| 0.088 | 8.1144 | 30.3193 | 1023.5846 | 23.5842 | -0.1588 | 10.798 | 111.334 | 191.42 | 0
| 0.062 | 8.1142 | 30.3138 | 1023.5802 | 23.5799 | -0.1588 | 10.7672 | 111.012 | 177.46 | 0
| 0.12 | 8.1132 | 30.3129 | 1023.5799 | 23.5793 | -0.1572 | 10.7239 | 110.563 | 180.65 | 0
| 0.175 | 8.1089 | 30.3108 | 1023.5791 | 23.5783 | -0.1565 | 10.6885 | 110.185 | 174.77 | 0
| 0.145 | 8.1046 | 30.3116 | 1023.5802 | 23.5795 | -0.1229 | 10.632 | 109.593 | 164.79 | 0
| 0.05 | 8.1017 | 30.3179 | 1023.5851 | 23.5849 | -0.1214 | 10.5581 | 108.828 | 149.69 | 0
| 0.037 | 8.0983 | 30.32 | 1023.5872 | 23.587 | -0.1199 | 10.4723 | 107.937 | 129.56 | 0
| 0.037 | 8.0907 | 30.3286 | 1023.595 | 23.5948 | -0.1244 | 10.3787 | 106.96 | 126.33 | 0
| 0.039 | 8.0817 | 30.3395 | 1023.6048 | 23.6046 | -0.1466 | 10.2812 | 105.941 | 126.74 | 0
| 0.041 | 8.0737 | 30.3488 | 1023.6132 | 23.613 | -0.1458 | 10.1954 | 105.044 | 142.19 | 0
| 0.037 | 8.0671 | 30.3583 | 1023.6216 | 23.6214 | -0.1458 | 10.1262 | 104.322 | 138.33 | 0
| 0.036 | 8.0599 | 30.3597 | 1023.6237 | 23.6235 | -0.1481 | 10.0837 | 103.868 | 138.52 | 0
| 0.038 | 8.0528 | 30.3609 | 1023.6256 | 23.6255 | -0.1679 | 10.0619 | 103.628 | 133.45 | 0
| 0.038 | 8.0492 | 30.3639 | 1023.6285 | 23.6283 | -0.1717 | 10.0565 | 103.565 | 140.52 | 0
| 0.036 | 8.048 | 8.569 | 1006.5798 | 6.5797 | -0.1702 | 11.5664 | 103.369 | 188.47 | 0
| 0.035 | 8.0471 | 4.636 | 1003.4993 | 3.4991 | -0.1717 | 11.7999 | 102.794 | 196.95 | 0
| 0.037 | 8.0453 | 3.9649 | 1002.9728 | 2.9727 | -0.171 | 11.7454 | 101.87 | 200.35 | 0
| 0.037 | 8.0438 | 3.3336 | 1002.4772 | 2.477 | -0.1946 | 11.6363 | 100.509 | 188.51 | 0
| 0.038 | 8.0422 | 2.7918 | 1002.0515 | 2.0513 | -0.1992 | 11.4721 | 98.739 | 178.37 | 0
| 0.038 | 8.0408 | 2.8507 | 1002.0979 | 2.0977 | -0.1969 | 11.249 | 96.852 | 174.49 | 0