## 2016-05-11-SteveKibler-cast223
* | Sea-Bird | SBE19plus | Data | File:
* | FileName | = | C:\Users\Kris.Holderied\Documents\kasitsna\Research-KBL\Oceanography-AK\CTD-Data-ALL-to-2016-02\2016-CTD-KachemakBay-CookInlet\2016-04-CookInlet-quarterly\2016-05-11-SteveKibler\2016-05-11-SteveKibler-cast223.hex
* | Software | Version | 1.59
* | Temperature | SN | = | 5028
* | Conductivity | SN | = | 5028
* | System | UpLoad | Time | = | May | 12 | 2016 | 11:49
** | Steve | Kibler | CTD | profiles
** | Date | (YYYY-MM-DD): | 2016-05-11
** | Station | (ie. | 9-01): | to | add
** | Start | time | (AKST): | to | add
** | Depth | (m): | to | add
** | Comment: | 6 | total | casts
** | Comment:
* | ds
* | SeacatPlus | V | 1.6a | SERIAL | NO. | 5028 | 12 | May | 2016 | 11:46
* | vbatt | = | 12.1, | vlith | = | 8.1, | ioper | = | 63.4 | ma, | ipump | = | 64.1 | ma,
* | iext01 | = | 39.2 | ma
* | iext23 | = | 5 | ma
*
* | status | = | not | logging
* | number | of | scans | to | average | = | 1
* | samples | = | 233904, | free | = | 207601, | casts | = | 226
* | mode | = | profile, | minimum | cond | freq | = | 3041, | pump | delay | = | 60 | sec
* | autorun | = | no, | ignore | magnetic | switch | = | no
* | battery | type | = | alkaline, | battery | cutoff | = | 7.3 | volts
* | pressure | sensor | = | strain | gauge, | range | = | 508
* | SBE | 38 | = | no, | Gas | Tension | Device | = | no
* | Ext | Volt | 0 | = | yes, | Ext | Volt | 1 | = | yes, | Ext | Volt | 2 | = | yes, | Ext | Volt | 3 | = | yes
* | echo | commands | = | yes
* | output | format | = | raw | HEX
* | S>
*
* | SeacatPlus | V | 1.6a | SERIAL | NO. | 5028 | 12 | May | 2016 | 11:46
* | temperature: | 2014-09-05
* | TA0 | = | 0.0012655
* | TA1 | = | 0.00026623
* | TA2 | = | -2.0957e-07
* | TA3 | = | 1.6115e-07
* | TOFFSET | = | 0
* | conductivity: | 2014-09-05
* | G | = | -0.99806
* | H | = | 0.15554
* | I | = | -0.00054576
* | J | = | 6.7531e-05
* | CF0 | = | 2540.93
* | CPCOR | = | -9.57e-08
* | CTCOR | = | 3.25e-06
* | CSLOPE | = | 1
* | pressure | S/N | = | 10145, | range | = | 508 | psia: | 2014-09-03
* | PA0 | = | 0.037883
* | PA1 | = | 0.0015477
* | PA2 | = | 1.2287e-11
* | PTCA0 | = | 523849
* | PTCA1 | = | 3.3329
* | PTCA2 | = | -0.095331
* | PTCB0 | = | 24.9318
* | PTCB1 | = | 0.00055
* | PTCB2 | = | 0
* | PTEMPA0 | = | -67.6147
* | PTEMPA1 | = | 50.9453
* | PTEMPA2 | = | -0.25727
* | POFFSET | = | 0
* | volt | 0:00 | offset | = | -4.654947e-02, | slope | = | 1.249
* | volt | 1:00 | offset | = | -4.700947e-02, | slope | = | 1.2486
* | volt | 2:00 | offset | = | -4.668421e-02, | slope | = | 1.2486
* | volt | 3:00 | offset | = | 0.000000e+00, | slope | = | 1
* | EXTFREQSF | = | 0.99999
* | dh
* | cast | 223 | 11 | May | 2016 | 17:38 | samples | 232034 | to | 232602, | avg | = | 1, | stop | = | mag | switch
* | S>
# | nquan | = | 10
# | nvalues | = | 569
# | units | = | specified
# | name | 0 | = | depSM: | Depth | [salt | water, | m], | lat | = | 59.5
# | name | 1 | = | tv290C: | Temperature | [ITS-90, | deg | C]
# | name | 2 | = | sal00: | Salinity, | Practical | [PSU]
# | name | 3 | = | density00: | Density | [density, | kg/m^3]
# | name | 4 | = | sigma-t00: | Density | [sigma-t, | kg/m^3 | ]
# | name | 5 | = | flECO-AFL: | Fluorescence, | WET | Labs | ECO-AFL/FL | [mg/m^3]
# | name | 6 | = | sbeox0Mg/L: | Oxygen, | SBE | 43 | [mg/l]
# | name | 7 | = | sbeox0PS: | Oxygen, | SBE | 43 | [% | saturation]
# | name | 8 | = | par: | PAR/Irradiance, | Biospherical/Licor
# | name | 9 | = | flag: | 0
# | span | 0 | = | 0.099, | 13.688
# | span | 1 | = | 7.3863, | 8.219
# | span | 2 | = | 2.2081, | 31.6404
# | span | 3 | = | 1001.6214, | 1024.6677
# | span | 4 | = | 1.6209, | 24.664
# | span | 5 | = | -0.5746, | 0.8155
# | span | 6 | = | 7.2573, | 11.7284
# | span | 7 | = | 74.775, | 112.074
# | span | 8 | = | 1.0839e+01, | 283.27
# | span | 9 | = | 0.0000e+00, | 0
# | interval | = | seconds: | 0.25
# | start_time | = | May | 11 | 2016 | 17:38 | [Instrument's | time | stamp, | header]
# | bad_flag | = | -9.99e-29
# | <Sensors | count="7" | >
# | <sensor | Channel="1" | >
# | <!-- | Count, | Temperature | -->
# | <TemperatureSensor | SensorID="58" | >
# | <SerialNumber>5028</SerialNumber>
# | <CalibrationDate>11-Jun-09</CalibrationDate>
# | <A0>1.26756900e-003</A0>
# | <A1>2.65572900e-004</A1>
# | <A2>-1.41229000e-007</A2>
# | <A3>1.58786100e-007</A3>
# | <Slope>1.00000000</Slope>
# | <Offset>0.0000</Offset>
# | </TemperatureSensor>
# | </sensor>
# | <sensor | Channel="2" | >
# | <!-- | Frequency | 0, | Conductivity | -->
# | <ConductivitySensor | SensorID="3" | >
# | <SerialNumber>5028</SerialNumber>
# | <CalibrationDate>11-Jun-09</CalibrationDate>
# | <UseG_J>1</UseG_J>
# | <!-- | Cell | const | and | series | R | are | applicable | only | for | wide | range | sensors. | -->
# | <SeriesR>0.0000</SeriesR>
# | <CellConst>2000.0000</CellConst>
# | <ConductivityType>0</ConductivityType>
# | <Coefficients | equation="0" | >
# | <A>0.00000000e+000</A>
# | <B>0.00000000e+000</B>
# | <C>0.00000000e+000</C>
# | <D>0.00000000e+000</D>
# | <M>0.0</M>
# | <CPcor>-9.57000000e-008</CPcor>
# | </Coefficients>
# | <Coefficients | equation="1" | >
# | <G>-9.97583000e-001</G>
# | <H>1.55403700e-001</H>
# | <I>-5.06812300e-004</I>
# | <J>6.39295300e-005</J>
# | <CPcor>-9.57000000e-008</CPcor>
# | <CTcor>3.2500e-006</CTcor>
# | <!-- | WBOTC | not | applicable | unless | ConductivityType | = | 1 | -->
# | <WBOTC>0.00000000e+000</WBOTC>
# | </Coefficients>
# | <Slope>1.00000000</Slope>
# | <Offset>0.00000</Offset>
# | </ConductivitySensor>
# | </sensor>
# | <sensor | Channel="3" | >
# | <!-- | Count, | Pressure, | Strain | Gauge | -->
# | <PressureSensor | SensorID="46" | >
# | <SerialNumber>5028</SerialNumber>
# | <CalibrationDate>11-Jun-09 | </CalibrationDate>
# | <PA0>3.67055996e-002</PA0>
# | <PA1>1.54609355e-003</PA1>
# | <PA2>1.38021007e-011</PA2>
# | <PTEMPA0>-6.65872038e+001</PTEMPA0>
# | <PTEMPA1>4.99531566e+001</PTEMPA1>
# | <PTEMPA2>2.78112158e-002</PTEMPA2>
# | <PTCA0>5.23897707e+005</PTCA0>
# | <PTCA1>3.86339633e+000</PTCA1>
# | <PTCA2>-1.25160234e-001</PTCA2>
# | <PTCB0>2.49317500e+001</PTCB0>
# | <PTCB1>5.50000000e-004</PTCB1>
# | <PTCB2>0.00000000e+000</PTCB2>
# | <Offset>0.000000</Offset>
# | </PressureSensor>
# | </sensor>
# | <sensor | Channel="4" | >
# | <!-- | A/D | voltage | 0, | Fluorometer, | WET | Labs | ECO-AFL/FL | -->
# | <FluoroWetlabECO_AFL_FL_Sensor | SensorID="20" | >
# | <SerialNumber>0566</SerialNumber>
# | <CalibrationDate>08/25/06</CalibrationDate>
# | <ScaleFactor>1.00000000e+001</ScaleFactor>
# | <!-- | Dark | output | -->
# | <Vblank>0.0850</Vblank>
# | </FluoroWetlabECO_AFL_FL_Sensor>
# | </sensor>
# | <sensor | Channel="5" | >
# | <!-- | A/D | voltage | 1, | User | Polynomial | -->
# | <UserPolynomialSensor | SensorID="61" | >
# | <SerialNumber>0566</SerialNumber>
# | <CalibrationDate>09/21/06</CalibrationDate>
# | <SensorName>ECO-FLNTUS</SensorName>
# | <A0>-0.21000000</A0>
# | <A1>5.00000000</A1>
# | <A2>0.00000000</A2>
# | <A3>0.00000000</A3>
# | </UserPolynomialSensor>
# | </sensor>
# | <sensor | Channel="6" | >
# | <!-- | A/D | voltage | 2, | Oxygen, | SBE | 43 | -->
# | <OxygenSensor | SensorID="38" | >
# | <SerialNumber>1082</SerialNumber>
# | <CalibrationDate>29-Jun-09</CalibrationDate>
# | <Use2007Equation>1</Use2007Equation>
# | <CalibrationCoefficients | equation="0" | >
# | <!-- | Coefficients | for | Owens-Millard | equation. | -->
# | <Boc>0.0000</Boc>
# | <Soc>3.8040e-001</Soc>
# | <offset>-0.5076</offset>
# | <Pcor>1.35e-004</Pcor>
# | <Tcor>0.0011</Tcor>
# | <Tau>0.0</Tau>
# | </CalibrationCoefficients>
# | <CalibrationCoefficients | equation="1" | >
# | <!-- | Coefficients | for | Sea-Bird | equation | - | SBE | calibration | in | 2007 | and | later. | -->
# | <Soc>5.2200e-001</Soc>
# | <offset>-0.5073</offset>
# | <A>-3.4402e-003</A>
# | <B> | 1.8240e-004</B>
# | <C>-3.2078e-006</C>
# | <D0> | 2.5826e+000</D0>
# | <D1> | 1.92630e-004</D1>
# | <D2>-4.64800e-002</D2>
# | <E> | 3.6000e-002</E>
# | <Tau20> | 2.2200</Tau20>
# | <H1>-3.3000e-002</H1>
# | <H2> | 5.0000e+003</H2>
# | <H3> | 1.4500e+003</H3>
# | </CalibrationCoefficients>
# | </OxygenSensor>
# | </sensor>
# | <sensor | Channel="7" | >
# | <!-- | A/D | voltage | 3, | PAR/Irradiance, | Biospherical/Licor | -->
# | <PAR_BiosphericalLicorChelseaSensor | SensorID="42" | >
# | <SerialNumber>7067</SerialNumber>
# | <CalibrationDate>02/17/06</CalibrationDate>
# | <M>-0.75880140</M>
# | <B>-3.39444905</B>
# | <CalibrationConstant>3.59000000</CalibrationConstant>
# | <Multiplier>1.00000000</Multiplier>
# | <Offset>0.00000000</Offset>
# | </PAR_BiosphericalLicorChelseaSensor>
# | </sensor>
# | </Sensors>
# | datcnv_date | = | Jun | 2 | 2016 | 08:01:34, | 7.25.0.319 | [datcnv_vars | = | 9]
# | datcnv_in | = | R:\HABs\Manuscripts | in | Preparation\Alexandrium | in | Alaska\Alaska | 2016\YSI | CTD | Data\Jakolof | Bay | 11May16\2016-05-11-SteveKibler-cast223.hex | C:\Users\Steve.Kibler\Desktop\workspace-archive | (70)\5028-config-from-Seabird-Apr2012.CON
# | datcnv_skipover | = | 0
# | datcnv_ox_hysteresis_correction | = | yes
# | datcnv_ox_tau_correction | = | yes
# | file_type | = | ascii
*END* | D (m) | T | S | Dens (Kg/m3) | Sigma-t | Fluor | DO mg/L | DO % | PAR | n/a
| 0.437 | 8.219 | 30.6416 | 1023.8241 | 23.822 | -0.039 | 9.2281 | 95.574 | 283.27 | 0
| 0.534 | 7.9464 | 30.8436 | 1024.0214 | 24.0189 | -0.0382 | 9.2808 | 95.653 | 278.72 | 0
| 0.607 | 7.7864 | 30.9937 | 1024.1618 | 24.159 | -0.0405 | 9.3201 | 95.803 | 163.72 | 0
| 0.665 | 7.6999 | 31.1034 | 1024.2601 | 24.257 | 0.3082 | 9.3344 | 95.829 | 170.49 | 0
| 0.708 | 7.6616 | 31.2486 | 1024.3796 | 24.3763 | 0.3089 | 9.3509 | 96.007 | 163.16 | 0
| 0.72 | 7.6573 | 31.385 | 1024.4873 | 24.484 | 0.3104 | 9.3614 | 96.19 | 161.99 | 0
| 0.712 | 7.6629 | 31.3578 | 1024.4652 | 24.4619 | 0.3089 | 9.3776 | 96.352 | 160.98 | 0
| 0.705 | 7.6677 | 31.3417 | 1024.4518 | 24.4485 | 0.2876 | 9.3995 | 96.577 | 165.71 | 0
| 0.705 | 7.6719 | 31.2979 | 1024.4168 | 24.4136 | 0.2868 | 9.4149 | 96.718 | 161.5 | 0
| 0.717 | 7.6726 | 31.2837 | 1024.4057 | 24.4023 | 0.2837 | 9.3282 | 95.819 | 169.55 | 0
| 0.737 | 7.6751 | 31.2923 | 1024.4121 | 24.4087 | 0.2845 | 9.12 | 93.691 | 160.76 | 0
| 0.755 | 7.6796 | 31.3233 | 1024.4359 | 24.4324 | 0.2502 | 8.9772 | 92.252 | 166.78 | 0
| 0.761 | 7.6857 | 31.4914 | 1024.5672 | 24.5636 | 0.2486 | 8.902 | 91.593 | 161.17 | 0
| 0.76 | 7.7019 | 31.4988 | 1024.5707 | 24.5672 | 0.2486 | 8.9239 | 91.856 | 159.02 | 0
| 0.75 | 7.7066 | 31.3822 | 1024.4785 | 24.475 | 0.2502 | 9.0062 | 92.642 | 156.79 | 0
| 0.735 | 7.6985 | 31.2777 | 1024.3974 | 24.394 | 0.2593 | 9.1341 | 93.877 | 147.53 | 0
| 0.724 | 7.689 | 31.2364 | 1024.3663 | 24.3629 | 0.2624 | 9.2918 | 95.451 | 152.14 | 0
| 0.723 | 7.6932 | 31.2032 | 1024.3397 | 24.3363 | 0.2609 | 9.4715 | 97.286 | 142.72 | 0
| 0.723 | 7.7023 | 31.193 | 1024.3304 | 24.327 | 0.2624 | 9.5982 | 98.6 | 145.73 | 0
| 0.728 | 7.7053 | 31.1916 | 1024.3289 | 24.3256 | 0.2372 | 9.5811 | 98.431 | 143.25 | 0
| 0.736 | 7.7035 | 31.2149 | 1024.3475 | 24.344 | 0.2334 | 9.4899 | 97.505 | 141.47 | 0
| 0.754 | 7.701 | 31.2472 | 1024.3732 | 24.3697 | 0.2364 | 9.3282 | 95.859 | 142.65 | 0
| 0.777 | 7.7008 | 31.28 | 1024.3991 | 24.3955 | 0.2372 | 9.1517 | 94.064 | 135.66 | 0
| 0.811 | 7.699 | 31.3725 | 1024.4722 | 24.4684 | 0.2929 | 8.9914 | 92.469 | 134.2 | 0
| 0.822 | 7.7001 | 31.5014 | 1024.5733 | 24.5694 | 0.3326 | 8.87 | 91.299 | 141.18 | 0
| 0.816 | 7.7173 | 31.452 | 1024.5321 | 24.5283 | 0.3372 | 8.7932 | 90.515 | 140.52 | 0
| 0.803 | 7.7573 | 31.2863 | 1024.3964 | 24.3927 | 0.331 | 8.7634 | 90.193 | 143.38 | 0
| 0.794 | 7.767 | 31.2188 | 1024.342 | 24.3383 | 0.3333 | 8.7754 | 90.297 | 146.13 | 0
| 0.787 | 7.7493 | 31.1827 | 1024.3161 | 24.3125 | 0.299 | 8.8245 | 90.743 | 145.25 | 0
| 0.791 | 7.7316 | 31.1576 | 1024.2988 | 24.2952 | 0.296 | 8.887 | 91.335 | 144.65 | 0
| 0.804 | 7.7189 | 31.1639 | 1024.3056 | 24.3019 | 0.2982 | 8.9475 | 91.934 | 143.22 | 0
| 0.817 | 7.7093 | 31.187 | 1024.3251 | 24.3213 | 0.2982 | 8.9806 | 92.268 | 143.05 | 0
| 0.823 | 7.7023 | 31.2289 | 1024.3591 | 24.3552 | 0.3211 | 8.9813 | 92.285 | 139.39 | 0
| 0.821 | 7.6989 | 31.2802 | 1024.3998 | 24.396 | 0.3234 | 8.9652 | 92.143 | 146.61 | 0
| 0.807 | 7.7037 | 31.2669 | 1024.3886 | 24.3849 | 0.3219 | 8.9329 | 91.814 | 140.3 | 0
| 0.788 | 7.7073 | 31.2294 | 1024.3586 | 24.3549 | 0.3242 | 8.9026 | 91.487 | 141.9 | 0
| 0.776 | 7.7007 | 31.1701 | 1024.3129 | 24.3093 | 0.3227 | 8.8832 | 91.239 | 141.77 | 0
| 0.778 | 7.6906 | 31.1501 | 1024.2986 | 24.295 | 0.3204 | 8.8809 | 91.182 | 138.78 | 0
| 0.796 | 7.6883 | 31.1575 | 1024.3048 | 24.3011 | 0.3211 | 8.8962 | 91.339 | 132.99 | 0
| 0.818 | 7.688 | 31.1703 | 1024.315 | 24.3112 | 0.3204 | 8.9318 | 91.711 | 130.43 | 0
| 0.841 | 7.6855 | 31.2177 | 1024.3527 | 24.3488 | 0.3349 | 8.9782 | 92.211 | 137.34 | 0
| 0.852 | 7.6871 | 31.3465 | 1024.4536 | 24.4496 | 0.3326 | 9.0142 | 92.663 | 134.6 | 0
| 0.853 | 7.6956 | 31.4279 | 1024.5164 | 24.5124 | 0.3364 | 9.0319 | 92.911 | 131.89 | 0
| 0.844 | 7.6972 | 31.3476 | 1024.4531 | 24.4491 | 0.3295 | 9.0405 | 92.955 | 142.23 | 0
| 0.834 | 7.6923 | 31.2391 | 1024.3685 | 24.3646 | 0.36 | 9.0259 | 92.729 | 134.38 | 0
| 0.82 | 7.6815 | 31.1876 | 1024.3294 | 24.3256 | 0.3578 | 8.9951 | 92.358 | 140.82 | 0
| 0.82 | 7.6699 | 31.1767 | 1024.3225 | 24.3187 | 0.36 | 8.973 | 92.101 | 138.23 | 0
| 0.82 | 7.6626 | 31.1801 | 1024.3262 | 24.3224 | 0.36 | 8.9629 | 91.983 | 130.16 | 0
| 0.827 | 7.655 | 31.1864 | 1024.3322 | 24.3283 | 0.3104 | 8.962 | 91.962 | 135.79 | 0
| 0.835 | 7.6468 | 31.2125 | 1024.3539 | 24.35 | 0.3097 | 8.976 | 92.104 | 126.01 | 0
| 0.84 | 7.6406 | 31.2812 | 1024.4087 | 24.4048 | 0.3104 | 8.9938 | 92.315 | 138.91 | 0
| 0.834 | 7.6424 | 31.4111 | 1024.5104 | 24.5065 | 0.312 | 8.9958 | 92.418 | 131.28 | 0
| 0.819 | 7.6524 | 31.3695 | 1024.4763 | 24.4725 | 0.2876 | 9.0011 | 92.468 | 130.16 | 0
| 0.803 | 7.6528 | 31.2787 | 1024.4049 | 24.4011 | 0.286 | 9.0066 | 92.471 | 134.63 | 0
| 0.78 | 7.644 | 31.2526 | 1024.3855 | 24.3819 | 0.2868 | 8.9941 | 92.309 | 133.3 | 0
| 0.764 | 7.6339 | 31.2066 | 1024.3507 | 24.3471 | 0.2876 | 8.9931 | 92.249 | 132.04 | 0
| 0.762 | 7.6263 | 31.1894 | 1024.3382 | 24.3347 | 0.2868 | 8.9994 | 92.287 | 123.12 | 0
| 0.77 | 7.6261 | 31.1905 | 1024.3392 | 24.3356 | 0.2845 | 9.0186 | 92.485 | 124.64 | 0
| 0.783 | 7.6295 | 31.2117 | 1024.3553 | 24.3517 | 0.2845 | 9.0452 | 92.777 | 125.11 | 0
| 0.802 | 7.6351 | 31.3535 | 1024.466 | 24.4623 | 0.2853 | 9.0647 | 93.075 | 121.73 | 0
| 0.809 | 7.6477 | 31.4801 | 1024.5637 | 24.56 | 0.3379 | 9.0751 | 93.286 | 127.86 | 0
| 0.804 | 7.652 | 31.4826 | 1024.5651 | 24.5614 | 0.3349 | 9.0801 | 93.348 | 130.16 | 0
| 0.79 | 7.6502 | 31.4281 | 1024.5225 | 24.5188 | 0.3349 | 9.0867 | 93.379 | 129.38 | 0
| 0.778 | 7.6564 | 31.2916 | 1024.4144 | 24.4108 | 0.3326 | 9.0792 | 93.231 | 133.92 | 0
| 0.764 | 7.6585 | 31.2216 | 1024.359 | 24.3555 | 0.3349 | 9.059 | 92.986 | 133.64 | 0
| 0.759 | 7.6557 | 31.1861 | 1024.3316 | 24.3281 | 0.3349 | 9.0419 | 92.783 | 135.26 | 0
| 0.763 | 7.6513 | 31.186 | 1024.3321 | 24.3286 | 0.3326 | 9.0425 | 92.78 | 126.5 | 0
| 0.778 | 7.6487 | 31.203 | 1024.3459 | 24.3423 | 0.3356 | 9.0447 | 92.808 | 131.4 | 0
| 0.793 | 7.6489 | 31.2459 | 1024.3796 | 24.3759 | 0.3127 | 9.0598 | 92.988 | 131.28 | 0
| 0.801 | 7.6544 | 31.3457 | 1024.4572 | 24.4535 | 0.3112 | 9.0527 | 92.989 | 134.2 | 0
| 0.803 | 7.6652 | 31.4365 | 1024.5271 | 24.5233 | 0.312 | 9.0442 | 92.979 | 127.95 | 0
| 0.798 | 7.6687 | 31.4707 | 1024.5535 | 24.5498 | 0.3104 | 9.0363 | 92.926 | 134.91 | 0
| 0.792 | 7.6647 | 31.5009 | 1024.5776 | 24.574 | 0.2738 | 9.0084 | 92.649 | 133.14 | 0
| 0.783 | 7.6647 | 31.527 | 1024.5981 | 24.5945 | 0.2746 | 8.9785 | 92.357 | 133.45 | 0
| 0.779 | 7.6835 | 31.5262 | 1024.5949 | 24.5913 | 0.2738 | 8.9262 | 91.858 | 137.34 | 0
| 0.78 | 7.7116 | 31.4891 | 1024.5618 | 24.5582 | 0.2761 | 8.8912 | 91.534 | 127.53 | 0
| 0.778 | 7.731 | 31.4539 | 1024.5315 | 24.5279 | 0.3005 | 8.8428 | 91.055 | 131.13 | 0
| 0.786 | 7.7371 | 31.4298 | 1024.5118 | 24.5081 | 0.2982 | 8.8091 | 90.707 | 131.73 | 0
| 0.793 | 7.7329 | 31.4295 | 1024.5121 | 24.5085 | 0.2998 | 8.773 | 90.326 | 131.25 | 0
| 0.8 | 7.7264 | 31.4613 | 1024.538 | 24.5343 | 0.3005 | 8.7339 | 89.928 | 130.79 | 0
| 0.801 | 7.7239 | 31.5139 | 1024.5797 | 24.576 | 0.2754 | 8.7071 | 89.679 | 130.58 | 0
| 0.797 | 7.7285 | 31.5453 | 1024.6037 | 24.6 | 0.2731 | 8.6799 | 89.427 | 132.81 | 0
| 0.791 | 7.7369 | 31.5559 | 1024.6108 | 24.6071 | 0.2746 | 8.6644 | 89.29 | 128.39 | 0
| 0.784 | 7.7438 | 31.558 | 1024.6115 | 24.6078 | 0.2746 | 8.6351 | 89.003 | 132.87 | 0
| 0.781 | 7.7492 | 31.5538 | 1024.6074 | 24.6038 | 0.3227 | 8.6227 | 88.884 | 129.71 | 0
| 0.78 | 7.7537 | 31.5425 | 1024.5979 | 24.5943 | 0.3211 | 8.5934 | 88.584 | 129.47 | 0
| 0.782 | 7.7573 | 31.5293 | 1024.5871 | 24.5834 | 0.3211 | 8.5602 | 88.242 | 131.58 | 0
| 0.784 | 7.759 | 31.5217 | 1024.5809 | 24.5772 | 0.3234 | 8.5236 | 87.863 | 122.47 | 0
| 0.788 | 7.7595 | 31.5187 | 1024.5784 | 24.5748 | 0.2837 | 8.4772 | 87.385 | 132.22 | 0
| 0.79 | 7.7595 | 31.5308 | 1024.5879 | 24.5843 | 0.2868 | 8.4215 | 86.817 | 127 | 0
| 0.79 | 7.7605 | 31.5683 | 1024.6173 | 24.6136 | 0.286 | 8.3765 | 86.376 | 122.87 | 0
| 0.785 | 7.7637 | 31.5912 | 1024.6348 | 24.6312 | 0.2845 | 8.3311 | 85.928 | 135.54 | 0
| 0.785 | 7.7696 | 31.6063 | 1024.6458 | 24.6422 | 0.3204 | 8.2844 | 85.465 | 124.64 | 0
| 0.78 | 7.7757 | 31.609 | 1024.6471 | 24.6435 | 0.3242 | 8.2501 | 85.125 | 123.64 | 0
| 0.779 | 7.7814 | 31.6086 | 1024.6459 | 24.6423 | 0.3257 | 8.203 | 84.649 | 130.85 | 0
| 0.779 | 7.7867 | 31.6052 | 1024.6425 | 24.6389 | 0.3227 | 8.1579 | 84.193 | 124.99 | 0
| 0.782 | 7.7922 | 31.6022 | 1024.6394 | 24.6358 | 0.3845 | 8.1364 | 83.979 | 123.92 | 0
| 0.79 | 7.7978 | 31.5736 | 1024.6162 | 24.6125 | 0.3822 | 8.0942 | 83.539 | 127.86 | 0
| 0.797 | 7.8017 | 31.5365 | 1024.5865 | 24.5828 | 0.3852 | 8.0572 | 83.145 | 123.84 | 0
| 0.803 | 7.8015 | 31.6101 | 1024.6444 | 24.6407 | 0.3837 | 8.0159 | 82.758 | 124.3 | 0
| 0.8 | 7.8025 | 31.6338 | 1024.6628 | 24.6591 | 0.3814 | 7.9826 | 82.428 | 128.3 | 0
| 0.797 | 7.8049 | 31.6404 | 1024.6677 | 24.664 | 0.3249 | 7.9511 | 82.111 | 129.92 | 0
| 0.794 | 7.8071 | 31.6368 | 1024.6645 | 24.6608 | 0.3234 | 7.9236 | 81.829 | 126.91 | 0
| 0.792 | 7.8118 | 31.6314 | 1024.6597 | 24.656 | 0.3242 | 7.9012 | 81.604 | 131.83 | 0
| 0.8 | 7.8274 | 31.6022 | 1024.6346 | 24.6309 | 0.3242 | 7.8713 | 81.308 | 131.37 | 0
| 0.807 | 7.8411 | 31.6047 | 1024.6346 | 24.6309 | 0.3356 | 7.8444 | 81.057 | 118.48 | 0
| 0.809 | 7.8572 | 31.5961 | 1024.6256 | 24.6219 | 0.3333 | 7.8165 | 80.794 | 134.79 | 0
| 0.811 | 7.8736 | 31.5869 | 1024.6161 | 24.6123 | 0.3341 | 7.7863 | 80.507 | 123.72 | 0
| 0.811 | 7.8848 | 31.5902 | 1024.6171 | 24.6133 | 0.3372 | 7.7621 | 80.279 | 128.6 | 0
| 0.809 | 7.8956 | 31.5908 | 1024.6161 | 24.6123 | 0.3471 | 7.7409 | 80.079 | 129.29 | 0
| 0.802 | 7.9115 | 31.5763 | 1024.6024 | 24.5987 | 0.3463 | 7.7165 | 79.848 | 119.5 | 0
| 0.802 | 7.9304 | 31.5574 | 1024.5849 | 24.5812 | 0.3478 | 7.6873 | 79.57 | 127.24 | 0
| 0.803 | 7.9443 | 31.5381 | 1024.5677 | 24.564 | 0.3448 | 7.6641 | 79.345 | 125.63 | 0
| 0.804 | 7.949 | 31.5326 | 1024.5628 | 24.5591 | 0.3127 | 7.6496 | 79.201 | 122.24 | 0
| 0.804 | 7.9487 | 31.5364 | 1024.5658 | 24.5621 | 0.3104 | 7.6324 | 79.024 | 119.86 | 0
| 0.803 | 7.9487 | 31.5352 | 1024.5649 | 24.5611 | 0.3097 | 7.6142 | 78.835 | 118.89 | 0
| 0.808 | 7.9483 | 31.5174 | 1024.551 | 24.5472 | 0.3112 | 7.5929 | 78.605 | 125.69 | 0
| 0.81 | 7.9451 | 31.5045 | 1024.5413 | 24.5376 | 0.299 | 7.5786 | 78.444 | 115.93 | 0
| 0.812 | 7.9378 | 31.5127 | 1024.5488 | 24.545 | 0.299 | 7.5632 | 78.276 | 123.69 | 0
| 0.812 | 7.9309 | 31.5315 | 1024.5645 | 24.5608 | 0.2982 | 7.5461 | 78.097 | 119.11 | 0
| 0.814 | 7.9277 | 31.5408 | 1024.5723 | 24.5685 | 0.2982 | 7.5275 | 77.903 | 119.92 | 0
| 0.811 | 7.928 | 31.5538 | 1024.5824 | 24.5786 | 0.2746 | 7.5011 | 77.637 | 131.4 | 0
| 0.809 | 7.9306 | 31.5607 | 1024.5875 | 24.5837 | 0.2731 | 7.4793 | 77.419 | 113.33 | 0
| 0.803 | 7.9345 | 31.5644 | 1024.5898 | 24.586 | 0.2746 | 7.4581 | 77.209 | 127.68 | 0
| 0.803 | 7.9388 | 31.5388 | 1024.5691 | 24.5654 | 0.2784 | 7.4348 | 76.962 | 124.7 | 0
| 0.802 | 7.9411 | 31.5156 | 1024.5506 | 24.5468 | 0.2746 | 7.4183 | 76.784 | 124.27 | 0
| 0.811 | 7.9383 | 31.4666 | 1024.5126 | 24.5088 | 0.2738 | 7.3998 | 76.563 | 123.87 | 0
| 0.816 | 7.9292 | 31.428 | 1024.4836 | 24.4798 | 0.2738 | 7.389 | 76.416 | 124.82 | 0
| 0.828 | 7.9129 | 31.4099 | 1024.4718 | 24.4679 | 0.2754 | 7.3751 | 76.235 | 122.98 | 0
| 0.834 | 7.8909 | 31.4153 | 1024.4791 | 24.4752 | 0.312 | 7.3605 | 76.049 | 129.26 | 0
| 0.84 | 7.8689 | 31.4639 | 1024.5204 | 24.5165 | 0.3097 | 7.3432 | 75.857 | 130.16 | 0
| 0.838 | 7.8576 | 31.5318 | 1024.5752 | 24.5714 | 0.3097 | 7.3321 | 75.756 | 126.74 | 0
| 0.831 | 7.8621 | 31.575 | 1024.6084 | 24.6046 | 0.3127 | 7.324 | 75.701 | 140.23 | 0
| 0.82 | 7.8705 | 31.5939 | 1024.622 | 24.6182 | 0.3341 | 7.3163 | 75.645 | 130.07 | 0
| 0.805 | 7.8728 | 31.596 | 1024.6233 | 24.6196 | 0.3356 | 7.3118 | 75.604 | 132.07 | 0
| 0.793 | 7.8733 | 31.5729 | 1024.6051 | 24.6014 | 0.3349 | 7.3061 | 75.534 | 134.54 | 0
| 0.781 | 7.8754 | 31.5382 | 1024.5774 | 24.5738 | 0.3364 | 7.3072 | 75.532 | 125.69 | 0
| 0.776 | 7.8777 | 31.484 | 1024.5346 | 24.531 | 0.3196 | 7.3014 | 75.449 | 123.04 | 0
| 0.772 | 7.875 | 31.4266 | 1024.4899 | 24.4863 | 0.3234 | 7.2858 | 75.256 | 127.95 | 0
| 0.773 | 7.8614 | 31.388 | 1024.4615 | 24.458 | 0.3227 | 7.2807 | 75.16 | 116.55 | 0
| 0.775 | 7.832 | 31.3853 | 1024.4635 | 24.4599 | 0.3249 | 7.2705 | 75.003 | 116.71 | 0
| 0.773 | 7.7995 | 31.4033 | 1024.4822 | 24.4786 | 0.286 | 7.2573 | 74.821 | 114.97 | 0
| 0.769 | 7.7744 | 31.4314 | 1024.5077 | 24.5042 | 0.2868 | 7.2587 | 74.807 | 107.23 | 0
| 0.77 | 7.7586 | 31.4425 | 1024.5187 | 24.5151 | 0.2868 | 7.2609 | 74.807 | 110.89 | 0
| 0.769 | 7.747 | 31.4625 | 1024.536 | 24.5325 | 0.2853 | 7.273 | 74.923 | 100.08 | 0
| 0.771 | 7.7377 | 31.4922 | 1024.5606 | 24.557 | 0.2624 | 7.2994 | 75.193 | 113.33 | 0
| 0.773 | 7.7348 | 31.5095 | 1024.5746 | 24.571 | 0.2631 | 7.3283 | 75.494 | 101.95 | 0
| 0.776 | 7.7381 | 31.5067 | 1024.572 | 24.5684 | 0.2631 | 7.3488 | 75.71 | 105.33 | 0
| 0.776 | 7.7416 | 31.5118 | 1024.5754 | 24.5718 | 0.2624 | 7.37 | 75.936 | 114.17 | 0
| 0.78 | 7.7432 | 31.5425 | 1024.5994 | 24.5958 | 0.2967 | 7.3762 | 76.018 | 107.88 | 0
| 0.776 | 7.7481 | 31.5757 | 1024.6248 | 24.6212 | 0.2998 | 7.3823 | 76.106 | 114.57 | 0
| 0.77 | 7.759 | 31.5863 | 1024.6315 | 24.628 | 0.2982 | 7.3643 | 75.945 | 111.77 | 0
| 0.764 | 7.7694 | 31.5529 | 1024.6038 | 24.6003 | 0.299 | 7.3523 | 75.823 | 120.39 | 0
| 0.766 | 7.7723 | 31.4727 | 1024.5405 | 24.5369 | 0.312 | 7.3398 | 75.659 | 113.33 | 0
| 0.773 | 7.7627 | 31.3908 | 1024.4775 | 24.4739 | 0.3097 | 7.3161 | 75.357 | 114.36 | 0
| 0.785 | 7.7348 | 31.3566 | 1024.4546 | 24.451 | 0.3104 | 7.3043 | 75.172 | 114.78 | 0
| 0.796 | 7.7037 | 31.3605 | 1024.462 | 24.4583 | 0.3104 | 7.2853 | 74.926 | 120.39 | 0
| 0.8 | 7.6807 | 31.3687 | 1024.4716 | 24.4679 | 0.286 | 7.2789 | 74.824 | 108.63 | 0
| 0.805 | 7.6642 | 31.3941 | 1024.4939 | 24.4902 | 0.2876 | 7.2757 | 74.775 | 123.09 | 0
| 0.807 | 7.6529 | 31.4439 | 1024.5346 | 24.5309 | 0.2876 | 7.2906 | 74.933 | 114.36 | 0
| 0.802 | 7.6556 | 31.435 | 1024.5272 | 24.5235 | 0.2868 | 7.3149 | 75.184 | 114.23 | 0
| 0.808 | 7.6626 | 31.3851 | 1024.4871 | 24.4833 | 0.2509 | 7.3614 | 75.648 | 121.12 | 0
| 0.812 | 7.6575 | 31.3892 | 1024.491 | 24.4873 | 0.2517 | 7.4104 | 76.146 | 111.17 | 0
| 0.814 | 7.6481 | 31.3782 | 1024.4837 | 24.48 | 0.2494 | 7.4494 | 76.524 | 111.87 | 0
| 0.815 | 7.6402 | 31.4205 | 1024.5181 | 24.5143 | 0.2517 | 7.4851 | 76.899 | 113.49 | 0
| 0.812 | 7.6369 | 31.4265 | 1024.5232 | 24.5194 | 0.2624 | 7.508 | 77.131 | 116.12 | 0
| 0.813 | 7.6375 | 31.404 | 1024.5055 | 24.5017 | 0.2624 | 7.5205 | 77.249 | 110.63 | 0
| 0.814 | 7.635 | 31.3947 | 1024.4985 | 24.4947 | 0.2639 | 7.5299 | 77.337 | 107.68 | 0
| 0.81 | 7.6289 | 31.3904 | 1024.4959 | 24.4921 | 0.2609 | 7.5131 | 77.151 | 113.54 | 0
| 0.812 | 7.6207 | 31.3804 | 1024.4892 | 24.4854 | 0.2624 | 7.5061 | 77.06 | 107.06 | 0
| 0.818 | 7.6115 | 31.3614 | 1024.4756 | 24.4718 | 0.2631 | 7.5313 | 77.292 | 113.04 | 0
| 0.816 | 7.5999 | 31.4546 | 1024.5503 | 24.5466 | 0.2601 | 7.5338 | 77.345 | 105.6 | 0
| 0.811 | 7.5957 | 31.4418 | 1024.5409 | 24.5371 | 0.2609 | 7.5731 | 77.735 | 113.72 | 0
| 0.805 | 7.5924 | 31.4116 | 1024.5176 | 24.5138 | 0.2609 | 7.5835 | 77.82 | 107.83 | 0
| 0.804 | 7.5879 | 31.3851 | 1024.4974 | 24.4937 | 0.2593 | 7.6113 | 78.084 | 110.63 | 0
| 0.802 | 7.5819 | 31.3627 | 1024.4805 | 24.4768 | 0.2601 | 7.641 | 78.367 | 106.66 | 0
| 0.804 | 7.5739 | 31.333 | 1024.4583 | 24.4546 | 0.2616 | 7.6767 | 78.703 | 108.93 | 0
| 0.809 | 7.565 | 31.3123 | 1024.4433 | 24.4395 | 0.2609 | 7.7028 | 78.943 | 109.01 | 0
| 0.814 | 7.557 | 31.3077 | 1024.4409 | 24.4371 | 0.2494 | 7.7271 | 79.176 | 101.39 | 0
| 0.817 | 7.5506 | 31.3162 | 1024.4484 | 24.4446 | 0.2502 | 7.7623 | 79.529 | 105.92 | 0
| 0.818 | 7.5476 | 31.3293 | 1024.4591 | 24.4553 | 0.2502 | 7.8003 | 79.92 | 113.09 | 0
| 0.818 | 7.5478 | 31.3325 | 1024.4616 | 24.4578 | 0.2509 | 7.856 | 80.492 | 103.88 | 0
| 0.819 | 7.5493 | 31.3328 | 1024.4617 | 24.4578 | 0.2395 | 7.8998 | 80.944 | 109.64 | 0
| 0.818 | 7.5492 | 31.3329 | 1024.4617 | 24.4579 | 0.2395 | 7.9386 | 81.342 | 107.7 | 0
| 0.82 | 7.5465 | 31.328 | 1024.4582 | 24.4544 | 0.2387 | 7.9777 | 81.734 | 113.25 | 0
| 0.823 | 7.5417 | 31.3225 | 1024.4546 | 24.4508 | 0.2342 | 8.0109 | 82.063 | 114.65 | 0
| 0.823 | 7.5362 | 31.3147 | 1024.4492 | 24.4454 | 0.2494 | 8.0231 | 82.173 | 103.88 | 0
| 0.83 | 7.5314 | 31.3107 | 1024.4468 | 24.4429 | 0.2502 | 8.0261 | 82.193 | 114.89 | 0
| 0.831 | 7.5272 | 31.3252 | 1024.4587 | 24.4549 | 0.2479 | 8.0206 | 82.136 | 113.88 | 0
| 0.828 | 7.5245 | 31.3488 | 1024.4776 | 24.4738 | 0.2464 | 7.9984 | 81.916 | 118.89 | 0
| 0.827 | 7.5259 | 31.3243 | 1024.4582 | 24.4544 | 0.2502 | 7.9976 | 81.898 | 112.18 | 0
| 0.834 | 7.5277 | 31.2911 | 1024.4319 | 24.428 | 0.2502 | 8.0004 | 81.913 | 119.56 | 0
| 0.853 | 7.5228 | 31.2481 | 1024.3989 | 24.3949 | 0.2517 | 8.0105 | 81.984 | 109.94 | 0
| 0.878 | 7.5137 | 31.2368 | 1024.3914 | 24.3873 | 0.2479 | 8.0188 | 82.045 | 111.77 | 0
| 0.901 | 7.5066 | 31.2512 | 1024.4038 | 24.3996 | 0.2883 | 8.0425 | 82.282 | 121.42 | 0
| 0.912 | 7.5066 | 31.3394 | 1024.4731 | 24.4688 | 0.286 | 8.065 | 82.56 | 120.25 | 0
| 0.908 | 7.5176 | 31.4324 | 1024.5446 | 24.5404 | 0.283 | 8.0995 | 82.985 | 120.14 | 0
| 0.886 | 7.5218 | 31.4849 | 1024.5852 | 24.5811 | 0.2853 | 8.136 | 83.395 | 124.27 | 0
| 0.869 | 7.5434 | 31.4402 | 1024.547 | 24.543 | 0.3234 | 8.1689 | 83.749 | 130.19 | 0
| 0.861 | 7.5662 | 31.4238 | 1024.531 | 24.527 | 0.3219 | 8.186 | 83.96 | 127.06 | 0
| 0.848 | 7.5789 | 31.3865 | 1024.4999 | 24.496 | 0.3227 | 8.1952 | 84.057 | 120.84 | 0
| 0.84 | 7.5869 | 31.3403 | 1024.4625 | 24.4586 | 0.3227 | 8.1839 | 83.931 | 123.52 | 0
| 0.842 | 7.589 | 31.3034 | 1024.4332 | 24.4293 | 0.299 | 8.1522 | 83.59 | 122.19 | 0
| 0.847 | 7.5878 | 31.2706 | 1024.4076 | 24.4037 | 0.299 | 8.0999 | 83.034 | 118.07 | 0
| 0.851 | 7.5781 | 31.267 | 1024.4062 | 24.4022 | 0.299 | 8.0485 | 82.487 | 110.97 | 0
| 0.859 | 7.566 | 31.2763 | 1024.4152 | 24.4112 | 0.2982 | 8.002 | 81.992 | 107.95 | 0
| 0.862 | 7.556 | 31.2955 | 1024.4316 | 24.4276 | 0.2998 | 7.9643 | 81.598 | 112.31 | 0
| 0.863 | 7.5498 | 31.3391 | 1024.4667 | 24.4627 | 0.3005 | 7.9611 | 81.577 | 104.7 | 0
| 0.862 | 7.5507 | 31.3878 | 1024.5049 | 24.5009 | 0.2982 | 7.9702 | 81.698 | 105.53 | 0
| 0.856 | 7.559 | 31.4116 | 1024.5224 | 24.5184 | 0.2998 | 7.9959 | 81.989 | 105.29 | 0
| 0.851 | 7.5641 | 31.4176 | 1024.5264 | 24.5225 | 0.3127 | 8.014 | 82.188 | 104.22 | 0
| 0.848 | 7.5643 | 31.4155 | 1024.5246 | 24.5207 | 0.3112 | 8.0258 | 82.308 | 108.08 | 0
| 0.847 | 7.5638 | 31.4081 | 1024.5189 | 24.515 | 0.3097 | 8.0279 | 82.325 | 103.76 | 0
| 0.85 | 7.5647 | 31.3972 | 1024.5103 | 24.5063 | 0.3097 | 8.0166 | 82.205 | 109.77 | 0
| 0.853 | 7.5657 | 31.3831 | 1024.499 | 24.4951 | 0.3158 | 7.9896 | 81.922 | 105.97 | 0
| 0.857 | 7.5664 | 31.3652 | 1024.4849 | 24.4809 | 0.312 | 7.9457 | 81.464 | 109.79 | 0
| 0.859 | 7.5655 | 31.3556 | 1024.4776 | 24.4736 | 0.3127 | 7.9053 | 81.042 | 110.71 | 0
| 0.862 | 7.5627 | 31.3574 | 1024.4794 | 24.4754 | 0.3104 | 7.8698 | 80.674 | 110.07 | 0
| 0.859 | 7.5591 | 31.3701 | 1024.4898 | 24.4858 | 0.2975 | 7.8363 | 80.331 | 114.01 | 0
| 0.854 | 7.5565 | 31.3749 | 1024.4939 | 24.4899 | 0.2982 | 7.8115 | 80.075 | 112.03 | 0
| 0.853 | 7.5551 | 31.3667 | 1024.4876 | 24.4836 | 0.2982 | 7.7821 | 79.766 | 115.98 | 0
| 0.85 | 7.5533 | 31.3505 | 1024.4751 | 24.4712 | 0.296 | 7.7602 | 79.53 | 114.41 | 0
| 0.852 | 7.5483 | 31.3292 | 1024.4591 | 24.4551 | 0.2364 | 7.7351 | 79.253 | 101.48 | 0
| 0.855 | 7.54 | 31.3062 | 1024.4422 | 24.4382 | 0.2395 | 7.7222 | 79.093 | 109.46 | 0
| 0.859 | 7.5302 | 31.292 | 1024.4324 | 24.4284 | 0.2372 | 7.706 | 78.903 | 115.61 | 0
| 0.859 | 7.5212 | 31.2949 | 1024.4359 | 24.4319 | 0.2387 | 7.6869 | 78.693 | 100.54 | 0
| 0.856 | 7.5153 | 31.3029 | 1024.443 | 24.439 | 0.2616 | 7.6806 | 78.622 | 107.48 | 0
| 0.852 | 7.5129 | 31.3058 | 1024.4455 | 24.4416 | 0.2609 | 7.6794 | 78.607 | 110.71 | 0
| 0.852 | 7.5125 | 31.3058 | 1024.4456 | 24.4416 | 0.2616 | 7.6895 | 78.71 | 98.677 | 0
| 0.848 | 7.5116 | 31.3042 | 1024.4445 | 24.4405 | 0.2624 | 7.7144 | 78.961 | 102.76 | 0
| 0.848 | 7.5096 | 31.2993 | 1024.4409 | 24.437 | 0.2868 | 7.7335 | 79.151 | 99.112 | 0
| 0.85 | 7.5068 | 31.2995 | 1024.4414 | 24.4375 | 0.286 | 7.7527 | 79.342 | 97.428 | 0
| 0.848 | 7.5044 | 31.2976 | 1024.4403 | 24.4363 | 0.2883 | 7.7734 | 79.549 | 94.496 | 0
| 0.851 | 7.5031 | 31.3018 | 1024.4438 | 24.4398 | 0.2845 | 7.7907 | 79.726 | 94.781 | 0
| 0.852 | 7.5025 | 31.3114 | 1024.4513 | 24.4474 | 0.3013 | 7.8008 | 79.833 | 96.508 | 0
| 0.849 | 7.5033 | 31.3176 | 1024.4561 | 24.4522 | 0.2975 | 7.8013 | 79.843 | 96.799 | 0
| 0.854 | 7.5052 | 31.3046 | 1024.4457 | 24.4417 | 0.2975 | 7.8005 | 79.832 | 99.112 | 0
| 0.858 | 7.5064 | 31.3002 | 1024.442 | 24.438 | 0.2975 | 7.794 | 79.764 | 100.92 | 0
| 0.868 | 7.506 | 31.2891 | 1024.4334 | 24.4294 | 0.3127 | 7.7961 | 79.779 | 109.61 | 0
| 0.878 | 7.5044 | 31.2871 | 1024.4321 | 24.4281 | 0.3074 | 7.7911 | 79.725 | 102.97 | 0
| 0.895 | 7.5025 | 31.2673 | 1024.4169 | 24.4127 | 0.3089 | 7.7838 | 79.636 | 106.78 | 0
| 0.924 | 7.4995 | 31.1097 | 1024.2936 | 24.2893 | 0.3082 | 7.7823 | 79.534 | 109.51 | 0
| 0.942 | 7.4918 | 31.0702 | 1024.2637 | 24.2594 | 0.3104 | 7.721 | 78.873 | 114.97 | 0
| 0.939 | 7.4837 | 31.0784 | 1024.2713 | 24.2669 | 0.3104 | 7.6158 | 77.788 | 109.31 | 0
| 0.93 | 7.4767 | 31.0887 | 1024.2803 | 24.276 | 0.3112 | 7.5597 | 77.207 | 113.51 | 0
| 0.915 | 7.4735 | 31.092 | 1024.2833 | 24.279 | 0.3104 | 7.63 | 77.921 | 118.15 | 0
| 0.886 | 7.4718 | 31.0935 | 1024.2845 | 24.2804 | 0.2975 | 7.8596 | 80.264 | 114.2 | 0
| 0.864 | 7.4708 | 31.0938 | 1024.2848 | 24.2807 | 0.2975 | 8.241 | 84.158 | 112.62 | 0
| 0.862 | 7.47 | 31.0924 | 1024.2838 | 24.2798 | 0.299 | 8.7327 | 89.176 | 115.31 | 0
| 0.872 | 7.4678 | 31.09 | 1024.2822 | 24.2781 | 0.2982 | 9.2885 | 94.845 | 112 | 0
| 0.884 | 7.4639 | 31.0915 | 1024.284 | 24.2799 | 0.296 | 9.855 | 100.621 | 112.05 | 0
| 0.89 | 7.4595 | 31.0948 | 1024.2872 | 24.2831 | 0.2731 | 10.3516 | 105.683 | 108.1 | 0
| 0.891 | 7.4566 | 31.0983 | 1024.2904 | 24.2862 | 0.2761 | 10.7002 | 109.238 | 114.86 | 0
| 0.882 | 7.4557 | 31.0998 | 1024.2916 | 24.2875 | 0.2769 | 10.8996 | 111.273 | 105.7 | 0
| 0.867 | 7.4559 | 31.1017 | 1024.293 | 24.289 | 0.2708 | 10.9779 | 112.074 | 110.22 | 0
| 0.853 | 7.4563 | 31.1033 | 1024.2941 | 24.2902 | 0.2364 | 10.9645 | 111.94 | 106.09 | 0
| 0.849 | 7.4579 | 31.102 | 1024.2928 | 24.2889 | 0.238 | 10.9146 | 111.433 | 109.99 | 0
| 0.851 | 7.4598 | 31.0962 | 1024.2881 | 24.2841 | 0.2403 | 10.845 | 110.723 | 106.44 | 0
| 0.858 | 7.459 | 31.0949 | 1024.2872 | 24.2832 | 0.2364 | 10.7616 | 109.868 | 102.05 | 0
| 0.864 | 7.4564 | 31.0969 | 1024.2892 | 24.2852 | 0.2486 | 10.6922 | 109.155 | 102.35 | 0
| 0.867 | 7.453 | 31.0987 | 1024.2911 | 24.287 | 0.2517 | 10.6108 | 108.316 | 106.22 | 0
| 0.867 | 7.4487 | 31.1025 | 1024.2946 | 24.2906 | 0.2494 | 10.5443 | 107.63 | 103.07 | 0
| 0.864 | 7.4453 | 31.1055 | 1024.2974 | 24.2934 | 0.2517 | 10.4846 | 107.015 | 106.02 | 0
| 0.863 | 7.4444 | 31.108 | 1024.2995 | 24.2955 | 0.2998 | 10.4263 | 106.419 | 102.21 | 0
| 0.86 | 7.4452 | 31.1066 | 1024.2983 | 24.2943 | 0.3005 | 10.3724 | 105.87 | 109.97 | 0
| 0.862 | 7.4462 | 31.1067 | 1024.2982 | 24.2942 | 0.2975 | 10.3283 | 105.422 | 105.48 | 0
| 0.861 | 7.4471 | 31.1066 | 1024.298 | 24.294 | 0.299 | 10.2898 | 105.032 | 103.31 | 0
| 0.862 | 7.4487 | 31.1035 | 1024.2954 | 24.2914 | 0.2738 | 10.2644 | 104.774 | 106.98 | 0
| 0.864 | 7.4517 | 31.1018 | 1024.2936 | 24.2896 | 0.2761 | 10.2464 | 104.596 | 114.46 | 0
| 0.867 | 7.466 | 31.0907 | 1024.283 | 24.2789 | 0.2754 | 10.2274 | 104.429 | 109.36 | 0
| 0.87 | 7.4879 | 31.0697 | 1024.2636 | 24.2595 | 0.2731 | 10.218 | 104.371 | 111.82 | 0
| 0.871 | 7.5138 | 31.048 | 1024.243 | 24.2389 | 0.286 | 10.2113 | 104.349 | 115.26 | 0
| 0.872 | 7.53 | 31.0344 | 1024.2301 | 24.226 | 0.2853 | 10.2166 | 104.432 | 110.66 | 0
| 0.865 | 7.5283 | 31.0377 | 1024.2329 | 24.2289 | 0.2845 | 10.2115 | 104.379 | 113.09 | 0
| 0.861 | 7.5164 | 31.0482 | 1024.2427 | 24.2387 | 0.2891 | 10.2208 | 104.453 | 115.39 | 0
| 0.858 | 7.5037 | 31.0612 | 1024.2547 | 24.2507 | 0.2761 | 10.2215 | 104.439 | 115.02 | 0
| 0.861 | 7.4965 | 31.067 | 1024.2602 | 24.2562 | 0.2731 | 10.2302 | 104.513 | 112.39 | 0
| 0.863 | 7.4935 | 31.0673 | 1024.2609 | 24.2569 | 0.2754 | 10.2312 | 104.518 | 114.6 | 0
| 0.871 | 7.4881 | 31.0717 | 1024.2651 | 24.261 | 0.2731 | 10.2338 | 104.534 | 112.36 | 0
| 0.873 | 7.482 | 31.078 | 1024.2709 | 24.2668 | 0.2479 | 10.2291 | 104.476 | 112.49 | 0
| 0.878 | 7.4805 | 31.0793 | 1024.2721 | 24.2681 | 0.2486 | 10.223 | 104.411 | 109.84 | 0
| 0.879 | 7.4894 | 31.0699 | 1024.2635 | 24.2594 | 0.2486 | 10.2199 | 104.393 | 111.3 | 0
| 0.882 | 7.502 | 31.058 | 1024.2525 | 24.2484 | 0.2502 | 10.2082 | 104.296 | 106.76 | 0
| 0.909 | 7.5019 | 31.0581 | 1024.2528 | 24.2485 | 0.2387 | 10.2078 | 104.292 | 103.35 | 0
| 0.981 | 7.507 | 31.0522 | 1024.2477 | 24.2431 | 0.2387 | 10.1958 | 104.177 | 99.112 | 0
| 1.078 | 7.5368 | 31.0231 | 1024.2213 | 24.2163 | 0.2418 | 10.1997 | 104.269 | 93.668 | 0
| 1.167 | 7.5486 | 31.0114 | 1024.2109 | 24.2055 | 0.2387 | 10.2101 | 104.395 | 99.733 | 0
| 1.232 | 7.5236 | 31.0333 | 1024.2318 | 24.2261 | 0.2479 | 10.2258 | 104.511 | 96.129 | 0
| 1.321 | 7.5024 | 31.0518 | 1024.2497 | 24.2435 | 0.2509 | 10.2221 | 104.435 | 90.702 | 0
| 1.466 | 7.4835 | 31.0667 | 1024.2646 | 24.2577 | 0.2486 | 10.2113 | 104.29 | 86.718 | 0
| 1.679 | 7.4667 | 31.0813 | 1024.2793 | 24.2715 | 0.2509 | 10.2284 | 104.435 | 81.388 | 0
| 1.948 | 7.4525 | 31.0939 | 1024.2923 | 24.2833 | 0.2776 | 10.2453 | 104.581 | 74.001 | 0
| 2.265 | 7.4442 | 31.1019 | 1024.3012 | 24.2907 | 0.2754 | 10.2456 | 104.57 | 69.742 | 0
| 2.608 | 7.4436 | 31.1016 | 1024.3026 | 24.2905 | 0.2784 | 10.2494 | 104.608 | 65.698 | 0
| 2.97 | 7.4415 | 31.1033 | 1024.306 | 24.2922 | 0.2761 | 10.2563 | 104.674 | 62.9 | 0
| 3.343 | 7.438 | 31.107 | 1024.3111 | 24.2956 | 0.3227 | 10.2607 | 104.713 | 61.518 | 0
| 3.705 | 7.4397 | 31.1039 | 1024.3101 | 24.2929 | 0.3249 | 10.2634 | 104.742 | 59.308 | 0
| 4.063 | 7.4336 | 31.1097 | 1024.3171 | 24.2982 | 0.3219 | 10.254 | 104.635 | 56.638 | 0
| 4.427 | 7.4292 | 31.113 | 1024.322 | 24.3014 | 0.3204 | 10.2346 | 104.429 | 53.75 | 0
| 4.816 | 7.4267 | 31.1152 | 1024.3259 | 24.3035 | 0.4196 | 10.2338 | 104.417 | 50.892 | 0
| 5.202 | 7.4235 | 31.1178 | 1024.3301 | 24.306 | 0.4211 | 10.2315 | 104.387 | 48.053 | 0
| 5.589 | 7.4205 | 31.1206 | 1024.3346 | 24.3086 | 0.4203 | 10.2286 | 104.353 | 45.34 | 0
| 5.973 | 7.4186 | 31.121 | 1024.3369 | 24.3091 | 0.4211 | 10.2272 | 104.334 | 42.701 | 0
| 6.349 | 7.4158 | 31.1222 | 1024.34 | 24.3105 | 0.4951 | 10.2305 | 104.362 | 40.225 | 0
| 6.71 | 7.4121 | 31.1258 | 1024.345 | 24.3138 | 0.4913 | 10.2333 | 104.384 | 37.761 | 0
| 7.085 | 7.4103 | 31.1285 | 1024.3491 | 24.3161 | 0.4974 | 10.2344 | 104.392 | 35.358 | 0
| 7.454 | 7.4121 | 31.127 | 1024.3494 | 24.3147 | 0.4913 | 10.2326 | 104.378 | 32.993 | 0
| 7.831 | 7.4153 | 31.1237 | 1024.3481 | 24.3117 | 0.5073 | 10.2365 | 104.423 | 30.737 | 0
| 8.225 | 7.4172 | 31.1224 | 1024.3487 | 24.3104 | 0.5042 | 10.2422 | 104.485 | 28.621 | 0
| 8.627 | 7.4195 | 31.1208 | 1024.349 | 24.3089 | 0.5058 | 10.2534 | 104.603 | 26.664 | 0
| 9.017 | 7.4208 | 31.117 | 1024.3477 | 24.3057 | 0.5058 | 10.2617 | 104.689 | 24.921 | 0
| 9.387 | 7.4185 | 31.116 | 1024.3489 | 24.3053 | 0.4951 | 10.2629 | 104.694 | 23.265 | 0
| 9.748 | 7.413 | 31.1204 | 1024.3548 | 24.3095 | 0.4958 | 10.2692 | 104.749 | 21.769 | 0
| 10.108 | 7.4078 | 31.125 | 1024.3607 | 24.3138 | 0.4913 | 10.2746 | 104.794 | 20.318 | 0
| 10.487 | 7.4052 | 31.1302 | 1024.367 | 24.3182 | 0.4943 | 10.2679 | 104.723 | 18.915 | 0
| 10.875 | 7.4068 | 31.1284 | 1024.3671 | 24.3165 | 0.4813 | 10.2727 | 104.775 | 17.626 | 0
| 11.243 | 7.4097 | 31.1254 | 1024.3661 | 24.3138 | 0.4775 | 10.2704 | 104.756 | 16.477 | 0
| 11.61 | 7.4114 | 31.122 | 1024.3649 | 24.3109 | 0.4798 | 10.2687 | 104.74 | 15.34 | 0
| 11.999 | 7.4095 | 31.1216 | 1024.3666 | 24.3109 | 0.4806 | 10.2724 | 104.774 | 14.258 | 0
| 12.387 | 7.4031 | 31.1276 | 1024.374 | 24.3164 | 0.4661 | 10.2755 | 104.793 | 13.246 | 0
| 12.767 | 7.3977 | 31.131 | 1024.3792 | 24.3198 | 0.4684 | 10.2718 | 104.746 | 12.34 | 0
| 13.14 | 7.3938 | 31.1359 | 1024.3853 | 24.3242 | 0.4699 | 10.2751 | 104.774 | 11.506 | 0
| 13.511 | 7.3924 | 31.1366 | 1024.3878 | 24.325 | 0.4676 | 10.279 | 104.81 | 10.844 | 0
| 13.659 | 7.3914 | 31.1375 | 1024.3893 | 24.3258 | 0.4653 | 10.2743 | 104.76 | 10.839 | 0
| 13.688 | 7.3882 | 31.1407 | 1024.3924 | 24.3288 | 0.4585 | 10.276 | 104.773 | 10.842 | 0
| 13.66 | 7.3863 | 31.1432 | 1024.3945 | 24.331 | 0.4585 | 10.2758 | 104.767 | 11.014 | 0
| 13.576 | 7.3868 | 31.1443 | 1024.3949 | 24.3317 | 0.4592 | 10.2736 | 104.747 | 11.282 | 0
| 13.399 | 7.3887 | 31.1423 | 1024.3922 | 24.3299 | 0.4562 | 10.2702 | 104.715 | 11.869 | 0
| 13.175 | 7.3908 | 31.1417 | 1024.3904 | 24.3292 | 0.5393 | 10.2758 | 104.777 | 12.394 | 0
| 12.947 | 7.393 | 31.14 | 1024.3878 | 24.3276 | 0.5424 | 10.2662 | 104.683 | 12.945 | 0
| 12.709 | 7.3949 | 31.1378 | 1024.3846 | 24.3255 | 0.5431 | 10.2646 | 104.67 | 13.553 | 0
| 12.48 | 7.3962 | 31.1372 | 1024.3829 | 24.3249 | 0.5401 | 10.2623 | 104.649 | 14.093 | 0
| 12.27 | 7.3971 | 31.1363 | 1024.3811 | 24.3241 | 0.4943 | 10.2645 | 104.673 | 14.625 | 0
| 12.085 | 7.398 | 31.1275 | 1024.3733 | 24.3171 | 0.4951 | 10.2687 | 104.712 | 15.118 | 0
| 11.933 | 7.3985 | 31.1352 | 1024.3785 | 24.323 | 0.4943 | 10.272 | 104.753 | 15.386 | 0
| 11.834 | 7.3992 | 31.1336 | 1024.3767 | 24.3217 | 0.4913 | 10.2726 | 104.76 | 15.601 | 0
| 11.75 | 7.399 | 31.1334 | 1024.3762 | 24.3216 | 0.4936 | 10.2715 | 104.747 | 15.834 | 0
| 11.668 | 7.399 | 31.1328 | 1024.3754 | 24.3211 | 0.4943 | 10.2779 | 104.812 | 16.111 | 0
| 11.587 | 7.3988 | 31.1327 | 1024.3749 | 24.321 | 0.4966 | 10.2778 | 104.811 | 16.341 | 0
| 11.502 | 7.3993 | 31.1323 | 1024.3741 | 24.3206 | 0.4951 | 10.2768 | 104.801 | 16.6 | 0
| 11.424 | 7.3994 | 31.1323 | 1024.3737 | 24.3206 | 0.4913 | 10.2807 | 104.841 | 16.84 | 0
| 11.348 | 7.3996 | 31.1324 | 1024.3735 | 24.3207 | 0.4951 | 10.2853 | 104.889 | 17.048 | 0
| 11.293 | 7.3997 | 31.1327 | 1024.3734 | 24.3209 | 0.4958 | 10.2976 | 105.014 | 17.079 | 0
| 11.275 | 7.3999 | 31.1326 | 1024.3732 | 24.3208 | 0.4905 | 10.3034 | 105.074 | 17.04 | 0
| 11.287 | 7.4 | 31.132 | 1024.3728 | 24.3203 | 0.5042 | 10.3121 | 105.163 | 16.977 | 0
| 11.299 | 7.3995 | 31.1322 | 1024.3731 | 24.3206 | 0.5065 | 10.3074 | 105.114 | 16.942 | 0
| 11.31 | 7.3985 | 31.1331 | 1024.374 | 24.3214 | 0.5042 | 10.3104 | 105.142 | 16.926 | 0
| 11.317 | 7.3979 | 31.1337 | 1024.3746 | 24.3219 | 0.5065 | 10.3108 | 105.145 | 16.934 | 0
| 11.314 | 7.3975 | 31.1347 | 1024.3754 | 24.3228 | 0.5531 | 10.3073 | 105.11 | 16.957 | 0
| 11.303 | 7.3976 | 31.1355 | 1024.3759 | 24.3234 | 0.5531 | 10.3004 | 105.04 | 17.02 | 0
| 11.292 | 7.3981 | 31.1355 | 1024.3758 | 24.3233 | 0.5531 | 10.2997 | 105.034 | 17.052 | 0
| 11.278 | 7.3994 | 31.1344 | 1024.3747 | 24.3223 | 0.5538 | 10.3007 | 105.046 | 17.068 | 0
| 11.271 | 7.4005 | 31.1339 | 1024.3741 | 24.3217 | 0.5042 | 10.306 | 105.103 | 17.087 | 0
| 11.274 | 7.401 | 31.133 | 1024.3734 | 24.3209 | 0.5081 | 10.3141 | 105.186 | 17.032 | 0
| 11.287 | 7.4011 | 31.1318 | 1024.3725 | 24.32 | 0.5058 | 10.3212 | 105.258 | 16.977 | 0
| 11.304 | 7.4005 | 31.1317 | 1024.3726 | 24.32 | 0.5065 | 10.3216 | 105.26 | 16.942 | 0
| 11.318 | 7.3996 | 31.1318 | 1024.3729 | 24.3202 | 0.4699 | 10.3283 | 105.327 | 16.918 | 0
| 11.322 | 7.3985 | 31.1328 | 1024.3738 | 24.3212 | 0.4691 | 10.3343 | 105.386 | 16.942 | 0
| 11.316 | 7.3975 | 31.134 | 1024.3748 | 24.3222 | 0.4707 | 10.336 | 105.402 | 17.004 | 0
| 11.299 | 7.3973 | 31.1348 | 1024.3754 | 24.3229 | 0.4676 | 10.3302 | 105.343 | 17.083 | 0
| 11.276 | 7.3978 | 31.1341 | 1024.3747 | 24.3223 | 0.4936 | 10.3296 | 105.338 | 17.131 | 0
| 11.264 | 7.3982 | 31.1345 | 1024.3749 | 24.3225 | 0.4958 | 10.3229 | 105.27 | 17.147 | 0
| 11.262 | 7.3985 | 31.1343 | 1024.3747 | 24.3224 | 0.4913 | 10.3264 | 105.307 | 17.143 | 0
| 11.257 | 7.3991 | 31.1347 | 1024.3749 | 24.3225 | 0.4943 | 10.3239 | 105.283 | 17.147 | 0
| 11.259 | 7.3994 | 31.1343 | 1024.3746 | 24.3222 | 0.4928 | 10.324 | 105.284 | 17.163 | 0
| 11.258 | 7.3999 | 31.1331 | 1024.3735 | 24.3212 | 0.4913 | 10.325 | 105.295 | 17.131 | 0
| 11.265 | 7.3997 | 31.1321 | 1024.3728 | 24.3204 | 0.4936 | 10.3264 | 105.307 | 17.103 | 0
| 11.274 | 7.399 | 31.132 | 1024.3729 | 24.3204 | 0.4928 | 10.3333 | 105.377 | 17.048 | 0
| 11.288 | 7.3979 | 31.1324 | 1024.3734 | 24.3209 | 0.5157 | 10.3327 | 105.368 | 17.012 | 0
| 11.301 | 7.3969 | 31.1326 | 1024.3737 | 24.3212 | 0.5187 | 10.3342 | 105.381 | 16.989 | 0
| 11.306 | 7.3954 | 31.134 | 1024.3751 | 24.3225 | 0.5172 | 10.3398 | 105.435 | 16.985 | 0
| 11.305 | 7.3945 | 31.1354 | 1024.3763 | 24.3237 | 0.518 | 10.3366 | 105.402 | 17.02 | 0
| 11.295 | 7.3944 | 31.1355 | 1024.3763 | 24.3238 | 0.5058 | 10.3389 | 105.425 | 17.056 | 0
| 11.285 | 7.3945 | 31.1354 | 1024.3762 | 24.3238 | 0.5065 | 10.3351 | 105.386 | 17.064 | 0
| 11.277 | 7.3947 | 31.1362 | 1024.3768 | 24.3243 | 0.5058 | 10.3331 | 105.367 | 17.083 | 0
| 11.276 | 7.3954 | 31.136 | 1024.3765 | 24.3241 | 0.5073 | 10.3318 | 105.355 | 17.071 | 0
| 11.281 | 7.3958 | 31.1352 | 1024.3759 | 24.3234 | 0.4691 | 10.3263 | 105.3 | 17.016 | 0
| 11.286 | 7.3961 | 31.1333 | 1024.3744 | 24.3219 | 0.4676 | 10.3306 | 105.343 | 16.938 | 0
| 11.3 | 7.3954 | 31.1337 | 1024.3748 | 24.3222 | 0.4684 | 10.3309 | 105.344 | 16.859 | 0
| 11.31 | 7.3947 | 31.1353 | 1024.3762 | 24.3236 | 0.4676 | 10.3267 | 105.301 | 16.828 | 0
| 11.311 | 7.3946 | 31.135 | 1024.376 | 24.3234 | 0.4913 | 10.3306 | 105.341 | 16.813 | 0
| 11.304 | 7.3944 | 31.1355 | 1024.3764 | 24.3238 | 0.4936 | 10.3303 | 105.337 | 16.824 | 0
| 11.291 | 7.3945 | 31.1364 | 1024.377 | 24.3245 | 0.4928 | 10.3348 | 105.384 | 16.778 | 0
| 11.284 | 7.3949 | 31.1361 | 1024.3767 | 24.3242 | 0.4943 | 10.3344 | 105.38 | 16.7 | 0
| 11.276 | 7.3954 | 31.137 | 1024.3773 | 24.3249 | 0.4798 | 10.3328 | 105.366 | 16.615 | 0
| 11.275 | 7.3961 | 31.135 | 1024.3756 | 24.3232 | 0.4806 | 10.3323 | 105.361 | 16.447 | 0
| 11.285 | 7.3963 | 31.1351 | 1024.3757 | 24.3232 | 0.4798 | 10.3356 | 105.396 | 16.224 | 0
| 11.298 | 7.3962 | 31.1339 | 1024.3748 | 24.3223 | 0.4806 | 10.3392 | 105.431 | 16.123 | 0
| 11.325 | 7.3958 | 31.1336 | 1024.3748 | 24.3221 | 0.5401 | 10.3392 | 105.43 | 16.104 | 0
| 11.377 | 7.3948 | 31.1351 | 1024.3764 | 24.3235 | 0.5447 | 10.3389 | 105.426 | 16.048 | 0
| 11.44 | 7.3946 | 31.1352 | 1024.3768 | 24.3236 | 0.5401 | 10.3356 | 105.391 | 15.915 | 0
| 11.497 | 7.3949 | 31.1344 | 1024.3763 | 24.3229 | 0.5431 | 10.3541 | 105.58 | 15.867 | 0
| 11.535 | 7.3947 | 31.1341 | 1024.3763 | 24.3227 | 0.4562 | 10.3596 | 105.636 | 15.812 | 0
| 11.551 | 7.3946 | 31.1342 | 1024.3765 | 24.3228 | 0.4585 | 10.3591 | 105.631 | 15.783 | 0
| 11.538 | 7.3944 | 31.135 | 1024.3771 | 24.3234 | 0.4585 | 10.3561 | 105.6 | 15.754 | 0
| 11.519 | 7.3949 | 31.1357 | 1024.3774 | 24.3239 | 0.4539 | 10.3562 | 105.603 | 15.721 | 0
| 11.5 | 7.3955 | 31.1364 | 1024.3778 | 24.3243 | 0.4546 | 10.3508 | 105.549 | 15.703 | 0
| 11.49 | 7.3961 | 31.1365 | 1024.3778 | 24.3244 | 0.4722 | 10.3495 | 105.538 | 15.706 | 0
| 11.504 | 7.3974 | 31.1354 | 1024.3768 | 24.3233 | 0.4661 | 10.3412 | 105.455 | 15.735 | 0
| 11.533 | 7.3979 | 31.1348 | 1024.3764 | 24.3228 | 0.4684 | 10.3348 | 105.391 | 15.717 | 0
| 11.568 | 7.3983 | 31.1335 | 1024.3755 | 24.3218 | 0.4691 | 10.3327 | 105.37 | 15.652 | 0
| 11.608 | 7.3979 | 31.1326 | 1024.3751 | 24.3211 | 0.4806 | 10.3355 | 105.397 | 15.601 | 0
| 11.646 | 7.3969 | 31.1328 | 1024.3755 | 24.3214 | 0.4798 | 10.3323 | 105.362 | 15.54 | 0
| 11.704 | 7.3957 | 31.1339 | 1024.3768 | 24.3224 | 0.4806 | 10.33 | 105.336 | 15.329 | 0
| 11.78 | 7.3949 | 31.1345 | 1024.3778 | 24.323 | 0.4791 | 10.3361 | 105.397 | 15.241 | 0
| 11.817 | 7.3943 | 31.1354 | 1024.3787 | 24.3237 | 0.4684 | 10.334 | 105.374 | 15.262 | 0
| 11.811 | 7.3943 | 31.1354 | 1024.3786 | 24.3237 | 0.4707 | 10.3462 | 105.499 | 15.276 | 0
| 11.808 | 7.3945 | 31.1359 | 1024.379 | 24.3241 | 0.4699 | 10.3534 | 105.573 | 15.237 | 0
| 11.818 | 7.395 | 31.1367 | 1024.3796 | 24.3247 | 0.4707 | 10.3591 | 105.633 | 15.241 | 0
| 11.831 | 7.3957 | 31.136 | 1024.3791 | 24.3241 | 0.4882 | 10.3631 | 105.675 | 15.241 | 0
| 11.844 | 7.3963 | 31.1352 | 1024.3784 | 24.3233 | 0.4806 | 10.3652 | 105.697 | 15.202 | 0
| 11.857 | 7.3966 | 31.1356 | 1024.3787 | 24.3236 | 0.4813 | 10.365 | 105.696 | 15.209 | 0
| 11.87 | 7.3967 | 31.1351 | 1024.3784 | 24.3232 | 0.4798 | 10.3681 | 105.728 | 15.149 | 0
| 11.88 | 7.3968 | 31.1348 | 1024.3782 | 24.3229 | 0.4821 | 10.3696 | 105.743 | 15.107 | 0
| 11.886 | 7.3966 | 31.1346 | 1024.3781 | 24.3228 | 0.4813 | 10.3628 | 105.673 | 15.079 | 0
| 11.89 | 7.3964 | 31.1354 | 1024.3787 | 24.3234 | 0.4844 | 10.3649 | 105.695 | 15.128 | 0
| 11.885 | 7.3968 | 31.1351 | 1024.3784 | 24.3232 | 0.4806 | 10.3631 | 105.677 | 15.198 | 0
| 11.846 | 7.3973 | 31.1358 | 1024.3788 | 24.3237 | 0.4798 | 10.3618 | 105.666 | 15.465 | 0
| 11.758 | 7.3986 | 31.1371 | 1024.3792 | 24.3245 | 0.4806 | 10.355 | 105.601 | 15.801 | 0
| 11.653 | 7.4005 | 31.1385 | 1024.3795 | 24.3254 | 0.4821 | 10.3529 | 105.584 | 16.089 | 0
| 11.559 | 7.4033 | 31.1365 | 1024.3772 | 24.3234 | 0.4806 | 10.3495 | 105.555 | 16.39 | 0
| 11.464 | 7.4053 | 31.1337 | 1024.3742 | 24.3209 | 0.4463 | 10.3515 | 105.579 | 16.662 | 0
| 11.371 | 7.4057 | 31.1329 | 1024.3731 | 24.3203 | 0.447 | 10.3577 | 105.642 | 16.942 | 0
| 11.285 | 7.4057 | 31.1334 | 1024.3731 | 24.3206 | 0.4424 | 10.3611 | 105.677 | 17.202 | 0
| 11.2 | 7.4056 | 31.1331 | 1024.3725 | 24.3204 | 0.4447 | 10.369 | 105.757 | 17.483 | 0
| 11.11 | 7.4056 | 31.1335 | 1024.3724 | 24.3207 | 0.4913 | 10.3723 | 105.791 | 17.806 | 0
| 11.014 | 7.4055 | 31.1317 | 1024.3705 | 24.3193 | 0.4905 | 10.3758 | 105.825 | 18.156 | 0
| 10.919 | 7.4048 | 31.1311 | 1024.3697 | 24.319 | 0.4913 | 10.3777 | 105.842 | 18.478 | 0
| 10.819 | 7.4035 | 31.1329 | 1024.3708 | 24.3206 | 0.4951 | 10.3729 | 105.792 | 18.837 | 0
| 10.72 | 7.4029 | 31.1348 | 1024.3719 | 24.3221 | 0.505 | 10.373 | 105.793 | 19.175 | 0
| 10.621 | 7.4033 | 31.1325 | 1024.3697 | 24.3203 | 0.5065 | 10.3663 | 105.724 | 19.471 | 0
| 10.553 | 7.4031 | 31.1331 | 1024.3698 | 24.3207 | 0.5081 | 10.3591 | 105.65 | 19.561 | 0
| 10.51 | 7.4029 | 31.1319 | 1024.3687 | 24.3198 | 0.5042 | 10.3501 | 105.557 | 19.83 | 0
| 10.434 | 7.4025 | 31.133 | 1024.3693 | 24.3208 | 0.4936 | 10.3465 | 105.52 | 20.257 | 0
| 10.335 | 7.4025 | 31.134 | 1024.3696 | 24.3215 | 0.4951 | 10.3456 | 105.512 | 20.559 | 0
| 10.245 | 7.403 | 31.1339 | 1024.3691 | 24.3214 | 0.4943 | 10.347 | 105.528 | 20.9 | 0
| 10.154 | 7.4039 | 31.1345 | 1024.369 | 24.3218 | 0.4905 | 10.3497 | 105.558 | 21.301 | 0
| 10.058 | 7.4047 | 31.1328 | 1024.367 | 24.3203 | 0.4806 | 10.3521 | 105.583 | 21.684 | 0
| 9.96 | 7.4054 | 31.1316 | 1024.3656 | 24.3193 | 0.4813 | 10.3606 | 105.67 | 22.125 | 0
| 9.858 | 7.4058 | 31.1323 | 1024.3656 | 24.3197 | 0.4806 | 10.3641 | 105.707 | 22.487 | 0
| 9.762 | 7.406 | 31.1309 | 1024.3641 | 24.3187 | 0.4775 | 10.3705 | 105.772 | 22.923 | 0
| 9.673 | 7.4063 | 31.1312 | 1024.3638 | 24.3189 | 0.4768 | 10.3689 | 105.757 | 23.281 | 0
| 9.58 | 7.4065 | 31.1317 | 1024.3638 | 24.3192 | 0.4844 | 10.3748 | 105.818 | 23.694 | 0
| 9.488 | 7.4067 | 31.1309 | 1024.3627 | 24.3186 | 0.4806 | 10.379 | 105.86 | 24.104 | 0
| 9.395 | 7.407 | 31.1307 | 1024.362 | 24.3184 | 0.4798 | 10.378 | 105.85 | 24.532 | 0
| 9.299 | 7.4073 | 31.1299 | 1024.3609 | 24.3177 | 0.4447 | 10.3799 | 105.871 | 24.979 | 0
| 9.204 | 7.4072 | 31.13 | 1024.3606 | 24.3178 | 0.447 | 10.3768 | 105.839 | 25.387 | 0
| 9.107 | 7.4074 | 31.1302 | 1024.3602 | 24.3179 | 0.4463 | 10.3802 | 105.874 | 25.879 | 0
| 9.014 | 7.4079 | 31.1295 | 1024.3592 | 24.3173 | 0.4447 | 10.3772 | 105.844 | 26.302 | 0
| 8.918 | 7.408 | 31.1287 | 1024.3581 | 24.3167 | 0.4676 | 10.3808 | 105.88 | 26.763 | 0
| 8.828 | 7.408 | 31.1295 | 1024.3583 | 24.3173 | 0.4707 | 10.3733 | 105.805 | 27.194 | 0
| 8.734 | 7.4081 | 31.1295 | 1024.3578 | 24.3172 | 0.4691 | 10.3735 | 105.807 | 27.689 | 0
| 8.639 | 7.4081 | 31.13 | 1024.3578 | 24.3176 | 0.4714 | 10.3755 | 105.827 | 28.148 | 0
| 8.549 | 7.4087 | 31.1306 | 1024.3578 | 24.318 | 0.4943 | 10.3805 | 105.88 | 28.575 | 0
| 8.462 | 7.4094 | 31.1297 | 1024.3566 | 24.3172 | 0.4928 | 10.39 | 105.979 | 29.049 | 0
| 8.373 | 7.4099 | 31.1285 | 1024.3552 | 24.3163 | 0.4936 | 10.3893 | 105.972 | 29.51 | 0
| 8.287 | 7.4098 | 31.13 | 1024.356 | 24.3175 | 0.4905 | 10.3912 | 105.991 | 29.95 | 0
| 8.204 | 7.41 | 31.1279 | 1024.3539 | 24.3157 | 0.4791 | 10.3939 | 106.018 | 30.39 | 0
| 8.115 | 7.4097 | 31.1282 | 1024.3538 | 24.316 | 0.4821 | 10.3992 | 106.072 | 30.865 | 0
| 8.022 | 7.4093 | 31.1287 | 1024.3538 | 24.3165 | 0.4798 | 10.3976 | 106.055 | 31.428 | 0
| 7.929 | 7.4091 | 31.1285 | 1024.3532 | 24.3163 | 0.4806 | 10.392 | 105.998 | 32.008 | 0
| 7.834 | 7.4089 | 31.1297 | 1024.3537 | 24.3173 | 0.4936 | 10.3905 | 105.982 | 32.553 | 0
| 7.748 | 7.4094 | 31.1287 | 1024.3525 | 24.3165 | 0.4936 | 10.392 | 105.998 | 32.871 | 0
| 7.698 | 7.4092 | 31.1285 | 1024.3521 | 24.3163 | 0.4913 | 10.3875 | 105.952 | 33.116 | 0
| 7.632 | 7.4094 | 31.1288 | 1024.352 | 24.3166 | 0.4951 | 10.3835 | 105.912 | 33.813 | 0
| 7.535 | 7.4095 | 31.1303 | 1024.3527 | 24.3177 | 0.5012 | 10.3793 | 105.87 | 34.302 | 0
| 7.439 | 7.4102 | 31.131 | 1024.3528 | 24.3182 | 0.5157 | 10.3775 | 105.854 | 34.927 | 0
| 7.344 | 7.4112 | 31.1306 | 1024.3518 | 24.3177 | 0.518 | 10.3756 | 105.837 | 35.564 | 0
| 7.245 | 7.4121 | 31.1291 | 1024.3501 | 24.3164 | 0.5157 | 10.3728 | 105.809 | 36.145 | 0
| 7.147 | 7.4122 | 31.1277 | 1024.3486 | 24.3153 | 0.5157 | 10.3753 | 105.834 | 36.761 | 0
| 7.052 | 7.4116 | 31.1279 | 1024.3483 | 24.3156 | 0.4806 | 10.378 | 105.861 | 37.335 | 0
| 6.961 | 7.4111 | 31.1281 | 1024.3481 | 24.3157 | 0.4821 | 10.3824 | 105.904 | 37.91 | 0
| 6.871 | 7.4109 | 31.129 | 1024.3484 | 24.3165 | 0.4806 | 10.3834 | 105.914 | 38.539 | 0
| 6.78 | 7.4114 | 31.129 | 1024.3479 | 24.3164 | 0.4798 | 10.3798 | 105.878 | 39.123 | 0
| 6.689 | 7.4122 | 31.1279 | 1024.3465 | 24.3154 | 0.5416 | 10.3856 | 105.939 | 39.79 | 0
| 6.594 | 7.4133 | 31.127 | 1024.3452 | 24.3146 | 0.5416 | 10.399 | 106.078 | 40.421 | 0
| 6.499 | 7.415 | 31.1255 | 1024.3434 | 24.3132 | 0.5424 | 10.3953 | 106.043 | 41.081 | 0
| 6.401 | 7.4165 | 31.1251 | 1024.3425 | 24.3127 | 0.5393 | 10.3902 | 105.995 | 41.753 | 0
| 6.307 | 7.4177 | 31.1239 | 1024.3409 | 24.3116 | 0.5042 | 10.3962 | 106.057 | 42.376 | 0
| 6.211 | 7.4196 | 31.1222 | 1024.3388 | 24.31 | 0.5012 | 10.3998 | 106.098 | 43.028 | 0
| 6.119 | 7.4216 | 31.1201 | 1024.3365 | 24.3081 | 0.505 | 10.3987 | 106.09 | 43.61 | 0
| 6.032 | 7.4228 | 31.1187 | 1024.3348 | 24.3068 | 0.5065 | 10.3972 | 106.077 | 44.189 | 0
| 5.942 | 7.4231 | 31.1185 | 1024.3342 | 24.3066 | 0.4806 | 10.3872 | 105.976 | 44.756 | 0
| 5.859 | 7.4233 | 31.1184 | 1024.3337 | 24.3065 | 0.4806 | 10.3885 | 105.989 | 45.445 | 0
| 5.773 | 7.4231 | 31.1189 | 1024.3338 | 24.3069 | 0.4813 | 10.3949 | 106.054 | 46.177 | 0
| 5.682 | 7.4231 | 31.1189 | 1024.3334 | 24.307 | 0.4806 | 10.3974 | 106.08 | 46.92 | 0
| 5.585 | 7.4233 | 31.1192 | 1024.3331 | 24.3071 | 0.4913 | 10.3947 | 106.053 | 47.687 | 0
| 5.486 | 7.4235 | 31.119 | 1024.3324 | 24.3069 | 0.4936 | 10.3978 | 106.085 | 48.309 | 0
| 5.387 | 7.4238 | 31.1194 | 1024.3323 | 24.3072 | 0.4928 | 10.3971 | 106.079 | 49.098 | 0
| 5.288 | 7.4244 | 31.12 | 1024.3321 | 24.3076 | 0.4943 | 10.4054 | 106.165 | 49.739 | 0
| 5.198 | 7.4253 | 31.1197 | 1024.3314 | 24.3072 | 0.505 | 10.4094 | 106.209 | 50.26 | 0
| 5.111 | 7.4262 | 31.1197 | 1024.3309 | 24.3071 | 0.5035 | 10.4135 | 106.252 | 50.975 | 0
| 5.023 | 7.4272 | 31.1199 | 1024.3305 | 24.3071 | 0.5096 | 10.4193 | 106.314 | 51.628 | 0
| 4.941 | 7.4279 | 31.1181 | 1024.3286 | 24.3057 | 0.5058 | 10.4208 | 106.329 | 52.362 | 0
| 4.849 | 7.4281 | 31.1169 | 1024.3272 | 24.3046 | 0.4936 | 10.4193 | 106.314 | 52.947 | 0
| 4.755 | 7.4278 | 31.1164 | 1024.3264 | 24.3043 | 0.4905 | 10.419 | 106.31 | 53.477 | 0
| 4.656 | 7.4272 | 31.117 | 1024.3265 | 24.3049 | 0.4928 | 10.4175 | 106.293 | 53.95 | 0
| 4.555 | 7.4267 | 31.1182 | 1024.3271 | 24.3059 | 0.4913 | 10.4074 | 106.19 | 54.591 | 0
| 4.46 | 7.4269 | 31.1202 | 1024.3282 | 24.3075 | 0.4943 | 10.4034 | 106.151 | 55.277 | 0
| 4.366 | 7.428 | 31.1195 | 1024.327 | 24.3067 | 0.4943 | 10.3934 | 106.051 | 55.727 | 0
| 4.282 | 7.4289 | 31.1178 | 1024.3252 | 24.3053 | 0.4913 | 10.3975 | 106.094 | 56.167 | 0
| 4.195 | 7.4293 | 31.1164 | 1024.3236 | 24.3041 | 0.4936 | 10.4002 | 106.121 | 56.507 | 0
| 4.11 | 7.4289 | 31.1168 | 1024.3236 | 24.3045 | 0.4798 | 10.4032 | 106.152 | 56.795 | 0
| 4.021 | 7.4288 | 31.1161 | 1024.3226 | 24.304 | 0.4806 | 10.4074 | 106.194 | 57.284 | 0
| 3.929 | 7.4286 | 31.1158 | 1024.322 | 24.3038 | 0.4813 | 10.4093 | 106.212 | 58.004 | 0
| 3.832 | 7.4282 | 31.1162 | 1024.3219 | 24.3041 | 0.4798 | 10.4081 | 106.199 | 58.152 | 0
| 3.731 | 7.4279 | 31.1174 | 1024.3224 | 24.3051 | 0.5439 | 10.4057 | 106.175 | 58.233 | 0
| 3.631 | 7.4284 | 31.1171 | 1024.3217 | 24.3048 | 0.5401 | 10.4008 | 106.126 | 58.544 | 0
| 3.537 | 7.4293 | 31.1175 | 1024.3214 | 24.305 | 0.5393 | 10.3934 | 106.053 | 58.789 | 0
| 3.447 | 7.4306 | 31.1165 | 1024.32 | 24.304 | 0.5424 | 10.3897 | 106.017 | 59.308 | 0
| 3.359 | 7.4322 | 31.1152 | 1024.3184 | 24.3028 | 0.4913 | 10.3964 | 106.089 | 59.514 | 0
| 3.275 | 7.4337 | 31.1137 | 1024.3166 | 24.3014 | 0.4913 | 10.4025 | 106.154 | 59.943 | 0
| 3.19 | 7.4365 | 31.1117 | 1024.3143 | 24.2994 | 0.4913 | 10.4076 | 106.212 | 60.333 | 0
| 3.101 | 7.4397 | 31.109 | 1024.3113 | 24.2969 | 0.4936 | 10.4146 | 106.288 | 61.163 | 0
| 3.011 | 7.4441 | 31.107 | 1024.3087 | 24.2947 | 0.4554 | 10.4202 | 106.355 | 61.546 | 0
| 2.912 | 7.4534 | 31.0984 | 1024.3002 | 24.2867 | 0.4577 | 10.4271 | 106.443 | 62.133 | 0
| 2.816 | 7.4617 | 31.0913 | 1024.2931 | 24.28 | 0.4524 | 10.4298 | 106.485 | 62.944 | 0
| 2.719 | 7.4674 | 31.0865 | 1024.2881 | 24.2755 | 0.4562 | 10.4363 | 106.562 | 64.314 | 0
| 2.628 | 7.472 | 31.0832 | 1024.2844 | 24.2722 | 0.4562 | 10.4437 | 106.646 | 65.607 | 0
| 2.541 | 7.4769 | 31.079 | 1024.2801 | 24.2683 | 0.4546 | 10.4443 | 106.661 | 65.456 | 0
| 2.456 | 7.4845 | 31.0724 | 1024.2735 | 24.2621 | 0.4585 | 10.4483 | 106.717 | 66.834 | 0
| 2.373 | 7.4919 | 31.0654 | 1024.2666 | 24.2556 | 0.4562 | 10.4557 | 106.805 | 69.131 | 0
| 2.289 | 7.4978 | 31.0596 | 1024.2608 | 24.2502 | 0.4325 | 10.4567 | 106.826 | 70.489 | 0
| 2.202 | 7.5054 | 31.0524 | 1024.2538 | 24.2436 | 0.4318 | 10.4614 | 106.887 | 71.392 | 0
| 2.108 | 7.5118 | 31.0464 | 1024.2478 | 24.238 | 0.4318 | 10.4688 | 106.974 | 73.455 | 0
| 2.009 | 7.5181 | 31.0412 | 1024.2424 | 24.233 | 0.4318 | 10.4789 | 107.089 | 74.707 | 0
| 1.907 | 7.5207 | 31.0404 | 1024.2409 | 24.232 | 0.4318 | 10.5017 | 107.329 | 76.687 | 0
| 1.811 | 7.5218 | 31.0409 | 1024.2407 | 24.2323 | 0.4318 | 10.5131 | 107.448 | 79.765 | 0
| 1.717 | 7.5225 | 31.0396 | 1024.2392 | 24.2312 | 0.4318 | 10.5116 | 107.434 | 79.25 | 0
| 1.633 | 7.5242 | 31.0377 | 1024.2371 | 24.2295 | 0.4302 | 10.5071 | 107.39 | 81.728 | 0
| 1.551 | 7.5299 | 31.0311 | 1024.2307 | 24.2235 | 0.444 | 10.5135 | 107.465 | 84.518 | 0
| 1.472 | 7.5387 | 31.0234 | 1024.2231 | 24.2162 | 0.444 | 10.5168 | 107.515 | 84.577 | 0
| 1.391 | 7.5449 | 31.0171 | 1024.217 | 24.2105 | 0.4424 | 10.5204 | 107.563 | 90.786 | 0
| 1.3 | 7.5502 | 31.0114 | 1024.2113 | 24.2053 | 0.444 | 10.518 | 107.547 | 96.463 | 0
| 1.202 | 7.5579 | 31.0035 | 1024.2036 | 24.198 | 0.3814 | 10.5173 | 107.554 | 97.068 | 0
| 1.105 | 7.5652 | 31.0009 | 1024.2001 | 24.195 | 0.3822 | 10.5326 | 107.726 | 99.942 | 0
| 1.004 | 7.5699 | 30.998 | 1024.1967 | 24.192 | 0.3814 | 10.5365 | 107.775 | 113.2 | 0
| 0.915 | 7.5715 | 30.9968 | 1024.1951 | 24.1909 | 0.3852 | 10.5429 | 107.844 | 115.8 | 0
| 0.823 | 7.5745 | 30.9946 | 1024.1926 | 24.1888 | 0.3814 | 10.5451 | 107.872 | 120.11 | 0
| 0.741 | 7.5802 | 30.99 | 1024.1878 | 24.1844 | 0.3089 | 10.5473 | 107.906 | 143.95 | 0
| 0.653 | 7.5848 | 30.9866 | 1024.1841 | 24.1811 | 0.3082 | 10.5529 | 107.971 | 160.91 | 0
| 0.565 | 7.5881 | 30.9846 | 1024.1817 | 24.1791 | 0.3104 | 10.5658 | 108.111 | 149.66 | 0
| 0.479 | 7.5938 | 30.979 | 1024.1761 | 24.1739 | 0.3089 | 10.5708 | 108.172 | 214.56 | 0
| 0.399 | 7.6004 | 30.975 | 1024.1717 | 24.1698 | 0.3967 | 10.5732 | 108.21 | 201.14 | 0
| 0.314 | 7.6077 | 30.9619 | 1024.16 | 24.1586 | 0.3936 | 10.5824 | 108.313 | 215.51 | 0
| 0.234 | 7.6153 | 30.965 | 1024.1611 | 24.16 | 0.3959 | 10.5888 | 108.399 | 208.54 | 0
| 0.174 | 7.6215 | 30.9577 | 1024.1542 | 24.1534 | 0.3959 | 10.5926 | 108.449 | 213.42 | 0
| 0.117 | 7.625 | 30.9517 | 1024.1488 | 24.1482 | 0.8155 | 10.5882 | 108.408 | 218.22 | 0
| 0.101 | 7.6255 | 30.9513 | 1024.1482 | 24.1478 | 0.8148 | 10.5849 | 108.375 | 250.56 | 0
| 0.101 | 7.625 | 30.9514 | 1024.1484 | 24.1479 | 0.814 | 10.5641 | 108.161 | 262.19 | 0
| 0.099 | 7.6234 | 30.9509 | 1024.1482 | 24.1478 | 0.8155 | 10.5534 | 108.047 | 259.96 | 0
| 0.103 | 7.6205 | 30.9524 | 1024.1498 | 24.1493 | 0.5912 | 10.5062 | 107.558 | 252.89 | 0
| 0.101 | 7.6156 | 30.9522 | 1024.1503 | 24.1498 | 0.592 | 10.4396 | 106.864 | 247.45 | 0
| 0.099 | 7.6102 | 30.9609 | 1024.1579 | 24.1574 | 0.592 | 10.3649 | 106.092 | 250.51 | 0
| 0.102 | 7.6059 | 30.9643 | 1024.1612 | 24.1607 | 0.5905 | 10.2834 | 105.25 | 245.4 | 0
| 0.104 | 7.6024 | 30.9674 | 1024.1641 | 24.1636 | -0.5715 | 10.2068 | 104.46 | 243.02 | 0
| 0.103 | 7.5988 | 30.971 | 1024.1674 | 24.1669 | -0.5738 | 10.1197 | 103.563 | 251.49 | 0
| 0.102 | 7.5956 | 30.9748 | 1024.1708 | 24.1703 | -0.5715 | 10.0565 | 102.911 | 252.72 | 0
| 0.101 | 7.5933 | 25.729 | 1020.0551 | 20.0547 | -0.5746 | 10.3528 | 102.365 | 251.32 | 0
| 0.102 | 7.5933 | 5.9032 | 1004.527 | 4.5265 | -0.087 | 11.7227 | 101.841 | 224.78 | 0
| 0.1 | 7.5939 | 5.2474 | 1004.0121 | 4.0117 | -0.0886 | 11.7284 | 101.458 | 219.84 | 0
| 0.101 | 7.5944 | 4.8334 | 1003.687 | 3.6865 | -0.087 | 11.6871 | 100.83 | 228.56 | 0
| 0.101 | 7.595 | 4.4279 | 1003.3683 | 3.3678 | -0.087 | 11.6259 | 100.038 | 222.86 | 0
| 0.1 | 7.596 | 4.0195 | 1003.0473 | 3.0468 | -0.1603 | 11.5287 | 98.941 | 235.27 | 0
| 0.101 | 7.5964 | 3.6228 | 1002.7353 | 2.7348 | -0.1618 | 11.4118 | 97.685 | 243.7 | 0
| 0.102 | 7.5965 | 3.3778 | 1002.5425 | 2.542 | -0.158 | 11.2724 | 96.339 | 249.12 | 0
| 0.101 | 7.5966 | 2.9709 | 1002.2223 | 2.2218 | -0.1603 | 11.1432 | 94.982 | 238.29 | 0
| 0.102 | 7.5964 | 2.5378 | 1001.8812 | 1.8807 | -0.3068 | 11.0511 | 93.932 | 225.82 | 0
| 0.103 | 7.5963 | 2.2081 | 1001.6214 | 1.6209 | -0.3068 | 10.9714 | 93.054 | 232.62 | 0