## 2016-05-11-SteveKibler-cast222
* | Sea-Bird | SBE19plus | Data | File:
* | FileName | = | C:\Users\Kris.Holderied\Documents\kasitsna\Research-KBL\Oceanography-AK\CTD-Data-ALL-to-2016-02\2016-CTD-KachemakBay-CookInlet\2016-04-CookInlet-quarterly\2016-05-11-SteveKibler\2016-05-11-SteveKibler-cast222.hex
* | Software | Version | 1.59
* | Temperature | SN | = | 5028
* | Conductivity | SN | = | 5028
* | System | UpLoad | Time | = | May | 12 | 2016 | 11:48
** | Steve | Kibler | CTD | profiles
** | Date | (YYYY-MM-DD): | 2016-05-11
** | Station | (ie. | 9-01): | to | add
** | Start | time | (AKST): | to | add
** | Depth | (m): | to | add
** | Comment: | 6 | total | casts
** | Comment:
* | ds
* | SeacatPlus | V | 1.6a | SERIAL | NO. | 5028 | 12 | May | 2016 | 11:46
* | vbatt | = | 12.1, | vlith | = | 8.1, | ioper | = | 63.4 | ma, | ipump | = | 64.1 | ma,
* | iext01 | = | 39.2 | ma
* | iext23 | = | 5 | ma
*
* | status | = | not | logging
* | number | of | scans | to | average | = | 1
* | samples | = | 233904, | free | = | 207601, | casts | = | 226
* | mode | = | profile, | minimum | cond | freq | = | 3041, | pump | delay | = | 60 | sec
* | autorun | = | no, | ignore | magnetic | switch | = | no
* | battery | type | = | alkaline, | battery | cutoff | = | 7.3 | volts
* | pressure | sensor | = | strain | gauge, | range | = | 508
* | SBE | 38 | = | no, | Gas | Tension | Device | = | no
* | Ext | Volt | 0 | = | yes, | Ext | Volt | 1 | = | yes, | Ext | Volt | 2 | = | yes, | Ext | Volt | 3 | = | yes
* | echo | commands | = | yes
* | output | format | = | raw | HEX
* | S>
*
* | SeacatPlus | V | 1.6a | SERIAL | NO. | 5028 | 12 | May | 2016 | 11:46
* | temperature: | 2014-09-05
* | TA0 | = | 0.0012655
* | TA1 | = | 0.00026623
* | TA2 | = | -2.0957e-07
* | TA3 | = | 1.6115e-07
* | TOFFSET | = | 0
* | conductivity: | 2014-09-05
* | G | = | -0.99806
* | H | = | 0.15554
* | I | = | -0.00054576
* | J | = | 6.7531e-05
* | CF0 | = | 2540.93
* | CPCOR | = | -9.57e-08
* | CTCOR | = | 3.25e-06
* | CSLOPE | = | 1
* | pressure | S/N | = | 10145, | range | = | 508 | psia: | 2014-09-03
* | PA0 | = | 0.037883
* | PA1 | = | 0.0015477
* | PA2 | = | 1.2287e-11
* | PTCA0 | = | 523849
* | PTCA1 | = | 3.3329
* | PTCA2 | = | -0.095331
* | PTCB0 | = | 24.9318
* | PTCB1 | = | 0.00055
* | PTCB2 | = | 0
* | PTEMPA0 | = | -67.6147
* | PTEMPA1 | = | 50.9453
* | PTEMPA2 | = | -0.25727
* | POFFSET | = | 0
* | volt | 0:00 | offset | = | -4.654947e-02, | slope | = | 1.249
* | volt | 1:00 | offset | = | -4.700947e-02, | slope | = | 1.2486
* | volt | 2:00 | offset | = | -4.668421e-02, | slope | = | 1.2486
* | volt | 3:00 | offset | = | 0.000000e+00, | slope | = | 1
* | EXTFREQSF | = | 0.99999
* | dh
* | cast | 222 | 11 | May | 2016 | 17:03 | samples | 231483 | to | 232033, | avg | = | 1, | stop | = | mag | switch
* | S>
# | nquan | = | 10
# | nvalues | = | 551
# | units | = | specified
# | name | 0 | = | depSM: | Depth | [salt | water, | m], | lat | = | 59.5
# | name | 1 | = | tv290C: | Temperature | [ITS-90, | deg | C]
# | name | 2 | = | sal00: | Salinity, | Practical | [PSU]
# | name | 3 | = | density00: | Density | [density, | kg/m^3]
# | name | 4 | = | sigma-t00: | Density | [sigma-t, | kg/m^3 | ]
# | name | 5 | = | flECO-AFL: | Fluorescence, | WET | Labs | ECO-AFL/FL | [mg/m^3]
# | name | 6 | = | sbeox0Mg/L: | Oxygen, | SBE | 43 | [mg/l]
# | name | 7 | = | sbeox0PS: | Oxygen, | SBE | 43 | [% | saturation]
# | name | 8 | = | par: | PAR/Irradiance, | Biospherical/Licor
# | name | 9 | = | flag: | 0
# | span | 0 | = | 0.074, | 16.535
# | span | 1 | = | 7.0224, | 10.0449
# | span | 2 | = | 0.0000, | 31.8561
# | span | 3 | = | 999.6987, | 1024.9078
# | span | 4 | = | -0.3019, | 24.9044
# | span | 5 | = | -0.3449, | 48.2161
# | span | 6 | = | 7.4692, | 11.5892
# | span | 7 | = | 77.001, | 109.275
# | span | 8 | = | 1.1858e+01, | 425.07
# | span | 9 | = | 0.0000e+00, | 0
# | interval | = | seconds: | 0.25
# | start_time | = | May | 11 | 2016 | 17:03 | [Instrument's | time | stamp, | header]
# | bad_flag | = | -9.99e-29
# | <Sensors | count="7" | >
# | <sensor | Channel="1" | >
# | <!-- | Count, | Temperature | -->
# | <TemperatureSensor | SensorID="58" | >
# | <SerialNumber>5028</SerialNumber>
# | <CalibrationDate>11-Jun-09</CalibrationDate>
# | <A0>1.26756900e-003</A0>
# | <A1>2.65572900e-004</A1>
# | <A2>-1.41229000e-007</A2>
# | <A3>1.58786100e-007</A3>
# | <Slope>1.00000000</Slope>
# | <Offset>0.0000</Offset>
# | </TemperatureSensor>
# | </sensor>
# | <sensor | Channel="2" | >
# | <!-- | Frequency | 0, | Conductivity | -->
# | <ConductivitySensor | SensorID="3" | >
# | <SerialNumber>5028</SerialNumber>
# | <CalibrationDate>11-Jun-09</CalibrationDate>
# | <UseG_J>1</UseG_J>
# | <!-- | Cell | const | and | series | R | are | applicable | only | for | wide | range | sensors. | -->
# | <SeriesR>0.0000</SeriesR>
# | <CellConst>2000.0000</CellConst>
# | <ConductivityType>0</ConductivityType>
# | <Coefficients | equation="0" | >
# | <A>0.00000000e+000</A>
# | <B>0.00000000e+000</B>
# | <C>0.00000000e+000</C>
# | <D>0.00000000e+000</D>
# | <M>0.0</M>
# | <CPcor>-9.57000000e-008</CPcor>
# | </Coefficients>
# | <Coefficients | equation="1" | >
# | <G>-9.97583000e-001</G>
# | <H>1.55403700e-001</H>
# | <I>-5.06812300e-004</I>
# | <J>6.39295300e-005</J>
# | <CPcor>-9.57000000e-008</CPcor>
# | <CTcor>3.2500e-006</CTcor>
# | <!-- | WBOTC | not | applicable | unless | ConductivityType | = | 1 | -->
# | <WBOTC>0.00000000e+000</WBOTC>
# | </Coefficients>
# | <Slope>1.00000000</Slope>
# | <Offset>0.00000</Offset>
# | </ConductivitySensor>
# | </sensor>
# | <sensor | Channel="3" | >
# | <!-- | Count, | Pressure, | Strain | Gauge | -->
# | <PressureSensor | SensorID="46" | >
# | <SerialNumber>5028</SerialNumber>
# | <CalibrationDate>11-Jun-09 | </CalibrationDate>
# | <PA0>3.67055996e-002</PA0>
# | <PA1>1.54609355e-003</PA1>
# | <PA2>1.38021007e-011</PA2>
# | <PTEMPA0>-6.65872038e+001</PTEMPA0>
# | <PTEMPA1>4.99531566e+001</PTEMPA1>
# | <PTEMPA2>2.78112158e-002</PTEMPA2>
# | <PTCA0>5.23897707e+005</PTCA0>
# | <PTCA1>3.86339633e+000</PTCA1>
# | <PTCA2>-1.25160234e-001</PTCA2>
# | <PTCB0>2.49317500e+001</PTCB0>
# | <PTCB1>5.50000000e-004</PTCB1>
# | <PTCB2>0.00000000e+000</PTCB2>
# | <Offset>0.000000</Offset>
# | </PressureSensor>
# | </sensor>
# | <sensor | Channel="4" | >
# | <!-- | A/D | voltage | 0, | Fluorometer, | WET | Labs | ECO-AFL/FL | -->
# | <FluoroWetlabECO_AFL_FL_Sensor | SensorID="20" | >
# | <SerialNumber>0566</SerialNumber>
# | <CalibrationDate>08/25/06</CalibrationDate>
# | <ScaleFactor>1.00000000e+001</ScaleFactor>
# | <!-- | Dark | output | -->
# | <Vblank>0.0850</Vblank>
# | </FluoroWetlabECO_AFL_FL_Sensor>
# | </sensor>
# | <sensor | Channel="5" | >
# | <!-- | A/D | voltage | 1, | User | Polynomial | -->
# | <UserPolynomialSensor | SensorID="61" | >
# | <SerialNumber>0566</SerialNumber>
# | <CalibrationDate>09/21/06</CalibrationDate>
# | <SensorName>ECO-FLNTUS</SensorName>
# | <A0>-0.21000000</A0>
# | <A1>5.00000000</A1>
# | <A2>0.00000000</A2>
# | <A3>0.00000000</A3>
# | </UserPolynomialSensor>
# | </sensor>
# | <sensor | Channel="6" | >
# | <!-- | A/D | voltage | 2, | Oxygen, | SBE | 43 | -->
# | <OxygenSensor | SensorID="38" | >
# | <SerialNumber>1082</SerialNumber>
# | <CalibrationDate>29-Jun-09</CalibrationDate>
# | <Use2007Equation>1</Use2007Equation>
# | <CalibrationCoefficients | equation="0" | >
# | <!-- | Coefficients | for | Owens-Millard | equation. | -->
# | <Boc>0.0000</Boc>
# | <Soc>3.8040e-001</Soc>
# | <offset>-0.5076</offset>
# | <Pcor>1.35e-004</Pcor>
# | <Tcor>0.0011</Tcor>
# | <Tau>0.0</Tau>
# | </CalibrationCoefficients>
# | <CalibrationCoefficients | equation="1" | >
# | <!-- | Coefficients | for | Sea-Bird | equation | - | SBE | calibration | in | 2007 | and | later. | -->
# | <Soc>5.2200e-001</Soc>
# | <offset>-0.5073</offset>
# | <A>-3.4402e-003</A>
# | <B> | 1.8240e-004</B>
# | <C>-3.2078e-006</C>
# | <D0> | 2.5826e+000</D0>
# | <D1> | 1.92630e-004</D1>
# | <D2>-4.64800e-002</D2>
# | <E> | 3.6000e-002</E>
# | <Tau20> | 2.2200</Tau20>
# | <H1>-3.3000e-002</H1>
# | <H2> | 5.0000e+003</H2>
# | <H3> | 1.4500e+003</H3>
# | </CalibrationCoefficients>
# | </OxygenSensor>
# | </sensor>
# | <sensor | Channel="7" | >
# | <!-- | A/D | voltage | 3, | PAR/Irradiance, | Biospherical/Licor | -->
# | <PAR_BiosphericalLicorChelseaSensor | SensorID="42" | >
# | <SerialNumber>7067</SerialNumber>
# | <CalibrationDate>02/17/06</CalibrationDate>
# | <M>-0.75880140</M>
# | <B>-3.39444905</B>
# | <CalibrationConstant>3.59000000</CalibrationConstant>
# | <Multiplier>1.00000000</Multiplier>
# | <Offset>0.00000000</Offset>
# | </PAR_BiosphericalLicorChelseaSensor>
# | </sensor>
# | </Sensors>
# | datcnv_date | = | Jun | 2 | 2016 | 08:01:29, | 7.25.0.319 | [datcnv_vars | = | 9]
# | datcnv_in | = | R:\HABs\Manuscripts | in | Preparation\Alexandrium | in | Alaska\Alaska | 2016\YSI | CTD | Data\Jakolof | Bay | 11May16\2016-05-11-SteveKibler-cast222.hex | C:\Users\Steve.Kibler\Desktop\workspace-archive | (70)\5028-config-from-Seabird-Apr2012.CON
# | datcnv_skipover | = | 0
# | datcnv_ox_hysteresis_correction | = | yes
# | datcnv_ox_tau_correction | = | yes
# | file_type | = | ascii
*END* | D (m) | T | S | Dens (Kg/m3) | Sigma-t | Fluor | DO mg/L | DO % | PAR | n/a
| 0.118 | 10.0449 | 0.4878 | 1000.0825 | 0.0819 | -0.3419 | 11.5068 | 102.363 | 411.14 | 0
| 0.117 | 10.0442 | 0.4753 | 1000.0727 | 0.0721 | -0.3449 | 11.5233 | 102.5 | 421.06 | 0
| 0.118 | 10.0432 | 0.4621 | 1000.0624 | 0.0619 | -0.3426 | 11.5574 | 102.792 | 424.09 | 0
| 0.122 | 10.0422 | 0 | 999.6987 | -0.3019 | -0.1862 | 11.5892 | 102.769 | 420.09 | 0
| 0.147 | 9.7943 | 17.0578 | 1013.0104 | 13.0098 | -0.1862 | 10.4491 | 102.74 | 425.07 | 0
| 0.208 | 8.9891 | 27.6121 | 1021.3424 | 21.3415 | -0.1847 | 9.9511 | 102.828 | 404.43 | 0
| 0.276 | 8.4303 | 30.6305 | 1023.7842 | 23.783 | -0.1847 | 9.8586 | 102.585 | 386.85 | 0
| 0.371 | 8.0317 | 30.7989 | 1023.9736 | 23.9719 | 1.0452 | 9.9004 | 102.207 | 393.35 | 0
| 0.474 | 7.7186 | 31.0118 | 1024.1847 | 24.1825 | 1.0436 | 9.9843 | 102.484 | 401.36 | 0
| 0.563 | 7.5104 | 31.2232 | 1024.3797 | 24.3771 | 1.0436 | 10.0216 | 102.52 | 214.76 | 0
| 0.619 | 7.3949 | 31.3876 | 1024.5248 | 24.5219 | 1.0459 | 10.0457 | 102.606 | 263.11 | 0
| 0.666 | 7.3375 | 31.4453 | 1024.5781 | 24.575 | 0.1899 | 10.0948 | 103.01 | 262.19 | 0
| 0.703 | 7.3123 | 31.4997 | 1024.6244 | 24.6211 | 0.1899 | 10.129 | 103.337 | 288.84 | 0
| 0.72 | 7.3047 | 31.5765 | 1024.6859 | 24.6825 | 0.1891 | 10.1727 | 103.817 | 244.83 | 0
| 0.734 | 7.3033 | 31.5464 | 1024.6625 | 24.6591 | 0.1884 | 10.2242 | 104.318 | 247.22 | 0
| 0.759 | 7.3009 | 31.5253 | 1024.6463 | 24.6428 | 0.1762 | 10.0363 | 102.381 | 263.53 | 0
| 0.784 | 7.3034 | 31.5656 | 1024.6778 | 24.6741 | 0.1762 | 9.8231 | 100.239 | 278.33 | 0
| 0.796 | 7.3044 | 31.5957 | 1024.7014 | 24.6977 | 0.1731 | 9.7218 | 99.227 | 217.11 | 0
| 0.802 | 7.3048 | 31.6393 | 1024.7356 | 24.7318 | 0.1739 | 9.6712 | 98.74 | 259.9 | 0
| 0.804 | 7.304 | 31.6481 | 1024.7427 | 24.7389 | 0.2242 | 9.641 | 98.435 | 232.24 | 0
| 0.786 | 7.3024 | 31.6242 | 1024.724 | 24.7203 | 0.2235 | 9.6133 | 98.133 | 234.67 | 0
| 0.759 | 7.2985 | 31.5859 | 1024.6943 | 24.6907 | 0.2227 | 9.5936 | 97.898 | 241.73 | 0
| 0.727 | 7.2934 | 31.5315 | 1024.652 | 24.6486 | 0.225 | 9.5853 | 97.768 | 225.35 | 0
| 0.705 | 7.2906 | 31.4926 | 1024.6217 | 24.6185 | 0.2181 | 9.5517 | 97.394 | 218.32 | 0
| 0.709 | 7.2977 | 31.4792 | 1024.6102 | 24.6069 | 0.212 | 9.4027 | 95.882 | 185.23 | 0
| 0.738 | 7.3047 | 31.5676 | 1024.679 | 24.6755 | 0.2136 | 9.1712 | 93.59 | 192.71 | 0
| 0.775 | 7.3109 | 31.8289 | 1024.8837 | 24.8801 | 0.209 | 8.9977 | 91.99 | 188.78 | 0
| 0.799 | 7.3182 | 31.8503 | 1024.8997 | 24.896 | 0.2105 | 8.9009 | 91.029 | 147.32 | 0
| 0.81 | 7.3684 | 31.7921 | 1024.8472 | 24.8434 | 0.2357 | 8.894 | 91.028 | 209.12 | 0
| 0.807 | 7.4155 | 31.6546 | 1024.7327 | 24.7289 | 0.2357 | 8.9544 | 91.663 | 168.49 | 0
| 0.796 | 7.4266 | 31.5594 | 1024.6563 | 24.6526 | 0.2364 | 9.0696 | 92.807 | 170.81 | 0
| 0.788 | 7.4096 | 31.5074 | 1024.6177 | 24.614 | 0.2334 | 9.2037 | 94.111 | 219.99 | 0
| 0.788 | 7.3799 | 31.4879 | 1024.6064 | 24.6027 | 0.1998 | 9.3089 | 95.11 | 176.85 | 0
| 0.789 | 7.3519 | 31.5419 | 1024.6527 | 24.649 | 0.1998 | 9.3798 | 95.806 | 183.77 | 0
| 0.787 | 7.3366 | 31.5806 | 1024.6851 | 24.6814 | 0.2006 | 9.39 | 95.902 | 222.61 | 0
| 0.798 | 7.3269 | 31.5439 | 1024.6576 | 24.6539 | 0.1998 | 9.3644 | 95.596 | 192.75 | 0
| 0.811 | 7.3133 | 31.5228 | 1024.643 | 24.6392 | 0.2364 | 9.2806 | 94.697 | 188.43 | 0
| 0.822 | 7.3015 | 31.5921 | 1024.699 | 24.6952 | 0.2349 | 9.188 | 93.77 | 206.18 | 0
| 0.824 | 7.3007 | 31.6178 | 1024.7193 | 24.7155 | 0.2372 | 9.096 | 92.845 | 196.26 | 0
| 0.819 | 7.3046 | 31.6187 | 1024.7195 | 24.7157 | 0.2349 | 9.025 | 92.129 | 205.57 | 0
| 0.814 | 7.3 | 31.5333 | 1024.6529 | 24.6492 | 0.2219 | 8.9597 | 91.401 | 202.54 | 0
| 0.814 | 7.2898 | 31.5074 | 1024.6339 | 24.6302 | 0.2242 | 8.9025 | 90.781 | 193.65 | 0
| 0.816 | 7.2822 | 31.5044 | 1024.6326 | 24.6288 | 0.2235 | 8.8698 | 90.431 | 187.34 | 0
| 0.825 | 7.2804 | 31.5176 | 1024.6433 | 24.6395 | 0.2242 | 8.845 | 90.182 | 211.65 | 0
| 0.829 | 7.2811 | 31.5592 | 1024.676 | 24.6721 | 0.2113 | 8.8634 | 90.395 | 195.13 | 0
| 0.826 | 7.2857 | 31.5762 | 1024.6886 | 24.6848 | 0.2143 | 8.867 | 90.452 | 200.35 | 0
| 0.824 | 7.2881 | 31.5654 | 1024.6798 | 24.676 | 0.212 | 8.861 | 90.389 | 226.24 | 0
| 0.817 | 7.2844 | 31.5301 | 1024.6526 | 24.6488 | 0.212 | 8.8545 | 90.295 | 186.04 | 0
| 0.814 | 7.2796 | 31.5258 | 1024.6498 | 24.646 | 0.1647 | 8.8658 | 90.397 | 229.94 | 0
| 0.815 | 7.2746 | 31.518 | 1024.6443 | 24.6405 | 0.1617 | 8.8686 | 90.411 | 211.41 | 0
| 0.817 | 7.2711 | 31.5437 | 1024.665 | 24.6612 | 0.1647 | 8.8822 | 90.557 | 212.98 | 0
| 0.803 | 7.2727 | 31.6874 | 1024.7777 | 24.774 | 0.1632 | 8.8973 | 90.8 | 209.36 | 0
| 0.775 | 7.2843 | 31.625 | 1024.727 | 24.7234 | 0.1624 | 8.9123 | 90.94 | 220.04 | 0
| 0.762 | 7.2884 | 31.5096 | 1024.6357 | 24.6321 | 0.1647 | 8.9391 | 91.153 | 225.67 | 0
| 0.759 | 7.2823 | 31.4983 | 1024.6276 | 24.6241 | 0.1632 | 8.9624 | 91.371 | 196.67 | 0
| 0.763 | 7.2804 | 31.5031 | 1024.6316 | 24.6281 | 0.1632 | 8.9754 | 91.503 | 213.62 | 0
| 0.769 | 7.281 | 31.5191 | 1024.6441 | 24.6406 | 0.1502 | 8.9835 | 91.596 | 218.47 | 0
| 0.769 | 7.2826 | 31.5759 | 1024.6886 | 24.685 | 0.1518 | 8.9869 | 91.668 | 194.86 | 0
| 0.767 | 7.29 | 31.558 | 1024.6735 | 24.6699 | 0.1495 | 8.9802 | 91.605 | 217.26 | 0
| 0.76 | 7.2956 | 31.5614 | 1024.6754 | 24.6719 | 0.1502 | 8.9677 | 91.491 | 217.31 | 0
| 0.757 | 7.2918 | 31.5578 | 1024.6731 | 24.6696 | 0.1754 | 8.9642 | 91.446 | 179.94 | 0
| 0.744 | 7.2877 | 31.5564 | 1024.6725 | 24.669 | 0.1792 | 8.9687 | 91.481 | 200.3 | 0
| 0.739 | 7.2843 | 31.5165 | 1024.6416 | 24.6381 | 0.1777 | 8.9752 | 91.517 | 191.77 | 0
| 0.743 | 7.2787 | 31.4816 | 1024.6149 | 24.6114 | 0.1746 | 8.983 | 91.564 | 212.93 | 0
| 0.749 | 7.275 | 31.5552 | 1024.6733 | 24.6698 | 0.1754 | 8.9908 | 91.68 | 150.84 | 0
| 0.744 | 7.2815 | 31.6571 | 1024.7525 | 24.749 | 0.1785 | 8.9988 | 91.836 | 204.9 | 0
| 0.741 | 7.2899 | 31.5573 | 1024.6729 | 24.6694 | 0.1762 | 9.0183 | 91.993 | 183.6 | 0
| 0.744 | 7.2872 | 31.523 | 1024.6462 | 24.6428 | 0.1754 | 9.0303 | 92.088 | 195.22 | 0
| 0.741 | 7.2801 | 31.5236 | 1024.6477 | 24.6442 | 0.1777 | 9.0189 | 91.957 | 184.97 | 0
| 0.741 | 7.2756 | 31.5441 | 1024.6644 | 24.6609 | 0.1746 | 8.9889 | 91.654 | 191.73 | 0
| 0.742 | 7.2736 | 31.5417 | 1024.6628 | 24.6594 | 0.1785 | 8.9555 | 91.309 | 207.19 | 0
| 0.75 | 7.2712 | 31.5298 | 1024.6538 | 24.6503 | 0.1777 | 8.9207 | 90.941 | 184.11 | 0
| 0.755 | 7.2702 | 31.6254 | 1024.7291 | 24.7256 | 0.1754 | 8.8744 | 90.524 | 187.3 | 0
| 0.745 | 7.2762 | 31.735 | 1024.8144 | 24.811 | 0.1754 | 8.8419 | 90.271 | 224.89 | 0
| 0.733 | 7.2806 | 31.7272 | 1024.8077 | 24.8043 | 0.1769 | 8.8185 | 90.035 | 182.88 | 0
| 0.72 | 7.28 | 31.5905 | 1024.7002 | 24.6969 | 0.1785 | 8.8125 | 89.893 | 222.3 | 0
| 0.715 | 7.2773 | 31.5367 | 1024.6582 | 24.6549 | 0.1891 | 8.7862 | 89.587 | 205.99 | 0
| 0.71 | 7.2724 | 31.521 | 1024.6465 | 24.6432 | 0.1876 | 8.7677 | 89.379 | 196.35 | 0
| 0.711 | 7.2693 | 31.5203 | 1024.6464 | 24.6431 | 0.1899 | 8.7407 | 89.097 | 196.45 | 0
| 0.726 | 7.2686 | 31.4969 | 1024.6282 | 24.6248 | 0.1876 | 8.7123 | 88.793 | 198.64 | 0
| 0.753 | 7.2674 | 31.5007 | 1024.6314 | 24.6279 | 0.1899 | 8.6892 | 88.557 | 197.54 | 0
| 0.766 | 7.269 | 31.6707 | 1024.7649 | 24.7614 | 0.1869 | 8.6542 | 88.302 | 198.18 | 0
| 0.76 | 7.2779 | 31.7832 | 1024.8522 | 24.8486 | 0.1838 | 8.6437 | 88.278 | 189.35 | 0
| 0.733 | 7.29 | 31.8561 | 1024.9078 | 24.9044 | 0.1861 | 8.6352 | 88.258 | 216.91 | 0
| 0.701 | 7.3376 | 31.8101 | 1024.865 | 24.8617 | 0.1746 | 8.6329 | 88.304 | 201.05 | 0
| 0.685 | 7.4159 | 31.6348 | 1024.7165 | 24.7133 | 0.1754 | 8.625 | 88.28 | 212.04 | 0
| 0.685 | 7.4675 | 31.5283 | 1024.6257 | 24.6226 | 0.1762 | 8.6032 | 88.099 | 217.21 | 0
| 0.701 | 7.4814 | 31.4669 | 1024.5757 | 24.5724 | 0.1762 | 8.582 | 87.875 | 167.56 | 0
| 0.72 | 7.4744 | 31.4595 | 1024.5709 | 24.5676 | 0.2517 | 8.5582 | 87.613 | 208.88 | 0
| 0.743 | 7.4604 | 31.5052 | 1024.6089 | 24.6054 | 0.2471 | 8.5463 | 87.49 | 180.82 | 0
| 0.755 | 7.4457 | 31.626 | 1024.7058 | 24.7023 | 0.2502 | 8.5396 | 87.461 | 202.54 | 0
| 0.752 | 7.4429 | 31.7116 | 1024.7735 | 24.77 | 0.2494 | 8.5458 | 87.568 | 196.95 | 0
| 0.736 | 7.4406 | 31.7383 | 1024.7947 | 24.7913 | 0.1876 | 8.5665 | 87.791 | 185.74 | 0
| 0.716 | 7.4573 | 31.7084 | 1024.7688 | 24.7655 | 0.1869 | 8.5893 | 88.04 | 194.23 | 0
| 0.708 | 7.4802 | 31.6456 | 1024.7163 | 24.713 | 0.1876 | 8.6091 | 88.253 | 230.31 | 0
| 0.71 | 7.5008 | 31.5965 | 1024.6749 | 24.6716 | 0.1884 | 8.6101 | 88.277 | 194.77 | 0
| 0.713 | 7.5083 | 31.5767 | 1024.6584 | 24.6551 | 0.1785 | 8.6012 | 88.189 | 214.96 | 0
| 0.721 | 7.5099 | 31.543 | 1024.6317 | 24.6283 | 0.1739 | 8.5741 | 87.896 | 229.73 | 0
| 0.738 | 7.5002 | 31.5182 | 1024.6137 | 24.6102 | 0.1754 | 8.5418 | 87.531 | 169.86 | 0
| 0.756 | 7.473 | 31.5952 | 1024.6779 | 24.6744 | 0.1785 | 8.5026 | 87.118 | 210.09 | 0
| 0.758 | 7.4525 | 31.7148 | 1024.7747 | 24.7712 | 0.1701 | 8.4702 | 86.813 | 225.46 | 0
| 0.766 | 7.4465 | 31.7131 | 1024.7742 | 24.7707 | 0.212 | 8.4442 | 86.534 | 191.64 | 0
| 0.764 | 7.4344 | 31.7758 | 1024.8251 | 24.8216 | 0.2128 | 8.4197 | 86.295 | 237.13 | 0
| 0.752 | 7.4283 | 31.781 | 1024.83 | 24.8265 | 0.212 | 8.3949 | 86.032 | 174.24 | 0
| 0.75 | 7.4326 | 31.7535 | 1024.8078 | 24.8043 | 0.212 | 8.3791 | 85.862 | 245.28 | 0
| 0.752 | 7.4353 | 31.726 | 1024.7858 | 24.7823 | 0.1632 | 8.3475 | 85.528 | 210.57 | 0
| 0.759 | 7.433 | 31.7193 | 1024.7809 | 24.7774 | 0.1632 | 8.3157 | 85.194 | 175.95 | 0
| 0.766 | 7.4303 | 31.7309 | 1024.7904 | 24.7869 | 0.1632 | 8.277 | 84.799 | 226.35 | 0
| 0.77 | 7.4301 | 31.7305 | 1024.7901 | 24.7865 | 0.1624 | 8.2335 | 84.353 | 192.71 | 0
| 0.774 | 7.4294 | 31.7547 | 1024.8093 | 24.8057 | 0.1876 | 8.1938 | 83.958 | 166.94 | 0
| 0.773 | 7.4305 | 31.8116 | 1024.8539 | 24.8503 | 0.1899 | 8.1525 | 83.569 | 228.08 | 0
| 0.762 | 7.436 | 31.8447 | 1024.8791 | 24.8755 | 0.1914 | 8.108 | 83.141 | 179.15 | 0
| 0.744 | 7.4452 | 31.8498 | 1024.8818 | 24.8783 | 0.1861 | 8.0669 | 82.739 | 196.58 | 0
| 0.726 | 7.4693 | 31.8314 | 1024.8639 | 24.8605 | 0.1762 | 8.0376 | 82.475 | 193.11 | 0
| 0.714 | 7.5127 | 31.7643 | 1024.8052 | 24.8019 | 0.1754 | 7.9978 | 82.111 | 187.9 | 0
| 0.717 | 7.5442 | 31.6728 | 1024.7289 | 24.7256 | 0.1762 | 7.9617 | 81.751 | 192.04 | 0
| 0.732 | 7.5505 | 31.5889 | 1024.6623 | 24.6589 | 0.1777 | 7.934 | 81.434 | 164.14 | 0
| 0.754 | 7.5376 | 31.5884 | 1024.6637 | 24.6602 | 0.1998 | 7.9209 | 81.274 | 173.84 | 0
| 0.772 | 7.5176 | 31.6582 | 1024.7214 | 24.7178 | 0.2006 | 7.8894 | 80.951 | 164.07 | 0
| 0.78 | 7.5149 | 31.7308 | 1024.7789 | 24.7753 | 0.2006 | 7.8694 | 80.78 | 188.12 | 0
| 0.776 | 7.5187 | 31.7611 | 1024.8021 | 24.7985 | 0.2006 | 7.8534 | 80.639 | 189.21 | 0
| 0.771 | 7.5124 | 31.7792 | 1024.8172 | 24.8136 | 0.2006 | 7.839 | 80.488 | 177.21 | 0
| 0.761 | 7.515 | 31.7891 | 1024.8245 | 24.821 | 0.2006 | 7.8273 | 80.379 | 187.34 | 0
| 0.757 | 7.5499 | 31.7521 | 1024.7907 | 24.7872 | 0.1991 | 7.813 | 80.276 | 200.72 | 0
| 0.759 | 7.5849 | 31.7008 | 1024.7455 | 24.742 | 0.2021 | 7.803 | 80.21 | 161.91 | 0
| 0.768 | 7.5967 | 31.665 | 1024.7159 | 24.7123 | 0.2258 | 7.7956 | 80.137 | 219.89 | 0
| 0.772 | 7.5896 | 31.6704 | 1024.7211 | 24.7175 | 0.2235 | 7.7995 | 80.167 | 168.77 | 0
| 0.774 | 7.5805 | 31.7327 | 1024.7713 | 24.7677 | 0.2273 | 7.7982 | 80.17 | 196.67 | 0
| 0.757 | 7.5916 | 31.7544 | 1024.7867 | 24.7832 | 0.2258 | 7.7964 | 80.183 | 205.52 | 0
| 0.734 | 7.6246 | 31.7281 | 1024.7614 | 24.758 | 0.212 | 7.7935 | 80.2 | 170.49 | 0
| 0.714 | 7.6739 | 31.6521 | 1024.6948 | 24.6915 | 0.2143 | 7.7833 | 80.145 | 228.35 | 0
| 0.714 | 7.7143 | 31.5432 | 1024.6037 | 24.6004 | 0.2113 | 7.7836 | 80.165 | 174.97 | 0
| 0.731 | 7.7338 | 31.4365 | 1024.5172 | 24.5138 | 0.2128 | 7.7828 | 80.136 | 179.24 | 0
| 0.758 | 7.7074 | 31.4208 | 1024.5087 | 24.5052 | 0.2853 | 7.7937 | 80.192 | 186.39 | 0
| 0.778 | 7.6412 | 31.5158 | 1024.5925 | 24.5889 | 0.2837 | 7.7899 | 80.082 | 149.59 | 0
| 0.786 | 7.5912 | 31.6576 | 1024.7108 | 24.7072 | 0.286 | 7.8083 | 80.254 | 161.61 | 0
| 0.776 | 7.5631 | 31.713 | 1024.7582 | 24.7546 | 0.2853 | 7.8272 | 80.426 | 203.53 | 0
| 0.763 | 7.5426 | 31.7534 | 1024.7927 | 24.7891 | 0.2853 | 7.8463 | 80.606 | 165.55 | 0
| 0.752 | 7.572 | 31.736 | 1024.775 | 24.7715 | 0.2876 | 7.8389 | 80.575 | 158.65 | 0
| 0.744 | 7.6063 | 31.6852 | 1024.7303 | 24.7269 | 0.2853 | 7.8468 | 80.691 | 197.17 | 0
| 0.745 | 7.6205 | 31.6407 | 1024.6933 | 24.6899 | 0.2868 | 7.8568 | 80.797 | 153.62 | 0
| 0.751 | 7.622 | 31.6335 | 1024.6875 | 24.6841 | 0.3333 | 7.8676 | 80.907 | 177.58 | 0
| 0.752 | 7.6244 | 31.6458 | 1024.6969 | 24.6934 | 0.3349 | 7.8908 | 81.157 | 183.05 | 0
| 0.754 | 7.6313 | 31.6533 | 1024.7018 | 24.6983 | 0.3349 | 7.897 | 81.237 | 176.27 | 0
| 0.756 | 7.6415 | 31.6464 | 1024.695 | 24.6915 | 0.3364 | 7.9228 | 81.518 | 186.56 | 0
| 0.762 | 7.6492 | 31.6452 | 1024.693 | 24.6895 | 0.286 | 7.9407 | 81.716 | 166.94 | 0
| 0.767 | 7.6534 | 31.6624 | 1024.7059 | 24.7024 | 0.286 | 7.9678 | 82.011 | 181.24 | 0
| 0.768 | 7.6578 | 31.6841 | 1024.7223 | 24.7188 | 0.2845 | 7.9786 | 82.144 | 194.63 | 0
| 0.762 | 7.6666 | 31.693 | 1024.7281 | 24.7246 | 0.2853 | 7.9909 | 82.291 | 177.46 | 0
| 0.751 | 7.6765 | 31.6917 | 1024.7256 | 24.7222 | 0.2448 | 7.9891 | 82.291 | 191.42 | 0
| 0.741 | 7.6857 | 31.6841 | 1024.7184 | 24.7149 | 0.2486 | 7.9971 | 82.386 | 182.12 | 0
| 0.739 | 7.6993 | 31.6536 | 1024.6925 | 24.6891 | 0.2486 | 7.9913 | 82.335 | 164.41 | 0
| 0.748 | 7.7134 | 31.621 | 1024.665 | 24.6615 | 0.2479 | 7.9718 | 82.143 | 186.34 | 0
| 0.758 | 7.7198 | 31.6097 | 1024.6553 | 24.6518 | 0.2845 | 7.961 | 82.038 | 154.73 | 0
| 0.768 | 7.7232 | 31.6253 | 1024.6671 | 24.6636 | 0.2845 | 7.9374 | 81.809 | 179.61 | 0
| 0.767 | 7.7319 | 31.6466 | 1024.6826 | 24.6791 | 0.2845 | 7.9125 | 81.58 | 178.95 | 0
| 0.762 | 7.7531 | 31.6428 | 1024.6767 | 24.6731 | 0.286 | 7.8844 | 81.327 | 142.65 | 0
| 0.75 | 7.7784 | 31.6237 | 1024.6581 | 24.6546 | 0.3471 | 7.8608 | 81.121 | 184.29 | 0
| 0.74 | 7.8067 | 31.6 | 1024.6355 | 24.6321 | 0.344 | 7.83 | 80.842 | 172.44 | 0
| 0.737 | 7.843 | 31.5684 | 1024.6056 | 24.6021 | 0.3478 | 7.7996 | 80.579 | 164.07 | 0
| 0.738 | 7.8746 | 31.5382 | 1024.5774 | 24.574 | 0.3433 | 7.7747 | 80.364 | 190.09 | 0
| 0.744 | 7.8938 | 31.5148 | 1024.5563 | 24.5529 | 0.2624 | 7.7539 | 80.171 | 156.57 | 0
| 0.755 | 7.8996 | 31.5022 | 1024.5457 | 24.5422 | 0.2624 | 7.7391 | 80.022 | 176.8 | 0
| 0.767 | 7.8964 | 31.507 | 1024.55 | 24.5464 | 0.2593 | 7.734 | 79.966 | 187.6 | 0
| 0.771 | 7.8919 | 31.5301 | 1024.5687 | 24.5652 | 0.2624 | 7.7201 | 79.826 | 170.69 | 0
| 0.767 | 7.8991 | 31.5259 | 1024.5644 | 24.5609 | 0.225 | 7.7123 | 79.756 | 176.6 | 0
| 0.759 | 7.9206 | 31.5067 | 1024.5463 | 24.5428 | 0.2242 | 7.6954 | 79.61 | 174.41 | 0
| 0.75 | 7.9506 | 31.478 | 1024.5195 | 24.516 | 0.2258 | 7.683 | 79.521 | 174.53 | 0
| 0.748 | 7.9814 | 31.444 | 1024.4885 | 24.485 | 0.225 | 7.6572 | 79.292 | 171.48 | 0
| 0.743 | 7.9992 | 31.4327 | 1024.477 | 24.4736 | 0.2494 | 7.6422 | 79.163 | 168.1 | 0
| 0.741 | 8.0108 | 31.4305 | 1024.4736 | 24.4702 | 0.2502 | 7.635 | 79.108 | 173.96 | 0
| 0.743 | 8.0243 | 31.4176 | 1024.4616 | 24.4582 | 0.2502 | 7.6317 | 79.091 | 186.78 | 0
| 0.756 | 8.0341 | 31.3872 | 1024.4364 | 24.4329 | 0.2509 | 7.6327 | 79.103 | 159.53 | 0
| 0.774 | 8.0333 | 31.3621 | 1024.4169 | 24.4133 | 0.2738 | 7.6437 | 79.202 | 191.2 | 0
| 0.789 | 8.0288 | 31.3783 | 1024.4303 | 24.4267 | 0.2715 | 7.6532 | 79.302 | 181.79 | 0
| 0.799 | 8.0267 | 31.409 | 1024.4548 | 24.4511 | 0.2746 | 7.6538 | 79.32 | 161.17 | 0
| 0.804 | 8.0252 | 31.4203 | 1024.4639 | 24.4602 | 0.27 | 7.6604 | 79.391 | 186.3 | 0
| 0.8 | 8.0276 | 31.4187 | 1024.4623 | 24.4586 | 0.2731 | 7.6526 | 79.314 | 216.86 | 0
| 0.791 | 8.0437 | 31.4008 | 1024.4459 | 24.4422 | 0.2395 | 7.6399 | 79.202 | 192.71 | 0
| 0.786 | 8.0664 | 31.3745 | 1024.422 | 24.4183 | 0.2357 | 7.6327 | 79.155 | 191.51 | 0
| 0.783 | 8.0886 | 31.3519 | 1024.4011 | 24.3975 | 0.2372 | 7.6267 | 79.121 | 197.54 | 0
| 0.789 | 8.1034 | 31.3313 | 1024.3828 | 24.3792 | 0.2387 | 7.625 | 79.119 | 209.41 | 0
| 0.806 | 8.107 | 31.3165 | 1024.3708 | 24.3671 | 0.299 | 7.6318 | 79.189 | 204.57 | 0
| 0.828 | 8.1042 | 31.3188 | 1024.3731 | 24.3693 | 0.2952 | 7.6452 | 79.324 | 202.54 | 0
| 0.841 | 8.1036 | 31.3381 | 1024.3884 | 24.3845 | 0.299 | 7.6622 | 79.509 | 208.78 | 0
| 0.838 | 8.1105 | 31.3246 | 1024.3769 | 24.373 | 0.299 | 7.6774 | 79.672 | 216.16 | 0
| 0.817 | 8.1203 | 31.2868 | 1024.3457 | 24.3419 | 0.2479 | 7.6874 | 79.774 | 227.08 | 0
| 0.773 | 8.1283 | 31.2599 | 1024.3233 | 24.3197 | 0.2517 | 7.7003 | 79.908 | 214.11 | 0
| 0.725 | 8.1214 | 31.2575 | 1024.3221 | 24.3188 | 0.2502 | 7.7122 | 80.018 | 229.35 | 0
| 0.711 | 8.1061 | 31.2486 | 1024.3172 | 24.3139 | 0.2502 | 7.7215 | 80.082 | 201.28 | 0
| 0.724 | 8.1052 | 31.2569 | 1024.3239 | 24.3206 | 0.2746 | 7.7322 | 80.196 | 201.79 | 0
| 0.739 | 8.114 | 31.2584 | 1024.3239 | 24.3205 | 0.2754 | 7.7411 | 80.305 | 215.86 | 0
| 0.748 | 8.1171 | 31.2644 | 1024.3283 | 24.3248 | 0.2738 | 7.7611 | 80.521 | 214.36 | 0
| 0.751 | 8.1041 | 31.285 | 1024.3463 | 24.3428 | 0.2723 | 7.8108 | 81.024 | 193.92 | 0
| 0.744 | 8.0899 | 31.2989 | 1024.3592 | 24.3557 | 0.2975 | 7.871 | 81.63 | 203.39 | 0
| 0.729 | 8.0853 | 31.3086 | 1024.3674 | 24.364 | 0.2998 | 7.9325 | 82.264 | 208.73 | 0
| 0.709 | 8.0848 | 31.3116 | 1024.3697 | 24.3664 | 0.2967 | 7.9887 | 82.848 | 202.68 | 0
| 0.693 | 8.0949 | 31.3028 | 1024.3613 | 24.3581 | 0.2982 | 8.0322 | 83.313 | 201.42 | 0
| 0.692 | 8.1032 | 31.2893 | 1024.3495 | 24.3463 | 0.2494 | 8.0685 | 83.697 | 194.63 | 0
| 0.703 | 8.1059 | 31.2812 | 1024.3428 | 24.3396 | 0.2486 | 8.0794 | 83.811 | 232.24 | 0
| 0.712 | 8.1075 | 31.2901 | 1024.3496 | 24.3463 | 0.2494 | 8.0719 | 83.742 | 194 | 0
| 0.71 | 8.109 | 31.2951 | 1024.3533 | 24.35 | 0.2494 | 8.0444 | 83.461 | 210.53 | 0
| 0.702 | 8.1107 | 31.292 | 1024.3506 | 24.3474 | 0.238 | 8.0141 | 83.149 | 208.39 | 0
| 0.69 | 8.1154 | 31.2861 | 1024.3453 | 24.3421 | 0.2395 | 7.984 | 82.842 | 199.79 | 0
| 0.683 | 8.1218 | 31.2818 | 1024.3409 | 24.3377 | 0.2372 | 7.9515 | 82.514 | 179.82 | 0
| 0.681 | 8.1286 | 31.2772 | 1024.3364 | 24.3332 | 0.2349 | 7.9175 | 82.172 | 198.37 | 0
| 0.684 | 8.1336 | 31.2744 | 1024.3335 | 24.3303 | 0.2471 | 7.8813 | 81.804 | 190.97 | 0
| 0.69 | 8.1366 | 31.273 | 1024.332 | 24.3288 | 0.2502 | 7.8535 | 81.52 | 204.47 | 0
| 0.697 | 8.1377 | 31.2736 | 1024.3323 | 24.3291 | 0.2486 | 7.8197 | 81.172 | 176.8 | 0
| 0.702 | 8.1378 | 31.2756 | 1024.3339 | 24.3306 | 0.2456 | 7.7852 | 80.815 | 182.46 | 0
| 0.71 | 8.1369 | 31.2778 | 1024.3357 | 24.3325 | 0.2982 | 7.7482 | 80.43 | 186.52 | 0
| 0.716 | 8.1356 | 31.2826 | 1024.3398 | 24.3365 | 0.2975 | 7.7131 | 80.066 | 194.91 | 0
| 0.71 | 8.1356 | 31.287 | 1024.3431 | 24.3398 | 0.2998 | 7.6802 | 79.726 | 184.29 | 0
| 0.7 | 8.1365 | 31.2916 | 1024.3466 | 24.3433 | 0.2982 | 7.6479 | 79.395 | 217.51 | 0
| 0.69 | 8.1389 | 31.2901 | 1024.345 | 24.3419 | 0.2509 | 7.6166 | 79.074 | 191.2 | 0
| 0.684 | 8.1453 | 31.2741 | 1024.3316 | 24.3284 | 0.2517 | 7.5942 | 78.845 | 196.54 | 0
| 0.692 | 8.1474 | 31.2579 | 1024.3186 | 24.3154 | 0.2494 | 7.5851 | 78.746 | 201.51 | 0
| 0.701 | 8.1468 | 31.2562 | 1024.3174 | 24.3142 | 0.2509 | 7.5805 | 78.696 | 195.72 | 0
| 0.712 | 8.147 | 31.2586 | 1024.3192 | 24.3159 | 0.2761 | 7.5762 | 78.653 | 189.26 | 0
| 0.72 | 8.1468 | 31.2613 | 1024.3214 | 24.3181 | 0.2731 | 7.5893 | 78.79 | 199.29 | 0
| 0.727 | 8.147 | 31.2583 | 1024.3191 | 24.3157 | 0.2746 | 7.6017 | 78.917 | 200.4 | 0
| 0.736 | 8.1463 | 31.2611 | 1024.3214 | 24.318 | 0.2761 | 7.633 | 79.243 | 174.61 | 0
| 0.741 | 8.1456 | 31.2684 | 1024.3273 | 24.3238 | 0.2486 | 7.6642 | 79.569 | 212.04 | 0
| 0.741 | 8.1453 | 31.2763 | 1024.3335 | 24.3301 | 0.2486 | 7.6807 | 79.744 | 198.27 | 0
| 0.74 | 8.1443 | 31.2827 | 1024.3386 | 24.3352 | 0.2486 | 7.6963 | 79.907 | 221.22 | 0
| 0.738 | 8.1425 | 31.2869 | 1024.3422 | 24.3388 | 0.2494 | 7.7099 | 80.047 | 205.9 | 0
| 0.744 | 8.1445 | 31.286 | 1024.3412 | 24.3378 | 0.2876 | 7.7063 | 80.014 | 223.54 | 0
| 0.753 | 8.1496 | 31.2802 | 1024.336 | 24.3325 | 0.2876 | 7.6991 | 79.944 | 225.56 | 0
| 0.766 | 8.1532 | 31.2802 | 1024.3355 | 24.332 | 0.2868 | 7.6776 | 79.728 | 200.44 | 0
| 0.778 | 8.1557 | 31.2802 | 1024.3353 | 24.3317 | 0.2891 | 7.6585 | 79.534 | 230.58 | 0
| 0.78 | 8.1584 | 31.2818 | 1024.3362 | 24.3326 | 0.2738 | 7.6311 | 79.255 | 228.14 | 0
| 0.77 | 8.16 | 31.2849 | 1024.3383 | 24.3347 | 0.2723 | 7.6066 | 79.005 | 196.63 | 0
| 0.754 | 8.1628 | 31.2846 | 1024.3376 | 24.3341 | 0.2746 | 7.5791 | 78.724 | 210.04 | 0
| 0.737 | 8.1696 | 31.2789 | 1024.3321 | 24.3287 | 0.2723 | 7.5522 | 78.455 | 244.26 | 0
| 0.725 | 8.1744 | 31.2638 | 1024.3195 | 24.3161 | 0.2738 | 7.5258 | 78.181 | 178.24 | 0
| 0.728 | 8.1734 | 31.2507 | 1024.3093 | 24.306 | 0.2746 | 7.4955 | 77.857 | 218.02 | 0
| 0.735 | 8.1716 | 31.2372 | 1024.2991 | 24.2957 | 0.2754 | 7.4925 | 77.817 | 192.39 | 0
| 0.748 | 8.1716 | 31.2282 | 1024.2921 | 24.2886 | 0.2738 | 7.4707 | 77.586 | 231.54 | 0
| 0.764 | 8.1711 | 31.2279 | 1024.2919 | 24.2884 | 0.2731 | 7.4702 | 77.579 | 223.54 | 0
| 0.766 | 8.1698 | 31.242 | 1024.3032 | 24.2997 | 0.2723 | 7.4692 | 77.573 | 171.8 | 0
| 0.755 | 8.1679 | 31.2559 | 1024.3143 | 24.3108 | 0.2731 | 7.4794 | 77.683 | 212.29 | 0
| 0.74 | 8.1644 | 31.2546 | 1024.3137 | 24.3103 | 0.2723 | 7.5062 | 77.954 | 227.19 | 0
| 0.738 | 8.1586 | 31.2441 | 1024.3063 | 24.3029 | 0.2609 | 7.5434 | 78.326 | 221.42 | 0
| 0.739 | 8.1541 | 31.2486 | 1024.3105 | 24.3071 | 0.2609 | 7.576 | 78.658 | 191.2 | 0
| 0.733 | 8.1515 | 31.2626 | 1024.3218 | 24.3184 | 0.2624 | 7.6015 | 78.926 | 203.67 | 0
| 0.726 | 8.1493 | 31.0244 | 1024.1354 | 24.132 | 0.2593 | 7.6371 | 79.168 | 205.47 | 0
| 0.72 | 8.0382 | 30.5917 | 1023.8118 | 23.8084 | 0.2738 | 7.658 | 78.963 | 227.08 | 0
| 0.724 | 7.7114 | 30.8448 | 1024.0558 | 24.0524 | 0.2738 | 7.6197 | 78.114 | 197.36 | 0
| 0.723 | 7.4652 | 31.0569 | 1024.2559 | 24.2525 | 0.2754 | 7.5488 | 77.059 | 198.32 | 0
| 0.716 | 7.3375 | 31.1667 | 1024.3593 | 24.356 | 0.2754 | 7.5598 | 77.001 | 214.71 | 0
| 0.691 | 7.2767 | 31.221 | 1024.41 | 24.4068 | 0.3196 | 7.7031 | 78.379 | 233.43 | 0
| 0.666 | 7.2494 | 31.2431 | 1024.4309 | 24.4278 | 0.3341 | 8.0013 | 81.374 | 159.39 | 0
| 0.662 | 7.2368 | 31.2534 | 1024.4406 | 24.4376 | 0.3341 | 8.4113 | 85.526 | 216.31 | 0
| 0.675 | 7.2307 | 31.2578 | 1024.445 | 24.4419 | 0.3341 | 8.9174 | 90.661 | 223.43 | 0
| 0.683 | 7.2278 | 31.2601 | 1024.4472 | 24.4441 | 0.3356 | 9.4678 | 96.253 | 211.11 | 0
| 0.682 | 7.2263 | 31.2614 | 1024.4485 | 24.4453 | 0.2868 | 9.9728 | 101.384 | 230.21 | 0
| 0.678 | 7.2259 | 31.2625 | 1024.4493 | 24.4462 | 0.286 | 10.3712 | 105.434 | 214.11 | 0
| 0.68 | 7.2266 | 31.2629 | 1024.4495 | 24.4464 | 0.2845 | 10.6254 | 108.019 | 228.77 | 0
| 0.69 | 7.2274 | 31.2618 | 1024.4486 | 24.4454 | 0.2845 | 10.7274 | 109.058 | 210.19 | 0
| 0.724 | 7.2284 | 31.2586 | 1024.4461 | 24.4428 | 0.3318 | 10.7487 | 109.275 | 190 | 0
| 0.841 | 7.2278 | 31.2573 | 1024.4458 | 24.4419 | 0.3349 | 10.7149 | 108.929 | 170.3 | 0
| 1.071 | 7.2268 | 31.2555 | 1024.4455 | 24.4405 | 0.3364 | 10.6348 | 108.11 | 163.31 | 0
| 1.378 | 7.2249 | 31.25 | 1024.4429 | 24.4365 | 0.3326 | 10.5657 | 107.399 | 151.23 | 0
| 1.719 | 7.2209 | 31.2502 | 1024.4451 | 24.4371 | 0.2517 | 10.4929 | 106.65 | 139.07 | 0
| 2.078 | 7.2161 | 31.2542 | 1024.4506 | 24.4409 | 0.2494 | 10.4182 | 105.882 | 126.94 | 0
| 2.45 | 7.2137 | 31.2563 | 1024.4543 | 24.4429 | 0.2502 | 10.3574 | 105.259 | 118.02 | 0
| 2.826 | 7.2125 | 31.2569 | 1024.4567 | 24.4435 | 0.2509 | 10.3075 | 104.75 | 111.87 | 0
| 3.209 | 7.212 | 31.2567 | 1024.4584 | 24.4435 | 0.2876 | 10.2511 | 104.175 | 106.41 | 0
| 3.59 | 7.2119 | 31.2567 | 1024.4602 | 24.4435 | 0.2845 | 10.1889 | 103.543 | 101.25 | 0
| 3.962 | 7.2122 | 31.2549 | 1024.4605 | 24.442 | 0.2868 | 10.1644 | 103.293 | 97.519 | 0
| 4.297 | 7.2118 | 31.2495 | 1024.4578 | 24.4378 | 0.286 | 10.134 | 102.98 | 93.842 | 0
| 4.671 | 7.2093 | 31.2505 | 1024.4607 | 24.439 | 0.3463 | 10.1145 | 102.776 | 89.141 | 0
| 5.055 | 7.2061 | 31.2495 | 1024.4621 | 24.4386 | 0.3486 | 10.0903 | 102.523 | 84.342 | 0
| 5.447 | 7.2033 | 31.2496 | 1024.4644 | 24.439 | 0.3486 | 10.0758 | 102.368 | 79.231 | 0
| 5.838 | 7.2002 | 31.2522 | 1024.4686 | 24.4415 | 0.3463 | 10.0693 | 102.297 | 74.517 | 0
| 6.236 | 7.1986 | 31.2554 | 1024.4733 | 24.4442 | 0.4218 | 10.0554 | 102.155 | 70.066 | 0
| 6.634 | 7.1982 | 31.2567 | 1024.4761 | 24.4453 | 0.4211 | 10.0402 | 102 | 65.714 | 0
| 7.03 | 7.1989 | 31.2538 | 1024.4757 | 24.443 | 0.418 | 10.0085 | 101.677 | 61.646 | 0
| 7.425 | 7.1983 | 31.2432 | 1024.4692 | 24.4346 | 0.4203 | 9.9965 | 101.546 | 57.857 | 0
| 7.822 | 7.193 | 31.2437 | 1024.4722 | 24.4358 | 0.5187 | 9.9889 | 101.458 | 54.075 | 0
| 8.229 | 7.1866 | 31.2536 | 1024.4827 | 24.4444 | 0.5172 | 9.9865 | 101.425 | 50.563 | 0
| 8.621 | 7.1842 | 31.2536 | 1024.4848 | 24.4447 | 0.5157 | 9.9819 | 101.373 | 47.313 | 0
| 9.017 | 7.1824 | 31.2541 | 1024.4873 | 24.4454 | 0.518 | 9.9813 | 101.362 | 44.22 | 0
| 9.406 | 7.1804 | 31.2558 | 1024.4907 | 24.447 | 0.5668 | 9.992 | 101.468 | 41.358 | 0
| 9.803 | 7.179 | 31.2552 | 1024.4923 | 24.4467 | 0.5653 | 9.9935 | 101.479 | 38.601 | 0
| 10.193 | 7.1772 | 31.2543 | 1024.4936 | 24.4462 | 0.5645 | 9.9932 | 101.471 | 36.028 | 0
| 10.576 | 7.1745 | 31.2565 | 1024.4975 | 24.4483 | 0.5676 | 9.9893 | 101.427 | 33.649 | 0
| 10.971 | 7.1722 | 31.2591 | 1024.5017 | 24.4506 | 0.5294 | 9.9913 | 101.443 | 31.457 | 0
| 11.354 | 7.1711 | 31.2589 | 1024.5035 | 24.4506 | 0.5294 | 9.9821 | 101.347 | 29.401 | 0
| 11.739 | 7.1703 | 31.2491 | 1024.4976 | 24.443 | 0.5294 | 9.983 | 101.348 | 27.447 | 0
| 12.132 | 7.1645 | 31.2451 | 1024.4971 | 24.4406 | 0.5302 | 9.9799 | 101.301 | 25.564 | 0
| 12.542 | 7.1552 | 31.2435 | 1024.499 | 24.4406 | 0.5035 | 9.9784 | 101.263 | 23.788 | 0
| 12.955 | 7.1452 | 31.2437 | 1024.5024 | 24.4421 | 0.5042 | 9.971 | 101.164 | 22.115 | 0
| 13.347 | 7.1324 | 31.2408 | 1024.5036 | 24.4414 | 0.5042 | 9.972 | 101.143 | 20.559 | 0
| 13.743 | 7.1179 | 31.2461 | 1024.5115 | 24.4475 | 0.5058 | 9.962 | 101.011 | 19.118 | 0
| 14.138 | 7.1043 | 31.2602 | 1024.5262 | 24.4604 | 0.4348 | 9.9581 | 100.95 | 17.777 | 0
| 14.531 | 7.096 | 31.2595 | 1024.5286 | 24.461 | 0.4318 | 9.9525 | 100.872 | 16.577 | 0
| 14.907 | 7.0895 | 31.2664 | 1024.5367 | 24.4673 | 0.4318 | 9.9445 | 100.782 | 15.479 | 0
| 15.267 | 7.0844 | 31.2472 | 1024.5239 | 24.4528 | 0.4363 | 9.942 | 100.731 | 14.47 | 0
| 15.605 | 7.0698 | 31.2522 | 1024.5313 | 24.4587 | 0.4028 | 9.9433 | 100.714 | 13.603 | 0
| 15.933 | 7.0517 | 31.2619 | 1024.5428 | 24.4686 | 0.4089 | 9.9481 | 100.727 | 12.755 | 0
| 16.265 | 7.0378 | 31.2733 | 1024.5552 | 24.4795 | 0.4051 | 9.9452 | 100.673 | 11.91 | 0
| 16.486 | 7.0292 | 31.2814 | 1024.5637 | 24.487 | 0.4104 | 9.9461 | 100.667 | 11.891 | 0
| 16.531 | 7.0244 | 31.2864 | 1024.5685 | 24.4915 | 0.3852 | 9.942 | 100.618 | 11.858 | 0
| 16.535 | 7.0225 | 31.2876 | 1024.5697 | 24.4928 | 0.3829 | 9.9498 | 100.694 | 11.863 | 0
| 16.504 | 7.0224 | 31.2912 | 1024.5724 | 24.4956 | 0.3822 | 9.9443 | 100.64 | 12.068 | 0
| 16.398 | 7.0238 | 31.2946 | 1024.5744 | 24.498 | 0.3829 | 9.9509 | 100.712 | 12.492 | 0
| 16.2 | 7.0278 | 31.2947 | 1024.5731 | 24.4976 | 0.3791 | 9.9549 | 100.762 | 13.154 | 0
| 15.963 | 7.0331 | 31.2917 | 1024.5689 | 24.4945 | 0.3837 | 9.9563 | 100.786 | 13.774 | 0
| 15.735 | 7.0407 | 31.294 | 1024.5686 | 24.4954 | 0.3845 | 9.9579 | 100.822 | 14.36 | 0
| 15.5 | 7.0494 | 31.2876 | 1024.5613 | 24.4892 | 0.3814 | 9.958 | 100.839 | 15.062 | 0
| 15.267 | 7.0549 | 31.2729 | 1024.548 | 24.4769 | 0.3845 | 9.9656 | 100.919 | 15.663 | 0
| 15.073 | 7.0577 | 31.2816 | 1024.5535 | 24.4834 | 0.3852 | 9.9699 | 100.975 | 16.119 | 0
| 14.896 | 7.0593 | 31.2802 | 1024.5514 | 24.4821 | 0.3822 | 9.9806 | 101.086 | 16.65 | 0
| 14.723 | 7.0604 | 31.2821 | 1024.552 | 24.4835 | 0.3822 | 9.9827 | 101.111 | 17.183 | 0
| 14.573 | 7.0627 | 31.2833 | 1024.552 | 24.4841 | 0.4081 | 9.986 | 101.151 | 17.556 | 0
| 14.436 | 7.0665 | 31.2799 | 1024.5481 | 24.4809 | 0.4089 | 10.0007 | 101.306 | 18.089 | 0
| 14.278 | 7.0691 | 31.2773 | 1024.545 | 24.4785 | 0.4104 | 10.0019 | 101.322 | 18.706 | 0
| 14.102 | 7.0702 | 31.2794 | 1024.5457 | 24.4801 | 0.4066 | 10.0021 | 101.329 | 19.26 | 0
| 13.959 | 7.0724 | 31.2795 | 1024.5448 | 24.4798 | 0.4089 | 10.0089 | 101.403 | 19.593 | 0
| 13.859 | 7.075 | 31.2785 | 1024.5432 | 24.4787 | 0.4058 | 10.0018 | 101.336 | 19.816 | 0
| 13.804 | 7.0772 | 31.2746 | 1024.5396 | 24.4753 | 0.4066 | 10.016 | 101.483 | 19.876 | 0
| 13.787 | 7.0778 | 31.274 | 1024.5389 | 24.4748 | 0.4096 | 10.0219 | 101.543 | 19.844 | 0
| 13.785 | 7.0779 | 31.2721 | 1024.5374 | 24.4733 | 0.4196 | 10.0251 | 101.575 | 19.826 | 0
| 13.785 | 7.0772 | 31.2718 | 1024.5373 | 24.4731 | 0.4226 | 10.0298 | 101.62 | 19.821 | 0
| 13.77 | 7.0763 | 31.2723 | 1024.5377 | 24.4736 | 0.4196 | 10.0455 | 101.777 | 19.996 | 0
| 13.748 | 7.0754 | 31.2731 | 1024.5384 | 24.4744 | 0.4211 | 10.0471 | 101.793 | 19.941 | 0
| 13.762 | 7.0749 | 31.2733 | 1024.5387 | 24.4746 | 0.4211 | 10.0508 | 101.829 | 19.789 | 0
| 13.777 | 7.0746 | 31.2742 | 1024.5395 | 24.4754 | 0.4333 | 10.0499 | 101.819 | 19.881 | 0
| 13.767 | 7.0747 | 31.2744 | 1024.5396 | 24.4755 | 0.4325 | 10.0418 | 101.738 | 19.913 | 0
| 13.761 | 7.0752 | 31.275 | 1024.54 | 24.4759 | 0.431 | 10.0485 | 101.807 | 19.853 | 0
| 13.768 | 7.0758 | 31.274 | 1024.5391 | 24.475 | 0.4295 | 10.043 | 101.753 | 19.844 | 0
| 13.756 | 7.0761 | 31.2739 | 1024.539 | 24.4749 | 0.3959 | 10.0418 | 101.741 | 20.029 | 0
| 13.727 | 7.0761 | 31.2749 | 1024.5396 | 24.4757 | 0.3951 | 10.0392 | 101.715 | 20.112 | 0
| 13.702 | 7.077 | 31.2749 | 1024.5394 | 24.4756 | 0.3959 | 10.0443 | 101.769 | 20.098 | 0
| 13.696 | 7.0778 | 31.2741 | 1024.5386 | 24.4749 | 0.3974 | 10.0484 | 101.812 | 20.121 | 0
| 13.689 | 7.0781 | 31.2735 | 1024.5381 | 24.4743 | 0.4318 | 10.0541 | 101.87 | 20.112 | 0
| 13.684 | 7.0781 | 31.2732 | 1024.5378 | 24.4741 | 0.4318 | 10.056 | 101.889 | 20.131 | 0
| 13.682 | 7.0784 | 31.2715 | 1024.5364 | 24.4727 | 0.4318 | 10.0581 | 101.91 | 20.131 | 0
| 13.687 | 7.0786 | 31.2723 | 1024.537 | 24.4733 | 0.4325 | 10.0622 | 101.953 | 20.061 | 0
| 13.695 | 7.0785 | 31.2725 | 1024.5372 | 24.4735 | 0.4325 | 10.0603 | 101.933 | 20.029 | 0
| 13.709 | 7.0783 | 31.2729 | 1024.5377 | 24.4739 | 0.4318 | 10.0609 | 101.939 | 19.973 | 0
| 13.715 | 7.0785 | 31.274 | 1024.5386 | 24.4747 | 0.4318 | 10.0507 | 101.836 | 20.005 | 0
| 13.711 | 7.0792 | 31.2738 | 1024.5383 | 24.4744 | 0.4333 | 10.049 | 101.821 | 20.038 | 0
| 13.71 | 7.0801 | 31.2736 | 1024.538 | 24.4742 | 0.431 | 10.0456 | 101.789 | 19.987 | 0
| 13.719 | 7.081 | 31.2728 | 1024.5372 | 24.4734 | 0.4325 | 10.0452 | 101.786 | 19.95 | 0
| 13.726 | 7.0819 | 31.2695 | 1024.5346 | 24.4707 | 0.4348 | 10.0487 | 101.821 | 19.931 | 0
| 13.726 | 7.0808 | 31.2699 | 1024.5351 | 24.4712 | 0.4333 | 10.0526 | 101.859 | 20.005 | 0
| 13.716 | 7.0793 | 31.2733 | 1024.5379 | 24.474 | 0.4455 | 10.0539 | 101.87 | 20.019 | 0
| 13.709 | 7.0798 | 31.2739 | 1024.5382 | 24.4744 | 0.4455 | 10.0573 | 101.906 | 20.047 | 0
| 13.702 | 7.0807 | 31.273 | 1024.5374 | 24.4736 | 0.4447 | 10.061 | 101.945 | 20.075 | 0
| 13.696 | 7.0812 | 31.2726 | 1024.537 | 24.4732 | 0.4455 | 10.0638 | 101.975 | 20.066 | 0
| 13.699 | 7.0816 | 31.2729 | 1024.5372 | 24.4734 | 0.4798 | 10.0665 | 102.003 | 20.005 | 0
| 13.717 | 7.082 | 31.2789 | 1024.5419 | 24.478 | 0.4791 | 10.069 | 102.034 | 19.904 | 0
| 13.747 | 7.0854 | 31.285 | 1024.5464 | 24.4824 | 0.4806 | 10.0658 | 102.014 | 19.83 | 0
| 13.758 | 7.0936 | 31.2787 | 1024.5405 | 24.4764 | 0.4798 | 10.0758 | 102.13 | 19.83 | 0
| 13.761 | 7.1003 | 31.2724 | 1024.5346 | 24.4705 | 0.4333 | 10.0823 | 102.207 | 19.885 | 0
| 13.749 | 7.1034 | 31.2693 | 1024.5317 | 24.4677 | 0.4356 | 10.0853 | 102.243 | 19.978 | 0
| 13.73 | 7.1046 | 31.2668 | 1024.5295 | 24.4656 | 0.4325 | 10.0925 | 102.317 | 20.042 | 0
| 13.713 | 7.1044 | 31.266 | 1024.5288 | 24.465 | 0.4325 | 10.0951 | 102.342 | 20.052 | 0
| 13.716 | 7.1034 | 31.2668 | 1024.5296 | 24.4658 | 0.4463 | 10.0984 | 102.374 | 19.973 | 0
| 13.729 | 7.1027 | 31.2702 | 1024.5324 | 24.4685 | 0.4447 | 10.1009 | 102.4 | 19.922 | 0
| 13.748 | 7.1036 | 31.2687 | 1024.5312 | 24.4672 | 0.444 | 10.1015 | 102.407 | 19.867 | 0
| 13.756 | 7.1045 | 31.2687 | 1024.5311 | 24.4671 | 0.444 | 10.095 | 102.344 | 19.853 | 0
| 13.764 | 7.1052 | 31.2692 | 1024.5315 | 24.4674 | 0.4424 | 10.0931 | 102.326 | 19.821 | 0
| 13.766 | 7.1062 | 31.2687 | 1024.5309 | 24.4669 | 0.4424 | 10.0984 | 102.381 | 19.83 | 0
| 13.761 | 7.1074 | 31.2682 | 1024.5304 | 24.4663 | 0.4424 | 10.0999 | 102.399 | 19.876 | 0
| 13.751 | 7.1081 | 31.2676 | 1024.5298 | 24.4658 | 0.4447 | 10.0988 | 102.39 | 19.913 | 0
| 13.738 | 7.1087 | 31.2654 | 1024.5279 | 24.464 | 0.4913 | 10.0979 | 102.38 | 19.964 | 0
| 13.73 | 7.1081 | 31.266 | 1024.5284 | 24.4645 | 0.4928 | 10.1071 | 102.472 | 19.982 | 0
| 13.728 | 7.1073 | 31.2647 | 1024.5274 | 24.4636 | 0.4905 | 10.1065 | 102.464 | 19.954 | 0
| 13.736 | 7.1061 | 31.2643 | 1024.5274 | 24.4634 | 0.4951 | 10.1116 | 102.513 | 19.927 | 0
| 13.746 | 7.1045 | 31.2646 | 1024.5278 | 24.4638 | 0.4821 | 10.1075 | 102.467 | 19.83 | 0
| 13.761 | 7.1028 | 31.2651 | 1024.5285 | 24.4645 | 0.4798 | 10.1037 | 102.426 | 19.789 | 0
| 13.765 | 7.1014 | 31.2686 | 1024.5315 | 24.4674 | 0.4813 | 10.1053 | 102.441 | 19.803 | 0
| 13.77 | 7.1014 | 31.268 | 1024.531 | 24.4669 | 0.4813 | 10.098 | 102.366 | 19.812 | 0
| 13.766 | 7.1018 | 31.2697 | 1024.5323 | 24.4682 | 0.4562 | 10.0952 | 102.339 | 19.816 | 0
| 13.761 | 7.1028 | 31.2699 | 1024.5323 | 24.4683 | 0.4562 | 10.0858 | 102.247 | 19.793 | 0
| 13.767 | 7.1039 | 31.2667 | 1024.5297 | 24.4656 | 0.4562 | 10.0842 | 102.231 | 19.766 | 0
| 13.783 | 7.104 | 31.2643 | 1024.5279 | 24.4637 | 0.4577 | 10.0859 | 102.247 | 19.625 | 0
| 13.807 | 7.1025 | 31.2641 | 1024.528 | 24.4637 | 0.4676 | 10.0862 | 102.247 | 19.57 | 0
| 13.83 | 7.1008 | 31.2681 | 1024.5315 | 24.4671 | 0.4707 | 10.0891 | 102.274 | 19.498 | 0
| 13.838 | 7.1007 | 31.2719 | 1024.5346 | 24.4701 | 0.4691 | 10.0959 | 102.346 | 19.543 | 0
| 13.824 | 7.103 | 31.2703 | 1024.5329 | 24.4685 | 0.4669 | 10.0971 | 102.363 | 19.684 | 0
| 13.784 | 7.1049 | 31.2665 | 1024.5295 | 24.4654 | 0.4813 | 10.1001 | 102.395 | 19.913 | 0
| 13.712 | 7.105 | 31.2684 | 1024.5306 | 24.4668 | 0.4813 | 10.1063 | 102.459 | 20.22 | 0
| 13.627 | 7.1055 | 31.271 | 1024.5322 | 24.4688 | 0.4798 | 10.1083 | 102.482 | 20.602 | 0
| 13.535 | 7.1071 | 31.2703 | 1024.531 | 24.468 | 0.4806 | 10.1057 | 102.459 | 20.91 | 0
| 13.445 | 7.1087 | 31.2678 | 1024.5284 | 24.4659 | 0.4554 | 10.1027 | 102.43 | 21.242 | 0
| 13.368 | 7.109 | 31.268 | 1024.5282 | 24.466 | 0.4569 | 10.108 | 102.486 | 21.499 | 0
| 13.3 | 7.1093 | 31.2684 | 1024.5281 | 24.4662 | 0.4562 | 10.1042 | 102.448 | 21.724 | 0
| 13.237 | 7.1099 | 31.2685 | 1024.5278 | 24.4662 | 0.4577 | 10.1043 | 102.45 | 22.018 | 0
| 13.162 | 7.1106 | 31.268 | 1024.527 | 24.4657 | 0.4577 | 10.1064 | 102.473 | 22.31 | 0
| 13.082 | 7.111 | 31.269 | 1024.5274 | 24.4665 | 0.4554 | 10.1094 | 102.505 | 22.706 | 0
| 12.992 | 7.112 | 31.2682 | 1024.5262 | 24.4657 | 0.4585 | 10.1154 | 102.567 | 23.099 | 0
| 12.893 | 7.1132 | 31.2681 | 1024.5255 | 24.4655 | 0.4577 | 10.1223 | 102.64 | 23.52 | 0
| 12.791 | 7.1142 | 31.2682 | 1024.525 | 24.4654 | 0.4699 | 10.1239 | 102.659 | 23.981 | 0
| 12.685 | 7.1153 | 31.2667 | 1024.5231 | 24.4641 | 0.4691 | 10.1221 | 102.643 | 24.469 | 0
| 12.583 | 7.116 | 31.2664 | 1024.5223 | 24.4638 | 0.4684 | 10.1233 | 102.656 | 24.915 | 0
| 12.481 | 7.1162 | 31.2652 | 1024.5209 | 24.4628 | 0.4669 | 10.1202 | 102.624 | 25.363 | 0
| 12.388 | 7.116 | 31.2648 | 1024.5202 | 24.4625 | 0.4661 | 10.1117 | 102.537 | 25.772 | 0
| 12.3 | 7.1156 | 31.2656 | 1024.5204 | 24.4632 | 0.4806 | 10.1081 | 102.5 | 26.169 | 0
| 12.217 | 7.1156 | 31.266 | 1024.5204 | 24.4635 | 0.4821 | 10.1068 | 102.487 | 26.572 | 0
| 12.132 | 7.116 | 31.2673 | 1024.5209 | 24.4645 | 0.4806 | 10.1055 | 102.476 | 26.931 | 0
| 12.051 | 7.1168 | 31.2676 | 1024.5207 | 24.4646 | 0.4791 | 10.1085 | 102.509 | 27.358 | 0
| 11.959 | 7.1181 | 31.2689 | 1024.5211 | 24.4655 | 0.5538 | 10.1177 | 102.605 | 27.824 | 0
| 11.861 | 7.1204 | 31.2701 | 1024.5213 | 24.4661 | 0.5531 | 10.1184 | 102.62 | 28.358 | 0
| 11.764 | 7.1238 | 31.271 | 1024.5211 | 24.4664 | 0.5523 | 10.1235 | 102.679 | 28.814 | 0
| 11.67 | 7.1279 | 31.2687 | 1024.5183 | 24.464 | 0.55 | 10.1219 | 102.671 | 29.333 | 0
| 11.579 | 7.1316 | 31.2677 | 1024.5167 | 24.4628 | 0.5431 | 10.1226 | 102.686 | 29.722 | 0
| 11.491 | 7.135 | 31.2665 | 1024.5148 | 24.4613 | 0.5416 | 10.1381 | 102.851 | 30.264 | 0
| 11.405 | 7.1378 | 31.2662 | 1024.5138 | 24.4607 | 0.5393 | 10.1257 | 102.732 | 30.701 | 0
| 11.312 | 7.1406 | 31.2637 | 1024.5111 | 24.4584 | 0.5416 | 10.1649 | 103.135 | 31.275 | 0
| 11.217 | 7.1426 | 31.2613 | 1024.5085 | 24.4563 | 0.5309 | 10.1727 | 103.217 | 31.875 | 0
| 11.115 | 7.1433 | 31.2607 | 1024.5074 | 24.4557 | 0.5287 | 10.1354 | 102.839 | 32.381 | 0
| 11.016 | 7.1436 | 31.2612 | 1024.5073 | 24.456 | 0.5287 | 10.1336 | 102.822 | 33.032 | 0
| 10.919 | 7.1441 | 31.2623 | 1024.5077 | 24.4569 | 0.5302 | 10.1362 | 102.85 | 33.548 | 0
| 10.829 | 7.145 | 31.2617 | 1024.5067 | 24.4563 | 0.5294 | 10.1395 | 102.885 | 34.009 | 0
| 10.749 | 7.146 | 31.2619 | 1024.5063 | 24.4563 | 0.5302 | 10.1358 | 102.851 | 34.469 | 0
| 10.674 | 7.147 | 31.2613 | 1024.5054 | 24.4557 | 0.5294 | 10.138 | 102.875 | 34.862 | 0
| 10.603 | 7.148 | 31.2608 | 1024.5045 | 24.4551 | 0.5279 | 10.126 | 102.755 | 35.317 | 0
| 10.524 | 7.1484 | 31.2614 | 1024.5046 | 24.4556 | 0.5309 | 10.135 | 102.848 | 35.828 | 0
| 10.436 | 7.1492 | 31.2627 | 1024.505 | 24.4565 | 0.5294 | 10.1485 | 102.987 | 36.506 | 0
| 10.335 | 7.1506 | 31.2625 | 1024.5042 | 24.4561 | 0.5294 | 10.1639 | 103.147 | 37.171 | 0
| 10.228 | 7.1526 | 31.2638 | 1024.5045 | 24.4569 | 0.5309 | 10.1445 | 102.956 | 37.998 | 0
| 10.119 | 7.1552 | 31.2638 | 1024.5036 | 24.4565 | 0.5088 | 10.1403 | 102.92 | 38.735 | 0
| 10.017 | 7.158 | 31.2624 | 1024.5017 | 24.4551 | 0.5058 | 10.1297 | 102.818 | 39.368 | 0
| 9.928 | 7.1605 | 31.2595 | 1024.4987 | 24.4525 | 0.505 | 10.1284 | 102.809 | 39.91 | 0
| 9.847 | 7.1615 | 31.26 | 1024.4986 | 24.4528 | 0.5081 | 10.1597 | 103.129 | 40.524 | 0
| 9.77 | 7.1625 | 31.2617 | 1024.4994 | 24.454 | 0.5294 | 10.1462 | 102.995 | 41.034 | 0
| 9.69 | 7.1644 | 31.262 | 1024.499 | 24.4539 | 0.5294 | 10.1143 | 102.676 | 41.569 | 0
| 9.604 | 7.1665 | 31.2599 | 1024.4967 | 24.452 | 0.5294 | 10.1268 | 102.807 | 42.219 | 0
| 9.515 | 7.168 | 31.2602 | 1024.4963 | 24.452 | 0.5287 | 10.1363 | 102.907 | 42.899 | 0
| 9.42 | 7.1694 | 31.2595 | 1024.4951 | 24.4513 | 0.5546 | 10.1344 | 102.89 | 43.681 | 0
| 9.326 | 7.1712 | 31.2581 | 1024.4934 | 24.45 | 0.5546 | 10.1436 | 102.987 | 44.364 | 0
| 9.232 | 7.1721 | 31.2576 | 1024.4924 | 24.4495 | 0.5538 | 10.1447 | 103 | 45.099 | 0
| 9.136 | 7.1729 | 31.2574 | 1024.4917 | 24.4492 | 0.5546 | 10.15 | 103.056 | 45.836 | 0
| 9.043 | 7.1735 | 31.2579 | 1024.4916 | 24.4495 | 0.55 | 10.1575 | 103.133 | 46.563 | 0
| 8.952 | 7.1743 | 31.2571 | 1024.4905 | 24.4488 | 0.55 | 10.1644 | 103.205 | 47.357 | 0
| 8.86 | 7.1749 | 31.2573 | 1024.49 | 24.4488 | 0.5561 | 10.1571 | 103.133 | 48.13 | 0
| 8.767 | 7.1757 | 31.2573 | 1024.4895 | 24.4487 | 0.5531 | 10.1565 | 103.128 | 48.894 | 0
| 8.672 | 7.1764 | 31.2575 | 1024.4892 | 24.4488 | 0.5668 | 10.1559 | 103.124 | 49.705 | 0
| 8.572 | 7.1771 | 31.2571 | 1024.4883 | 24.4484 | 0.563 | 10.1465 | 103.03 | 50.446 | 0
| 8.478 | 7.1778 | 31.2565 | 1024.4873 | 24.4478 | 0.5683 | 10.152 | 103.087 | 51.188 | 0
| 8.388 | 7.1783 | 31.257 | 1024.4872 | 24.4482 | 0.5668 | 10.1439 | 103.006 | 51.964 | 0
| 8.302 | 7.179 | 31.2565 | 1024.4863 | 24.4477 | 0.6034 | 10.1545 | 103.116 | 52.605 | 0
| 8.217 | 7.1798 | 31.2562 | 1024.4856 | 24.4474 | 0.6034 | 10.1584 | 103.156 | 53.317 | 0
| 8.13 | 7.1803 | 31.2562 | 1024.4851 | 24.4473 | 0.6011 | 10.1609 | 103.183 | 54.137 | 0
| 8.044 | 7.1808 | 31.256 | 1024.4845 | 24.447 | 0.6011 | 10.1703 | 103.279 | 54.958 | 0
| 7.953 | 7.1813 | 31.256 | 1024.4839 | 24.4469 | 0.5172 | 10.1647 | 103.224 | 55.908 | 0
| 7.86 | 7.1819 | 31.2561 | 1024.4836 | 24.447 | 0.518 | 10.1652 | 103.23 | 56.874 | 0
| 7.761 | 7.1826 | 31.2558 | 1024.4828 | 24.4467 | 0.5172 | 10.1605 | 103.184 | 57.83 | 0
| 7.664 | 7.183 | 31.2568 | 1024.483 | 24.4474 | 0.518 | 10.167 | 103.252 | 58.775 | 0
| 7.563 | 7.184 | 31.256 | 1024.4818 | 24.4467 | 0.5546 | 10.1577 | 103.16 | 59.652 | 0
| 7.467 | 7.1846 | 31.2559 | 1024.4812 | 24.4464 | 0.5576 | 10.1588 | 103.172 | 60.501 | 0
| 7.376 | 7.1852 | 31.2556 | 1024.4805 | 24.4462 | 0.5554 | 10.1605 | 103.19 | 61.347 | 0
| 7.292 | 7.1856 | 31.2547 | 1024.4793 | 24.4454 | 0.5515 | 10.157 | 103.155 | 62.162 | 0
| 7.208 | 7.1859 | 31.2538 | 1024.4781 | 24.4446 | 0.6149 | 10.168 | 103.267 | 62.842 | 0
| 7.127 | 7.1856 | 31.2534 | 1024.4776 | 24.4444 | 0.6133 | 10.1654 | 103.24 | 63.603 | 0
| 7.045 | 7.1852 | 31.2525 | 1024.4765 | 24.4437 | 0.6118 | 10.169 | 103.275 | 64.448 | 0
| 6.951 | 7.1844 | 31.2515 | 1024.4754 | 24.443 | 0.6118 | 10.1635 | 103.216 | 65.425 | 0
| 6.856 | 7.1832 | 31.2517 | 1024.4753 | 24.4434 | 0.579 | 10.1651 | 103.23 | 66.433 | 0
| 6.758 | 7.1825 | 31.2544 | 1024.477 | 24.4456 | 0.5775 | 10.1599 | 103.177 | 67.362 | 0
| 6.659 | 7.1829 | 31.2565 | 1024.4781 | 24.4471 | 0.5767 | 10.1579 | 103.159 | 68.447 | 0
| 6.554 | 7.1842 | 31.2557 | 1024.4768 | 24.4463 | 0.5782 | 10.1456 | 103.036 | 69.517 | 0
| 6.451 | 7.1856 | 31.2544 | 1024.4752 | 24.4452 | 0.5546 | 10.1433 | 103.015 | 70.734 | 0
| 6.355 | 7.1864 | 31.2538 | 1024.4741 | 24.4446 | 0.5554 | 10.144 | 103.024 | 71.773 | 0
| 6.265 | 7.1868 | 31.2538 | 1024.4737 | 24.4445 | 0.5493 | 10.143 | 103.014 | 72.777 | 0
| 6.185 | 7.1873 | 31.2527 | 1024.4724 | 24.4436 | 0.5531 | 10.151 | 103.097 | 73.353 | 0
| 6.112 | 7.1873 | 31.2536 | 1024.4728 | 24.4443 | 0.5424 | 10.1567 | 103.156 | 74.018 | 0
| 6.035 | 7.1878 | 31.2533 | 1024.4721 | 24.444 | 0.5393 | 10.1605 | 103.195 | 74.672 | 0
| 5.957 | 7.1878 | 31.2526 | 1024.4712 | 24.4435 | 0.5424 | 10.1718 | 103.31 | 75.646 | 0
| 5.865 | 7.188 | 31.2522 | 1024.4704 | 24.4431 | 0.5424 | 10.1701 | 103.292 | 76.315 | 0
| 5.767 | 7.1879 | 31.2536 | 1024.4711 | 24.4442 | 0.5393 | 10.1709 | 103.301 | 77.185 | 0
| 5.665 | 7.1885 | 31.2537 | 1024.4706 | 24.4443 | 0.5058 | 10.1677 | 103.27 | 78.265 | 0
| 5.558 | 7.1894 | 31.2531 | 1024.4695 | 24.4436 | 0.5027 | 10.1667 | 103.261 | 79.673 | 0
| 5.456 | 7.1899 | 31.2536 | 1024.4693 | 24.444 | 0.5058 | 10.168 | 103.277 | 80.731 | 0
| 5.355 | 7.1905 | 31.2536 | 1024.4688 | 24.4439 | 0.5027 | 10.1707 | 103.306 | 81.898 | 0
| 5.264 | 7.1914 | 31.253 | 1024.4678 | 24.4433 | 0.518 | 10.1683 | 103.282 | 82.794 | 0
| 5.177 | 7.1918 | 31.2527 | 1024.4671 | 24.443 | 0.5142 | 10.1757 | 103.358 | 83.623 | 0
| 5.096 | 7.1922 | 31.2529 | 1024.4668 | 24.4431 | 0.5142 | 10.1783 | 103.385 | 84.342 | 0
| 5.018 | 7.1927 | 31.2523 | 1024.4659 | 24.4426 | 0.5172 | 10.1821 | 103.425 | 85.048 | 0
| 4.936 | 7.193 | 31.2525 | 1024.4657 | 24.4427 | 0.5012 | 10.1804 | 103.408 | 85.919 | 0
| 4.854 | 7.1933 | 31.2515 | 1024.4644 | 24.4418 | 0.5035 | 10.1845 | 103.451 | 86.318 | 0
| 4.767 | 7.1931 | 31.2517 | 1024.4642 | 24.442 | 0.505 | 10.1781 | 103.385 | 86.638 | 0
| 4.67 | 7.1931 | 31.2525 | 1024.4644 | 24.4427 | 0.5042 | 10.1765 | 103.369 | 88.258 | 0
| 4.567 | 7.1937 | 31.252 | 1024.4634 | 24.4422 | 0.5164 | 10.1653 | 103.256 | 89.658 | 0
| 4.462 | 7.194 | 31.2518 | 1024.4627 | 24.442 | 0.5164 | 10.1645 | 103.249 | 91.186 | 0
| 4.36 | 7.1939 | 31.2523 | 1024.4627 | 24.4424 | 0.5157 | 10.1651 | 103.255 | 92.44 | 0
| 4.263 | 7.1941 | 31.2474 | 1024.4583 | 24.4385 | 0.518 | 10.1704 | 103.306 | 92.805 | 0
| 4.18 | 7.1944 | 31.251 | 1024.4608 | 24.4413 | 0.4676 | 10.1721 | 103.326 | 93.56 | 0
| 4.102 | 7.1941 | 31.2511 | 1024.4605 | 24.4415 | 0.4669 | 10.175 | 103.356 | 94.781 | 0
| 4.029 | 7.1939 | 31.2517 | 1024.4607 | 24.442 | 0.4676 | 10.1813 | 103.42 | 95.53 | 0
| 3.954 | 7.1938 | 31.252 | 1024.4605 | 24.4421 | 0.4691 | 10.1843 | 103.45 | 95.951 | 0
| 3.871 | 7.1939 | 31.2517 | 1024.46 | 24.442 | 0.4554 | 10.1936 | 103.544 | 96.687 | 0
| 3.779 | 7.1941 | 31.2523 | 1024.46 | 24.4424 | 0.4539 | 10.1866 | 103.474 | 97.361 | 0
| 3.679 | 7.1944 | 31.2506 | 1024.4581 | 24.441 | 0.4569 | 10.1816 | 103.423 | 98.198 | 0
| 3.573 | 7.1939 | 31.2509 | 1024.4579 | 24.4413 | 0.4585 | 10.1789 | 103.395 | 98.267 | 0
| 3.466 | 7.1936 | 31.2465 | 1024.454 | 24.4379 | 0.4546 | 10.1723 | 103.324 | 99.988 | 0
| 3.363 | 7.1934 | 31.2536 | 1024.4591 | 24.4435 | 0.4569 | 10.1733 | 103.339 | 101.88 | 0
| 3.267 | 7.1943 | 31.255 | 1024.4597 | 24.4445 | 0.4546 | 10.1747 | 103.356 | 102.92 | 0
| 3.179 | 7.1959 | 31.2545 | 1024.4586 | 24.4438 | 0.4562 | 10.1788 | 103.401 | 103.14 | 0
| 3.097 | 7.1973 | 31.2524 | 1024.4564 | 24.442 | 0.4447 | 10.1791 | 103.406 | 103.95 | 0
| 3.018 | 7.198 | 31.2542 | 1024.4574 | 24.4433 | 0.4424 | 10.1839 | 103.458 | 105.8 | 0
| 2.94 | 7.199 | 31.2553 | 1024.4577 | 24.4441 | 0.4463 | 10.1939 | 103.562 | 106.36 | 0
| 2.856 | 7.2007 | 31.2542 | 1024.4563 | 24.443 | 0.444 | 10.1948 | 103.574 | 107.15 | 0
| 2.767 | 7.202 | 31.2523 | 1024.4542 | 24.4413 | 0.4073 | 10.1968 | 103.597 | 107.93 | 0
| 2.67 | 7.2026 | 31.25 | 1024.4518 | 24.4394 | 0.4081 | 10.1929 | 103.557 | 109.46 | 0
| 2.57 | 7.2019 | 31.2502 | 1024.4517 | 24.4397 | 0.4028 | 10.1854 | 103.479 | 113.41 | 0
| 2.466 | 7.2012 | 31.2519 | 1024.4526 | 24.4412 | 0.4035 | 10.1747 | 103.37 | 116.71 | 0
| 2.369 | 7.2011 | 31.2533 | 1024.4532 | 24.4422 | 0.431 | 10.1675 | 103.298 | 118.29 | 0
| 2.279 | 7.2018 | 31.2534 | 1024.4528 | 24.4422 | 0.431 | 10.1631 | 103.255 | 116.15 | 0
| 2.197 | 7.2028 | 31.2535 | 1024.4524 | 24.4422 | 0.4302 | 10.1562 | 103.187 | 116.6 | 0
| 2.115 | 7.2037 | 31.2538 | 1024.4521 | 24.4422 | 0.4302 | 10.1566 | 103.194 | 121.71 | 0
| 2.033 | 7.2049 | 31.2547 | 1024.4523 | 24.4429 | 0.3928 | 10.1556 | 103.187 | 129.11 | 0
| 1.945 | 7.2063 | 31.2552 | 1024.4521 | 24.443 | 0.3959 | 10.1616 | 103.251 | 128.81 | 0
| 1.85 | 7.2082 | 31.2538 | 1024.4503 | 24.4417 | 0.3974 | 10.1727 | 103.367 | 134.32 | 0
| 1.753 | 7.2093 | 31.253 | 1024.449 | 24.4409 | 0.3951 | 10.1736 | 103.379 | 139.13 | 0
| 1.66 | 7.21 | 31.2523 | 1024.448 | 24.4403 | 0.3951 | 10.1729 | 103.373 | 136.52 | 0
| 1.572 | 7.2101 | 31.2525 | 1024.4478 | 24.4404 | 0.3959 | 10.1769 | 103.414 | 133.92 | 0
| 1.491 | 7.2102 | 31.2525 | 1024.4474 | 24.4404 | 0.3936 | 10.1801 | 103.447 | 147.39 | 0
| 1.409 | 7.2106 | 31.2528 | 1024.4471 | 24.4406 | 0.3959 | 10.1835 | 103.482 | 155.7 | 0
| 1.326 | 7.2109 | 31.2526 | 1024.4466 | 24.4404 | 0.3448 | 10.185 | 103.498 | 149.73 | 0
| 1.263 | 7.211 | 31.2528 | 1024.4464 | 24.4405 | 0.3448 | 10.1873 | 103.522 | 146.3 | 0
| 1.207 | 7.2114 | 31.2526 | 1024.4459 | 24.4403 | 0.3471 | 10.1885 | 103.535 | 155.31 | 0
| 1.131 | 7.2116 | 31.2531 | 1024.4459 | 24.4407 | 0.344 | 10.1917 | 103.569 | 169.04 | 0
| 1.035 | 7.2122 | 31.2525 | 1024.445 | 24.4401 | 0.283 | 10.1892 | 103.543 | 160.2 | 0
| 0.944 | 7.2123 | 31.2522 | 1024.4443 | 24.4399 | 0.2853 | 10.1862 | 103.513 | 179.78 | 0
| 0.86 | 7.2124 | 31.2521 | 1024.4438 | 24.4398 | 0.2822 | 10.1806 | 103.456 | 197.13 | 0
| 0.777 | 7.2121 | 31.2525 | 1024.4437 | 24.4401 | 0.2868 | 10.1765 | 103.414 | 236.2 | 0
| 0.697 | 7.2122 | 31.2521 | 1024.443 | 24.4398 | 0.312 | 10.1695 | 103.343 | 212.58 | 0
| 0.619 | 7.2122 | 31.2524 | 1024.4429 | 24.44 | 0.3097 | 10.1689 | 103.338 | 239 | 0
| 0.54 | 7.2122 | 31.2535 | 1024.4434 | 24.4409 | 0.3112 | 10.1613 | 103.261 | 251.67 | 0
| 0.45 | 7.2125 | 31.2533 | 1024.4428 | 24.4407 | 0.3097 | 10.1628 | 103.277 | 291.79 | 0
| 0.342 | 7.2129 | 31.2538 | 1024.4426 | 24.4411 | 0.2754 | 10.1665 | 103.316 | 294.37 | 0
| 0.236 | 7.2137 | 31.2563 | 1024.444 | 24.4429 | 0.2746 | 10.1675 | 103.329 | 302.74 | 0
| 0.146 | 7.2149 | 31.2539 | 1024.4415 | 24.4408 | 0.2746 | 10.1728 | 103.385 | 364.08 | 0
| 0.078 | 7.2157 | 31.2526 | 1024.4401 | 24.4398 | 0.2746 | 10.1744 | 103.402 | 362.65 | 0
| 0.078 | 7.2158 | 31.2531 | 1024.4405 | 24.4401 | 1.0436 | 10.1796 | 103.456 | 387.93 | 0
| 0.076 | 7.2159 | 31.2537 | 1024.4409 | 24.4406 | 1.0452 | 10.165 | 103.308 | 395.54 | 0
| 0.078 | 7.2162 | 31.2534 | 1024.4407 | 24.4403 | 1.0436 | 10.1397 | 103.051 | 388.56 | 0
| 0.074 | 7.2164 | 31.2546 | 1024.4416 | 24.4412 | 1.0467 | 10.0779 | 102.424 | 374.69 | 0
| 0.076 | 7.2169 | 31.2538 | 1024.4409 | 24.4405 | 0.8911 | 10.0217 | 101.854 | 349.87 | 0
| 0.078 | 7.2178 | 31.2527 | 1024.4399 | 24.4395 | 0.7888 | 9.9286 | 100.909 | 347.53 | 0
| 0.075 | 7.218 | 31.2514 | 1024.4389 | 24.4385 | 0.7903 | 9.837 | 99.977 | 362.65 | 0
| 0.076 | 7.2177 | 31.2517 | 1024.4391 | 24.4388 | 0.7881 | 9.7705 | 99.301 | 374.95 | 0
| 0.077 | 7.218 | 31.2555 | 1024.4421 | 24.4417 | 0.7903 | 9.7197 | 98.788 | 385.87 | 0
| 0.08 | 7.2185 | 18.5291 | 1014.4537 | 14.4533 | 48.2062 | 10.5184 | 98.348 | 389.91 | 0
| 0.075 | 7.2197 | 5.0766 | 1003.9029 | 3.9025 | 48.2116 | 11.4755 | 98.258 | 372.01 | 0
| 0.076 | 7.2206 | 4.981 | 1003.8277 | 3.8273 | 48.21 | 11.4787 | 98.226 | 388.92 | 0
| 0.077 | 7.2215 | 4.6067 | 1003.5332 | 3.5328 | 48.2161 | 11.476 | 97.965 | 375.12 | 0